## Table 1
Client: XM8 ONLINE Property: 123 Flood Way Fredericton, NB E3B 1B5 Operator: DAVID.SO Estimator: DS Type of Estimate: Flood Date Entered: 7/16/2023 Date Assigned: Date Est. Completed: 8/31/2023 Date Job Completed: Price List: NBFR8X_SEP23 Labor Efficiency: Restoration/Service/Remodel Estimate: R_1-S-BD-AA_NBFR
R_1-S-BD-AA_NBFR
StructureLevelLineItems Formula 0" x 0" x 0"
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
1. Seal & paint window sill |  |  |  | 55.00 LF |  |  | 0 |  |  | 2.5 |  |  |  | 0 |  |  |  |  | 27.5 |  |  |  | 165
2. Window sill - stain grade |  |  |  | 55.00 LF |  |  | 0 |  |  | 4.09 |  |  |  | 0 |  |  |  |  | 45 |  |  |  | 269.95
3. Vinyl window, horizontal sliding, 12-23 sf |  |  |  | 11.00 EA |  |  | 0 |  |  | 412.31 |  |  |  | 0 |  |  |  |  | 907.08 |  |  |  | 5442.49
4. Smoke detector - High grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 87.09 |  |  |  | 0 |  |  |  |  | 17.42 |  |  |  | 104.51
5. Fluorescent - two tube - 6' - fixture w/lens |  |  |  | 1.00 EA |  |  | 0 |  |  | 143.48 |  |  |  | 0 |  |  |  |  | 28.7 |  |  |  | 172.18
6. Clothes dryer vent - installed |  |  |  | 1.00 EA |  |  | 0 |  |  | 75.02 |  |  |  | 0 |  |  |  |  | 15 |  |  |  | 90.02
7. Stain & finish handrail - wall mounted |  |  |  | 15.00 LF |  |  | 0 |  |  | 2.12 |  |  |  | 0 |  |  |  |  | 6.36 |  |  |  | 38.16
8. Handrail - detailed profile - softwood - wall mounted |  |  |  | 15.00 LF |  |  | 0 |  |  | 18.42 |  |  |  | 0 |  |  |  |  | 55.26 |  |  |  | 331.56
9. Stairway - 3' wide (8' rise plus joist) |  |  |  | 1.00 EA |  |  | 0 |  |  | 722.96 |  |  |  | 0 |  |  |  |  | 144.6 |  |  |  | 867.56
10. Truss - 6/12 slope - heavy loading |  |  |  | 495.14 LF |  |  | 0 |  |  | 10.35 |  |  |  | 0 |  |  |  |  | 1024.94 |  |  |  | 6149.64
11. 2" x 4" lumber (.667 BF per LF) |  |  |  | 131.82 LF |  |  | 0 |  |  | 2.58 |  |  |  | 0 |  |  |  |  | 68.02 |  |  |  | 408.12
12. 2" x 6" lumber (1 BF per LF) |  |  |  | 61.80 LF |  |  | 0 |  |  | 3.04 |  |  |  | 0 |  |  |  |  | 37.58 |  |  |  | 225.45
13. Framing hurricane tie |  |  |  | 17.00 EA |  |  | 0 |  |  | 8.08 |  |  |  | 0 |  |  |  |  | 27.48 |  |  |  | 164.84
14. Sheathing - plywood - 5/8" CDX |  |  |  | 1,376.00 SF |  |  | 0 |  |  | 2.86 |  |  |  | 0 |  |  |  |  | 787.08 |  |  |  | 4722.44
15. Laminated - High grade - comp. shingle rfg. - w/ felt |  |  |  | 14.00 SQ |  |  | 0 |  |  | 323.02 |  |  |  | 0 |  |  |  |  | 904.46 |  |  |  | 5426.74
16. Drip edge |  |  |  | 136.00 LF |  |  | 0 |  |  | 2.94 |  |  |  | 0 |  |  |  |  | 79.96 |  |  |  | 479.8
17. Flexible gas supply line connector - 1/2" - 25" to 48" |  |  |  | 1.00 EA |  |  | 0 |  |  | 51.06 |  |  |  | 0 |  |  |  |  | 10.22 |  |  |  | 61.28
18. Water heater - 50 gallon - Gas - 6 yr |  |  |  | 1.00 EA |  |  | 0 |  |  | 1462.04 |  |  |  | 0 |  |  |  |  | 292.4 |  |  |  | 1754.44
19. Black pipe with fitting and hanger, 1" |  |  |  | 38.01 LF |  |  | 0 |  |  | 13.39 |  |  |  | 0 |  |  |  |  | 101.8 |  |  |  | 610.75
20. Furnace vent - rain cap and storm collar, 5" |  |  |  | 1.00 EA |  |  | 0 |  |  | 73.08 |  |  |  | 0 |  |  |  |  | 14.62 |  |  |  | 87.7
21. Furnace vent - double wall, 5" |  |  |  | 9.00 LF |  |  | 0 |  |  | 29.8 |  |  |  | 0 |  |  |  |  | 53.64 |  |  |  | 321.84
22. Exterior faucet / hose bibb |  |  |  | 2.00 EA |  |  | 0 |  |  | 60.68 |  |  |  | 0 |  |  |  |  | 24.28 |  |  |  | 145.64
23. Seal & paint wood shelving, 12"- 24" width |  |  |  | 25.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 22.2 |  |  |  | 133.2
24. Shelving - 16" - in place |  |  |  | 25.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 57.76 |  |  |  | 346.51
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
25. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 122.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 23.92 |  |  |  | 143.48
26. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 122.00 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 81.98 |  |  |  | 491.9
27. Door knob - interior - High grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 62.41 |  |  |  | 0 |  |  |  |  | 12.48 |  |  |  | 74.89
28. Interior door unit - High grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 366.18 |  |  |  | 0 |  |  |  |  | 73.24 |  |  |  | 439.42
29. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
30. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
31. Stud wall - 2" x 6" - 16" oc |  |  |  | 160.00 SF |  |  | 0 |  |  | 4 |  |  |  | 0 |  |  |  |  | 128 |  |  |  | 768
32. Stud wall - 2" x 4" - 16" oc |  |  |  | 1,117.18 SF |  |  | 0 |  |  | 2.6 |  |  |  | 0 |  |  |  |  | 580.94 |  |  |  | 3485.61
33. Batt insulation - 10" - R30 - paper / foil faced |  |  |  | 1,083.58 SF |  |  | 0 |  |  | 2.6 |  |  |  | 0 |  |  |  |  | 563.46 |  |  |  | 3380.77
34. Batt insulation - 10" - R30 - paper / foil faced |  |  |  | 900.00 SF |  |  | 0 |  |  | 2.6 |  |  |  | 0 |  |  |  |  | 468 |  |  |  | 2808
35. Blown-in insulation - 24" depth - R66 |  |  |  | 900.00 SF |  |  | 0 |  |  | 3.73 |  |  |  | 0 |  |  |  |  | 671.4 |  |  |  | 4028.4
36. Furnace - forced air - high efficiency - 100,000 BTU |  |  |  | 1.00 EA |  |  | 0 |  |  | 4143.66 |  |  |  | 0 |  |  |  |  | 828.74 |  |  |  | 4972.4
37. Ductwork system - hot or cold air - 1200 to 1599 SF home |  |  |  | 1.00 EA |  |  | 0 |  |  | 5046.68 |  |  |  | 0 |  |  |  |  | 1009.34 |  |  |  | 6056.02
38. Thermostat - High grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 156.81 |  |  |  | 0 |  |  |  |  | 31.36 |  |  |  | 188.17
39. Sheathing - OSB - 3/4" - tongue and groove |  |  |  | 990.00 SF |  |  | 0 |  |  | 2.93 |  |  |  | 0 |  |  |  |  | 580.14 |  |  |  | 3480.84
40. Joist - floor or ceiling - 2x10 - w/blocking - 16" oc |  |  |  | 900.00 SF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 855 |  |  |  | 5130
41. 2" x 6" lumber - redwood (1 BF per LF) |  |  |  | 120.40 LF |  |  | 0 |  |  | 5.85 |  |  |  | 0 |  |  |  |  | 140.86 |  |  |  | 845.2
42. Ceiling fan without light |  |  |  | 1.00 EA |  |  | 0 |  |  | 258.02 |  |  |  | 0 |  |  |  |  | 51.6 |  |  |  | 309.62
43. Exterior light fixture |  |  |  | 2.00 EA |  |  | 0 |  |  | 83.35 |  |  |  | 0 |  |  |  |  | 33.34 |  |  |  | 200.04
44. Door lockset & deadbolt - exterior |  |  |  | 2.00 EA |  |  | 0 |  |  | 105.01 |  |  |  | 0 |  |  |  |  | 42 |  |  |  | 252.02
45. Exterior door - metal - insulated - flush or panel style |  |  |  | 2.00 EA |  |  | 0 |  |  | 481.1 |  |  |  | 0 |  |  |  |  | 192.44 |  |  |  | 1154.64
46. 6-0 6-8 vinyl sliding patio door |  |  |  | 1.00 EA |  |  | 0 |  |  | 1142.67 |  |  |  | 0 |  |  |  |  | 228.54 |  |  |  | 1371.21
47. Stud wall - 2" x 6" - 16" oc |  |  |  | 1,083.58 SF |  |  | 0 |  |  | 4 |  |  |  | 0 |  |  |  |  | 866.86 |  |  |  | 5201.18
48. Eavestrough/downspout - aluminum - up to 5" |  |  |  | 113.80 LF |  |  | 0 |  |  | 8.52 |  |  |  | 0 |  |  |  |  | 193.92 |  |  |  | 1163.5
49. Soffit & fascia - metal - 2' overhang |  |  |  | 142.00 LF |  |  | 0 |  |  | 18.61 |  |  |  | 0 |  |  |  |  | 528.52 |  |  |  | 3171.14
50. Roof vent - turtle type - Metal |  |  |  | 2.58 EA |  |  | 0 |  |  | 67.32 |  |  |  | 0 |  |  |  |  | 34.74 |  |  |  | 208.43
51. Attic vent - gable end - vinyl |  |  |  | 6.00 EA |  |  | 0 |  |  | 148.94 |  |  |  | 0 |  |  |  |  | 178.72 |  |  |  | 1072.36
52. House wrap (air/moisture barrier) |  |  |  | 758.51 SF |  |  | 0 |  |  | 0.32 |  |  |  | 0 |  |  |  |  | 48.54 |  |  |  | 291.26
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
53. Sheathing - plywood - 1/2" CDX |  |  |  | 758.51 SF |  |  | 0 |  |  | 2.41 |  |  |  | 0 |  |  |  |  | 365.6 |  |  |  | 2193.61
54. Synthetic stucco - additional charge for raised trim |  |  |  | 151.70 LF |  |  | 0 |  |  | 8.37 |  |  |  | 0 |  |  |  |  | 253.94 |  |  |  | 1523.67
55. Metal lath & stucco |  |  |  | 758.51 SF |  |  | 0 |  |  | 8.86 |  |  |  | 0 |  |  |  |  | 1344.08 |  |  |  | 8064.48
56. Roofing felt - 15 lb. |  |  |  | 3.30 SQ |  |  | 0 |  |  | 35.93 |  |  |  | 0 |  |  |  |  | 23.72 |  |  |  | 142.29
57. Brick veneer |  |  |  | 325.07 SF |  |  | 0 |  |  | 22.27 |  |  |  | 0 |  |  |  |  | 1447.86 |  |  |  | 8687.17
58. Sheathing - OSB - 1/2" |  |  |  | 325.07 SF |  |  | 0 |  |  | 1.61 |  |  |  | 0 |  |  |  |  | 104.68 |  |  |  | 628.04
59. Phone, TV, or speaker outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 17.77 |  |  |  | 0 |  |  |  |  | 7.1 |  |  |  | 42.64
60. Grounding rod - copper clad with clamp, 8' |  |  |  | 1.00 EA |  |  | 0 |  |  | 104.37 |  |  |  | 0 |  |  |  |  | 20.88 |  |  |  | 125.25
61. Breaker panel - 100 amp |  |  |  | 1.00 EA |  |  | 0 |  |  | 800.22 |  |  |  | 0 |  |  |  |  | 160.04 |  |  |  | 960.26
62. Meter mast for overhead power - 2" conduit |  |  |  | 1.00 EA |  |  | 0 |  |  | 492.8 |  |  |  | 0 |  |  |  |  | 98.56 |  |  |  | 591.36
63. Meter base and main disconnect - 100 to 125 amp |  |  |  | 1.00 EA |  |  | 0 |  |  | 401.37 |  |  |  | 0 |  |  |  |  | 80.28 |  |  |  | 481.65
64. Phone / low voltage copper wiring |  |  |  | 40.00 LF |  |  | 0 |  |  | 0.99 |  |  |  | 0 |  |  |  |  | 7.92 |  |  |  | 47.52
65. Trunk cable - aluminum - 4 wire 4/0 |  |  |  | 40.00 LF |  |  | 0 |  |  | 13.24 |  |  |  | 0 |  |  |  |  | 105.92 |  |  |  | 635.52
66. Phone, TV, or speaker outlet |  |  |  | 4.00 EA |  |  | 0 |  |  | 17.77 |  |  |  | 0 |  |  |  |  | 14.22 |  |  |  | 85.3
67. Exterior outlet or switch |  |  |  | 2.00 EA |  |  | 0 |  |  | 20.75 |  |  |  | 0 |  |  |  |  | 8.3 |  |  |  | 49.8
68. Rewire\wire - avg. residence - boxes & wiring |  |  |  | 1,800.00 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 1288.8 |  |  |  | 7732.8
69. Phone / low voltage copper wiring |  |  |  | 40.00 LF |  |  | 0 |  |  | 0.99 |  |  |  | 0 |  |  |  |  | 7.92 |  |  |  | 47.52
70. Dumpster load - Approx. 30 yards, 5-7 tons of debris |  |  |  | 4.00 EA |  |  | 861 |  |  | 0 |  |  |  | 0 |  |  |  |  | 688.8 |  |  |  | 4132.8
71. Seal & paint wood shelving, 12"- 24" width |  |  |  | 4.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 3.56 |  |  |  | 21.32
72. Shelving - 16" - in place |  |  |  | 4.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 9.24 |  |  |  | 55.44
73. Closet rod |  |  |  | 4.00 LF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 3.8 |  |  |  | 22.8
74. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 104.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 20.38 |  |  |  | 122.3
75. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 104.00 SF |  |  | 0 |  |  | 2.67 |  |  |  | 0 |  |  |  |  | 55.54 |  |  |  | 333.22
76. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
77. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
78. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
79. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
Totals: StructureLevelLineItems | [13 empty] | 0 |  |  |  |  | 19461.44 |  |  |  | 116768.15
Bath Formula 8' 1" x 5' 1" x 8'
210.67 SF Walls 251.76 SF Walls & Ceiling 4.57 SY Flooring 64.67 SF Long Wall 26.33 LF Ceil. Perimeter | [11 empty] | 41.09 SF Ceiling 41.09 SF Floor 26.33 LF Floor Perimeter 40.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
80. Wall veneer panels - cultured marble |  |  |  | 55.00 SF |  |  | 0 |  |  | 25.32 |  |  |  | 0 |  |  |  |  | 278.52 |  |  |  | 1671.12
81. Mortar bed for tile |  |  |  | 55.00 SF |  |  | 0 |  |  | 8.81 |  |  |  | 0 |  |  |  |  | 96.92 |  |  |  | 581.47
82. Towel bar |  |  |  | 1.00 EA |  |  | 0 |  |  | 36.59 |  |  |  | 0 |  |  |  |  | 7.32 |  |  |  | 43.91
83. Seal & paint wood shelving, 12"- 24" width |  |  |  | 12.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 10.66 |  |  |  | 63.94
84. Shelving - 16" - in place |  |  |  | 12.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 27.72 |  |  |  | 166.32
85. Towel ring |  |  |  | 1.00 EA |  |  | 0 |  |  | 36.64 |  |  |  | 0 |  |  |  |  | 7.32 |  |  |  | 43.96
86. Toilet paper holder |  |  |  | 1.00 EA |  |  | 0 |  |  | 33.18 |  |  |  | 0 |  |  |  |  | 6.64 |  |  |  | 39.82
87. Outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
88. Mirror - 1/4" plate glass |  |  |  | 6.00 SF |  |  | 0 |  |  | 18.73 |  |  |  | 0 |  |  |  |  | 22.48 |  |  |  | 134.86
89. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
90. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
91. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
92. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
93. Toilet seat |  |  |  | 1.00 EA |  |  | 0 |  |  | 55.84 |  |  |  | 0 |  |  |  |  | 11.16 |  |  |  | 67
94. Toilet |  |  |  | 1.00 EA |  |  | 0 |  |  | 519.17 |  |  |  | 0 |  |  |  |  | 103.84 |  |  |  | 623.01
95. Bathtub |  |  |  | 1.00 EA |  |  | 0 |  |  | 920.28 |  |  |  | 0 |  |  |  |  | 184.06 |  |  |  | 1104.34
96. Shower curtain rod |  |  |  | 1.00 EA |  |  | 0 |  |  | 34.52 |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.42
97. Tub/shower faucet |  |  |  | 1.00 EA |  |  | 0 |  |  | 327.22 |  |  |  | 0 |  |  |  |  | 65.44 |  |  |  | 392.66
98. Ductwork - flexible - non-insulated - 3" round |  |  |  | 10.00 LF |  |  | 0 |  |  | 6.57 |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.84
99. Bathroom ventilation fan |  |  |  | 1.00 EA |  |  | 0 |  |  | 120.98 |  |  |  | 0 |  |  |  |  | 24.2 |  |  |  | 145.18
100. Light bar - 5 lights |  |  |  | 1.00 EA |  |  | 0 |  |  | 103.99 |  |  |  | 0 |  |  |  |  | 20.8 |  |  |  | 124.79
101. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
102. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
103. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
104. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
CONTINUED - Bath
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
105. Ground fault interrupter (GFI) outlet |  |  |  | 1.00 EA |  |  | 0 |  |  | 37 |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
106. Vanity |  |  |  | 3.00 LF |  |  | 0 |  |  | 231.3 |  |  |  | 0 |  |  |  |  | 138.78 |  |  |  | 832.68
107. Countertop - solid surface - High grade |  |  |  | 6.00 SF |  |  | 0 |  |  | 96.99 |  |  |  | 0 |  |  |  |  | 116.38 |  |  |  | 698.32
108. Sink faucet - Bathroom |  |  |  | 1.00 EA |  |  | 0 |  |  | 226.94 |  |  |  | 0 |  |  |  |  | 45.38 |  |  |  | 272.32
109. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
110. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
111. Sink - single |  |  |  | 1.00 EA |  |  | 0 |  |  | 291.28 |  |  |  | 0 |  |  |  |  | 58.26 |  |  |  | 349.54
112. Wallpaper border - Standard grade |  |  |  | 6.58 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 3.44 |  |  |  | 20.68
113. Wallpaper - Standard grade |  |  |  | 52.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 22.76 |  |  |  | 136.53
114. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 52.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 6.64 |  |  |  | 39.82
115. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 158.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 30.96 |  |  |  | 185.8
116. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 210.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 141.58 |  |  |  | 849.43
117. Stain & finish baseboard |  |  |  | 26.33 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 7.96 |  |  |  | 47.72
118. Baseboard - 3 1/4" stain grade |  |  |  | 26.33 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 29.92 |  |  |  | 179.47
119. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 41.09 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 27.62 |  |  |  | 165.68
120. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 41.09 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 5.18 |  |  |  | 31.07
121. Paint the surface area - one coat |  |  |  | 41.09 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 5.68 |  |  |  | 34.03
122. Tile floor covering - High grade |  |  |  | 10.27 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 26.24 |  |  |  | 157.39
123. Sand & finish wood floor (natural finish) |  |  |  | 20.55 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 14.72 |  |  |  | 88.29
124. Oak flooring - select grade - no finish |  |  |  | 20.55 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 40.48 |  |  |  | 242.9
125. Pad - rebond, 3/8", 7 lb. |  |  |  | 11.81 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 2.3 |  |  |  | 13.76
126. Carpet - High grade |  |  |  | 11.81 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 18.1 |  |  |  | 108.56
Totals: Bath | [13 empty] | 0 |  |  |  |  | 2098.72 |  |  |  | 12591.95
Bath2 Formula 8' 1" x 5' 1" x 8'
210.67 SF Walls 251.76 SF Walls & Ceiling 4.57 SY Flooring 64.67 SF Long Wall 26.33 LF Ceil. Perimeter | [11 empty] | 41.09 SF Ceiling 41.09 SF Floor 26.33 LF Floor Perimeter 40.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
127. Wall veneer panels - cultured marble |  |  |  | 55.00 SF |  |  | 0 |  |  | 25.32 |  |  |  | 0 |  |  |  |  | 278.52 |  |  |  | 1671.12
128. Mortar bed for tile |  |  |  | 55.00 SF |  |  | 0 |  |  | 8.81 |  |  |  | 0 |  |  |  |  | 96.92 |  |  |  | 581.47
129. Towel bar |  |  |  | 1.00 EA |  |  | 0 |  |  | 36.59 |  |  |  | 0 |  |  |  |  | 7.32 |  |  |  | 43.91
130. Seal & paint wood shelving, 12"- 24" width |  |  |  | 12.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 10.66 |  |  |  | 63.94
131. Shelving - 16" - in place |  |  |  | 12.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 27.72 |  |  |  | 166.32
132. Towel ring |  |  |  | 1.00 EA |  |  | 0 |  |  | 36.64 |  |  |  | 0 |  |  |  |  | 7.32 |  |  |  | 43.96
133. Toilet paper holder |  |  |  | 1.00 EA |  |  | 0 |  |  | 33.18 |  |  |  | 0 |  |  |  |  | 6.64 |  |  |  | 39.82
134. Outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
135. Mirror - 1/4" plate glass |  |  |  | 6.00 SF |  |  | 0 |  |  | 18.73 |  |  |  | 0 |  |  |  |  | 22.48 |  |  |  | 134.86
136. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
137. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
138. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
139. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
140. Toilet seat |  |  |  | 1.00 EA |  |  | 0 |  |  | 55.84 |  |  |  | 0 |  |  |  |  | 11.16 |  |  |  | 67
141. Toilet |  |  |  | 1.00 EA |  |  | 0 |  |  | 519.17 |  |  |  | 0 |  |  |  |  | 103.84 |  |  |  | 623.01
142. Bathtub |  |  |  | 1.00 EA |  |  | 0 |  |  | 920.28 |  |  |  | 0 |  |  |  |  | 184.06 |  |  |  | 1104.34
143. Shower curtain rod |  |  |  | 1.00 EA |  |  | 0 |  |  | 34.52 |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.42
144. Tub/shower faucet |  |  |  | 1.00 EA |  |  | 0 |  |  | 327.22 |  |  |  | 0 |  |  |  |  | 65.44 |  |  |  | 392.66
145. Ductwork - flexible - non- insulated - 3" round |  |  |  | 10.00 LF |  |  | 0 |  |  | 6.57 |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.84
146. Bathroom ventilation fan |  |  |  | 1.00 EA |  |  | 0 |  |  | 120.98 |  |  |  | 0 |  |  |  |  | 24.2 |  |  |  | 145.18
147. Light bar - 5 lights |  |  |  | 1.00 EA |  |  | 0 |  |  | 103.99 |  |  |  | 0 |  |  |  |  | 20.8 |  |  |  | 124.79
148. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
149. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
150. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
151. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
CONTINUED - Bath2
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
152. Ground fault interrupter (GFI) outlet |  |  |  | 1.00 EA |  |  | 0 |  |  | 37 |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
153. Vanity |  |  |  | 3.00 LF |  |  | 0 |  |  | 231.3 |  |  |  | 0 |  |  |  |  | 138.78 |  |  |  | 832.68
154. Countertop - solid surface - High grade |  |  |  | 6.00 SF |  |  | 0 |  |  | 96.99 |  |  |  | 0 |  |  |  |  | 116.38 |  |  |  | 698.32
155. Sink faucet - Bathroom |  |  |  | 1.00 EA |  |  | 0 |  |  | 226.94 |  |  |  | 0 |  |  |  |  | 45.38 |  |  |  | 272.32
156. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.75 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 86.44 |  |  |  | 518.67
157. Rough in plumbing - per fixture - w/PEX |  |  |  | 0.25 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 28.82 |  |  |  | 172.9
158. Sink - single |  |  |  | 1.00 EA |  |  | 0 |  |  | 291.28 |  |  |  | 0 |  |  |  |  | 58.26 |  |  |  | 349.54
159. Wallpaper border - Standard grade |  |  |  | 6.58 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 3.44 |  |  |  | 20.68
160. Wallpaper - Standard grade |  |  |  | 52.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 22.76 |  |  |  | 136.53
161. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 52.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 6.64 |  |  |  | 39.82
162. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 158.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 30.96 |  |  |  | 185.8
163. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 210.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 141.58 |  |  |  | 849.43
164. Stain & finish baseboard |  |  |  | 26.33 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 7.96 |  |  |  | 47.72
165. Baseboard - 3 1/4" stain grade |  |  |  | 26.33 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 29.92 |  |  |  | 179.47
166. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 41.09 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 27.62 |  |  |  | 165.68
167. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 41.09 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 5.18 |  |  |  | 31.07
168. Paint the surface area - one coat |  |  |  | 41.09 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 5.68 |  |  |  | 34.03
169. Tile floor covering - High grade |  |  |  | 10.27 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 26.24 |  |  |  | 157.39
170. Sand & finish wood floor (natural finish) |  |  |  | 20.55 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 14.72 |  |  |  | 88.29
171. Oak flooring - select grade - no finish |  |  |  | 20.55 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 40.48 |  |  |  | 242.9
172. Pad - rebond, 3/8", 7 lb. |  |  |  | 11.81 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 2.3 |  |  |  | 13.76
173. Carpet - High grade |  |  |  | 11.81 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 18.1 |  |  |  | 108.56
Totals: Bath2 | [13 empty] | 0 |  |  |  |  | 2098.72 |  |  |  | 12591.95
UtilityRoom Formula 7' 1" x 5' 1" x 8'
194.67 SF Walls 230.67 SF Walls & Ceiling 4.00 SY Flooring 56.67 SF Long Wall 24.33 LF Ceil. Perimeter | [11 empty] | 36.01 SF Ceiling 36.01 SF Floor 24.33 LF Floor Perimeter 40.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
174. Outlet |  |  |  | 6.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
175. Seal & paint wood shelving, 12"- 24" width |  |  |  | 11.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 9.76 |  |  |  | 58.6
176. Shelving - 16" - in place |  |  |  | 11.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 25.42 |  |  |  | 152.47
177. Light fixture - Standard grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 48.06 |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
178. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
179. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
180. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
181. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
182. Wallpaper border - Standard grade |  |  |  | 6.08 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 3.18 |  |  |  | 19.11
183. Wallpaper - Standard grade |  |  |  | 48.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 21.02 |  |  |  | 126.15
184. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 48.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 6.14 |  |  |  | 36.8
185. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 146.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 28.62 |  |  |  | 171.7
186. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 194.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 130.82 |  |  |  | 784.91
187. Stain & finish baseboard |  |  |  | 24.33 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 7.34 |  |  |  | 44.08
188. Baseboard - 3 1/4" stain grade |  |  |  | 24.33 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 27.64 |  |  |  | 165.83
189. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 36.01 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 24.2 |  |  |  | 145.19
190. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 36.01 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 4.54 |  |  |  | 27.23
191. Paint the surface area - one coat |  |  |  | 36.01 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 4.98 |  |  |  | 29.83
192. Tile floor covering - High grade |  |  |  | 9.00 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 22.98 |  |  |  | 137.91
193. Sand & finish wood floor (natural finish) |  |  |  | 18.00 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 12.88 |  |  |  | 77.32
194. Oak flooring - select grade - no finish |  |  |  | 18.00 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 35.46 |  |  |  | 212.76
195. Pad - rebond, 3/8", 7 lb. |  |  |  | 10.35 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 2 |  |  |  | 12.04
196. Carpet - High grade |  |  |  | 10.35 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 15.86 |  |  |  | 95.14
Totals: UtilityRoom | [13 empty] | 0 |  |  |  |  | 519.12 |  |  |  | 3114.66
Bedroom2 Formula 10' 2" x 10' 2" x 8'
325.33 SF Walls 428.69 SF Walls & Ceiling 11.48 SY Flooring 81.33 SF Long Wall 40.67 LF Ceil. Perimeter | [11 empty] | 103.36 SF Ceiling 103.36 SF Floor 40.67 LF Floor Perimeter 81.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
197. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
198. Seal & paint wood shelving, 12"- 24" width |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 4.44 |  |  |  | 26.64
199. Shelving - 16" - in place |  |  |  | 5.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 11.56 |  |  |  | 69.31
200. Closet rod |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 4.76 |  |  |  | 28.51
201. Outlet |  |  |  | 6.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
202. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
203. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
204. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 55.02 |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
205. Bifold door set - Colonist - Double |  |  |  | 1.00 EA |  |  | 0 |  |  | 415.62 |  |  |  | 0 |  |  |  |  | 83.12 |  |  |  | 498.74
206. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
207. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
208. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
209. Wallpaper border - Standard grade |  |  |  | 10.17 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 5.34 |  |  |  | 31.99
210. Wallpaper - Standard grade |  |  |  | 81.33 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 35.14 |  |  |  | 210.81
211. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 81.33 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 10.24 |  |  |  | 61.48
212. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 244.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 47.82 |  |  |  | 286.94
213. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 325.33 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 218.62 |  |  |  | 1311.73
214. Stain & finish baseboard |  |  |  | 40.67 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 12.28 |  |  |  | 73.69
215. Baseboard - 3 1/4" stain grade |  |  |  | 40.67 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 46.2 |  |  |  | 277.21
216. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 103.36 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 69.46 |  |  |  | 416.75
217. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 103.36 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 13.02 |  |  |  | 78.14
218. Paint the surface area - one coat |  |  |  | 103.36 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 14.26 |  |  |  | 85.58
219. Tile floor covering - High grade |  |  |  | 25.84 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 66 |  |  |  | 395.98
220. Sand & finish wood floor (natural finish) |  |  |  | 51.68 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 37 |  |  |  | 222.01
CONTINUED - Bedroom2
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
221. Oak flooring - select grade - no finish |  |  |  | 51.68 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 101.82 |  |  |  | 610.87
222. Pad - rebond, 3/8", 7 lb. |  |  |  | 29.72 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 5.76 |  |  |  | 34.59
223. Carpet - High grade |  |  |  | 29.72 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 45.54 |  |  |  | 273.2
Totals: Bedroom2 | [13 empty] | 0 |  |  |  |  | 1005.82 |  |  |  | 6034.81
Kitchen Formula 11' 2" x 10' 2" x 8'
341.33 SF Walls 454.86 SF Walls & Ceiling 12.61 SY Flooring 89.33 SF Long Wall 42.67 LF Ceil. Perimeter | [11 empty] | 113.53 SF Ceiling 113.53 SF Floor 42.67 LF Floor Perimeter 81.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
224. 220 volt outlet |  |  |  | 1.00 EA |  |  | 0 |  |  | 33.1 |  |  |  | 0 |  |  |  |  | 6.62 |  |  |  | 39.72
225. Ground fault interrupter (GFI) outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 37 |  |  |  | 0 |  |  |  |  | 14.8 |  |  |  | 88.8
226. Outlet |  |  |  | 4.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 10.62 |  |  |  | 63.7
227. Outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
228. Rough in plumbing - per fixture - w/PEX |  |  |  | 1.00 EA |  |  | 0 |  |  | 576.31 |  |  |  | 0 |  |  |  |  | 115.26 |  |  |  | 691.57
229. Sink faucet - Kitchen |  |  |  | 1.00 EA |  |  | 0 |  |  | 267.94 |  |  |  | 0 |  |  |  |  | 53.58 |  |  |  | 321.52
230. Sink - double basin |  |  |  | 1.00 EA |  |  | 0 |  |  | 403.31 |  |  |  | 0 |  |  |  |  | 80.66 |  |  |  | 483.97
231. Fluorescent - two tube - 4' - fixture w/lens |  |  |  | 1.00 EA |  |  | 0 |  |  | 115.87 |  |  |  | 0 |  |  |  |  | 23.18 |  |  |  | 139.05
232. Cabinetry - lower (base) units |  |  |  | 6.00 LF |  |  | 0 |  |  | 245.56 |  |  |  | 0 |  |  |  |  | 294.68 |  |  |  | 1768.04
233. Appliance water line - 1/4" |  |  |  | 1.00 EA |  |  | 0 |  |  | 65.8 |  |  |  | 0 |  |  |  |  | 13.16 |  |  |  | 78.96
234. Cabinet knob or pull |  |  |  | 28.00 EA |  |  | 0 |  |  | 9.57 |  |  |  | 0 |  |  |  |  | 53.6 |  |  |  | 321.56
235. Custom cabinets - wall units - 36" tall |  |  |  | 14.00 LF |  |  | 0 |  |  | 209.99 |  |  |  | 0 |  |  |  |  | 587.98 |  |  |  | 3527.84
236. Cabinetry - laminate lower (base) units - High grade |  |  |  | 16.00 LF |  |  | 0 |  |  | 306.37 |  |  |  | 0 |  |  |  |  | 980.38 |  |  |  | 5882.3
237. Microwave oven - over range w/built-in hood |  |  |  | 1.00 EA |  |  | 0 |  |  | 520.01 |  |  |  | 0 |  |  |  |  | 104 |  |  |  | 624.01
238. Countertop - solid surface - High grade |  |  |  | 32.00 SF |  |  | 0 |  |  | 96.99 |  |  |  | 0 |  |  |  |  | 620.74 |  |  |  | 3724.42
239. Countertop - solid surface - High grade |  |  |  | 12.00 SF |  |  | 0 |  |  | 96.99 |  |  |  | 0 |  |  |  |  | 232.78 |  |  |  | 1396.66
240. 110 volt copper wiring run, box and outlet |  |  |  | 1.00 EA |  |  | 0 |  |  | 75.59 |  |  |  | 0 |  |  |  |  | 15.12 |  |  |  | 90.71
CONTINUED - Kitchen
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
241. 110 volt copper wiring run, box and outlet |  |  |  | 1.00 EA |  |  | 0 |  |  | 75.59 |  |  |  | 0 |  |  |  |  | 15.12 |  |  |  | 90.71
242. 220 volt copper wiring run, box and receptacle |  |  |  | 1.00 EA |  |  | 0 |  |  | 212.95 |  |  |  | 0 |  |  |  |  | 42.6 |  |  |  | 255.55
243. Dishwasher - High grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 1089.48 |  |  |  | 0 |  |  |  |  | 217.9 |  |  |  | 1307.38
244. Range - drop in |  |  |  | 1.00 EA |  |  | 0 |  |  | 1690.61 |  |  |  | 0 |  |  |  |  | 338.12 |  |  |  | 2028.73
245. Refrigerator - top freezer - 22 to 24 cf |  |  |  | 1.00 EA |  |  | 0 |  |  | 992.15 |  |  |  | 0 |  |  |  |  | 198.44 |  |  |  | 1190.59
246. Wallpaper border - Standard grade |  |  |  | 10.67 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 5.6 |  |  |  | 33.56
247. Wallpaper - Standard grade |  |  |  | 85.33 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 36.86 |  |  |  | 221.17
248. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 85.33 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 10.76 |  |  |  | 64.52
249. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 256.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 50.18 |  |  |  | 301.06
250. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 341.33 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 229.38 |  |  |  | 1376.25
251. Stain & finish baseboard |  |  |  | 42.67 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 12.88 |  |  |  | 77.31
252. Baseboard - 3 1/4" stain grade |  |  |  | 42.67 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 48.48 |  |  |  | 290.85
253. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 113.53 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 76.3 |  |  |  | 457.76
254. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 113.53 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 14.3 |  |  |  | 85.82
255. Paint the surface area - one coat |  |  |  | 113.53 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 15.66 |  |  |  | 94
256. Tile floor covering - High grade |  |  |  | 28.38 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 72.48 |  |  |  | 434.89
257. Sand & finish wood floor (natural finish) |  |  |  | 56.76 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 40.64 |  |  |  | 243.84
258. Oak flooring - select grade - no finish |  |  |  | 56.76 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 111.82 |  |  |  | 670.91
259. Pad - rebond, 3/8", 7 lb. |  |  |  | 32.64 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 6.34 |  |  |  | 38
260. Carpet - High grade |  |  |  | 32.64 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 50 |  |  |  | 300.02
Totals: Kitchen | [13 empty] | 0 |  |  |  |  | 4806.32 |  |  |  | 28837.59
Bedroom3 Formula 14' 2" x 12' 2" x 8'
421.33 SF Walls 593.69 SF Walls & Ceiling 19.15 SY Flooring 113.33 SF Long Wall 52.67 LF Ceil. Perimeter | [11 empty] | 172.36 SF Ceiling 172.36 SF Floor 52.67 LF Floor Perimeter 97.33 SF Short Wall
DESCRIPTION QTY REMOVE REPLACE TAX O&P TOTAL
CONTINUED - Bedroom3
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
261. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
262. Seal & paint wood shelving, 12"- 24" width |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 4.44 |  |  |  | 26.64
263. Shelving - 16" - in place |  |  |  | 5.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 11.56 |  |  |  | 69.31
264. Closet rod |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 4.76 |  |  |  | 28.51
265. Outlet |  |  |  | 6.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
266. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
267. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
268. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 55.02 |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
269. Bifold door set - Colonist - Double |  |  |  | 1.00 EA |  |  | 0 |  |  | 415.62 |  |  |  | 0 |  |  |  |  | 83.12 |  |  |  | 498.74
270. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
271. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
272. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
273. Wallpaper border - Standard grade |  |  |  | 13.17 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.41
274. Wallpaper - Standard grade |  |  |  | 105.33 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 45.5 |  |  |  | 273.01
275. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 105.33 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.64
276. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 316.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 61.94 |  |  |  | 371.62
277. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 421.33 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 283.14 |  |  |  | 1698.81
278. Stain & finish baseboard |  |  |  | 52.67 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 15.9 |  |  |  | 95.43
279. Baseboard - 3 1/4" stain grade |  |  |  | 52.67 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 59.84 |  |  |  | 359.01
280. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 172.36 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 115.82 |  |  |  | 694.95
281. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 172.36 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 21.72 |  |  |  | 130.31
282. Paint the surface area - one coat |  |  |  | 172.36 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 23.78 |  |  |  | 142.71
283. Tile floor covering - High grade |  |  |  | 43.09 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 110.06 |  |  |  | 660.32
284. Sand & finish wood floor (natural finish) |  |  |  | 86.18 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 61.7 |  |  |  | 370.22
285. Oak flooring - select grade - no finish |  |  |  | 86.18 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 169.78 |  |  |  | 1018.65
286. Pad - rebond, 3/8", 7 lb. |  |  |  | 49.55 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
287. Carpet - High grade |  |  |  | 49.55 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 75.92 |  |  |  | 455.47
Totals: Bedroom3 | [13 empty] | 0 |  |  |  |  | 1352.22 |  |  |  | 8113.08
Bedroom Formula 10' 2" x 10' 2" x 8'
325.33 SF Walls 428.69 SF Walls & Ceiling 11.48 SY Flooring 81.33 SF Long Wall 40.67 LF Ceil. Perimeter | [11 empty] | 103.36 SF Ceiling 103.36 SF Floor 40.67 LF Floor Perimeter 81.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
288. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
289. Seal & paint wood shelving, 12"- 24" width |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 4.44 |  |  |  | 26.64
290. Shelving - 16" - in place |  |  |  | 5.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 11.56 |  |  |  | 69.31
291. Closet rod |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 4.76 |  |  |  | 28.51
292. Outlet |  |  |  | 6.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
293. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
294. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
295. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 55.02 |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
296. Bifold door set - Colonist - Double |  |  |  | 1.00 EA |  |  | 0 |  |  | 415.62 |  |  |  | 0 |  |  |  |  | 83.12 |  |  |  | 498.74
297. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
298. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
299. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
300. Wallpaper border - Standard grade |  |  |  | 10.17 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 5.34 |  |  |  | 31.99
301. Wallpaper - Standard grade |  |  |  | 81.33 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 35.14 |  |  |  | 210.81
302. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 81.33 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 10.24 |  |  |  | 61.48
303. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 244.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 47.82 |  |  |  | 286.94
304. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 325.33 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 218.62 |  |  |  | 1311.73
305. Stain & finish baseboard |  |  |  | 40.67 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 12.28 |  |  |  | 73.69
306. Baseboard - 3 1/4" stain grade |  |  |  | 40.67 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 46.2 |  |  |  | 277.21
307. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 103.36 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 69.46 |  |  |  | 416.75
308. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 103.36 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 13.02 |  |  |  | 78.14
309. Paint the surface area - one coat |  |  |  | 103.36 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 14.26 |  |  |  | 85.58
310. Tile floor covering - High grade |  |  |  | 25.84 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 66 |  |  |  | 395.98
311. Sand & finish wood floor (natural finish) |  |  |  | 51.68 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 37 |  |  |  | 222.01
CONTINUED - Bedroom
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
312. Oak flooring - select grade - no finish |  |  |  | 51.68 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 101.82 |  |  |  | 610.87
313. Pad - rebond, 3/8", 7 lb. |  |  |  | 29.72 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 5.76 |  |  |  | 34.59
314. Carpet - High grade |  |  |  | 29.72 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 45.54 |  |  |  | 273.2
Totals: Bedroom | [13 empty] | 0 |  |  |  |  | 1005.82 |  |  |  | 6034.81
Nook Formula 8' 1" x 6' 1" x 8'
226.67 SF Walls 275.84 SF Walls & Ceiling 5.46 SY Flooring 64.67 SF Long Wall 28.33 LF Ceil. Perimeter | [11 empty] | 49.17 SF Ceiling 49.17 SF Floor 28.33 LF Floor Perimeter 48.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
315. Outlet |  |  |  | 4.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 10.62 |  |  |  | 63.7
316. Light fixture - Standard grade |  |  |  | 1.00 EA |  |  | 0 |  |  | 48.06 |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
317. Wallpaper border - Standard grade |  |  |  | 7.08 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 3.72 |  |  |  | 22.27
318. Wallpaper - Standard grade |  |  |  | 56.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 24.48 |  |  |  | 146.89
319. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 56.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 7.14 |  |  |  | 42.84
320. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 170.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 33.32 |  |  |  | 199.92
321. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 226.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 152.32 |  |  |  | 913.93
322. Stain & finish baseboard |  |  |  | 28.33 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 8.56 |  |  |  | 51.34
323. Baseboard - 3 1/4" stain grade |  |  |  | 28.33 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 32.18 |  |  |  | 193.09
324. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 49.17 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 33.04 |  |  |  | 198.25
325. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 49.17 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 6.2 |  |  |  | 37.18
326. Paint the surface area - one coat |  |  |  | 49.17 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 6.78 |  |  |  | 40.71
327. Tile floor covering - High grade |  |  |  | 12.29 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 31.38 |  |  |  | 188.32
328. Sand & finish wood floor (natural finish) |  |  |  | 24.59 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 17.6 |  |  |  | 105.63
329. Oak flooring - select grade - no finish |  |  |  | 24.59 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 48.44 |  |  |  | 290.65
330. Pad - rebond, 3/8", 7 lb. |  |  |  | 14.14 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 2.74 |  |  |  | 16.46
331. Carpet - High grade |  |  |  | 14.14 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 21.66 |  |  |  | 129.97
CONTINUED - Nook
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
Totals: Nook | [13 empty] | 0 |  |  |  |  | 449.8 |  |  |  | 2698.83
Hallway2 Formula 10' 2" x 3' x 8'
210.67 SF Walls 241.17 SF Walls & Ceiling 3.39 SY Flooring 81.33 SF Long Wall 26.33 LF Ceil. Perimeter | [11 empty] | 30.50 SF Ceiling 30.50 SF Floor 26.33 LF Floor Perimeter 24.00 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
332. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
333. Outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
334. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
335. Wallpaper border - Standard grade |  |  |  | 6.58 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 3.44 |  |  |  | 20.68
336. Wallpaper - Standard grade |  |  |  | 52.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 22.76 |  |  |  | 136.53
337. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 52.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 6.64 |  |  |  | 39.82
338. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 158.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 30.96 |  |  |  | 185.8
339. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 210.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 141.58 |  |  |  | 849.43
340. Stain & finish baseboard |  |  |  | 26.33 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 7.96 |  |  |  | 47.72
341. Baseboard - 3 1/4" stain grade |  |  |  | 26.33 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 29.92 |  |  |  | 179.47
342. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 30.50 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 20.5 |  |  |  | 122.98
343. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 30.50 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 3.84 |  |  |  | 23.06
344. Paint the surface area - one coat |  |  |  | 30.50 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 4.22 |  |  |  | 25.27
345. Tile floor covering - High grade |  |  |  | 7.63 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 19.48 |  |  |  | 116.92
346. Sand & finish wood floor (natural finish) |  |  |  | 15.25 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 10.92 |  |  |  | 65.52
347. Oak flooring - select grade - no finish |  |  |  | 15.25 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 30.04 |  |  |  | 180.25
348. Pad - rebond, 3/8", 7 lb. |  |  |  | 8.77 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 1.7 |  |  |  | 10.21
349. Carpet - High grade |  |  |  | 8.77 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 13.44 |  |  |  | 80.62
Totals: Hallway2 | [13 empty] | 0 |  |  |  |  | 377.48 |  |  |  | 2264.81
Bedroom4 Formula 14' 2" x 12' 2" x 8'
421.33 SF Walls 593.69 SF Walls & Ceiling 19.15 SY Flooring 113.33 SF Long Wall 52.67 LF Ceil. Perimeter | [11 empty] | 172.36 SF Ceiling 172.36 SF Floor 52.67 LF Floor Perimeter 97.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
350. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
351. Seal & paint wood shelving, 12"- 24" width |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.44 |  |  |  | 0 |  |  |  |  | 4.44 |  |  |  | 26.64
352. Shelving - 16" - in place |  |  |  | 5.00 LF |  |  | 0 |  |  | 11.55 |  |  |  | 0 |  |  |  |  | 11.56 |  |  |  | 69.31
353. Closet rod |  |  |  | 5.00 LF |  |  | 0 |  |  | 4.75 |  |  |  | 0 |  |  |  |  | 4.76 |  |  |  | 28.51
354. Outlet |  |  |  | 6.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
355. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
356. Door knob - interior |  |  |  | 1.00 EA |  |  | 0 |  |  | 47.96 |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
357. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 55.02 |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
358. Bifold door set - Colonist - Double |  |  |  | 1.00 EA |  |  | 0 |  |  | 415.62 |  |  |  | 0 |  |  |  |  | 83.12 |  |  |  | 498.74
359. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 38.93 |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
360. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  |  | 0 |  |  | 31.36 |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
361. Interior door unit |  |  |  | 1.00 EA |  |  | 0 |  |  | 365.09 |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
362. Wallpaper border - Standard grade |  |  |  | 13.17 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.41
363. Wallpaper - Standard grade |  |  |  | 105.33 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 45.5 |  |  |  | 273.01
364. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 105.33 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.64
365. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 316.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 61.94 |  |  |  | 371.62
366. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 421.33 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 283.14 |  |  |  | 1698.81
367. Stain & finish baseboard |  |  |  | 52.67 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 15.9 |  |  |  | 95.43
368. Baseboard - 3 1/4" stain grade |  |  |  | 52.67 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 59.84 |  |  |  | 359.01
369. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 172.36 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 115.82 |  |  |  | 694.95
370. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 172.36 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 21.72 |  |  |  | 130.31
371. Paint the surface area - one coat |  |  |  | 172.36 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 23.78 |  |  |  | 142.71
372. Tile floor covering - High grade |  |  |  | 43.09 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 110.06 |  |  |  | 660.32
373. Sand & finish wood floor (natural finish) |  |  |  | 86.18 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 61.7 |  |  |  | 370.22
CONTINUED - Bedroom4
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
374. Oak flooring - select grade - no finish |  |  |  | 86.18 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 169.78 |  |  |  | 1018.65
375. Pad - rebond, 3/8", 7 lb. |  |  |  | 49.55 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
376. Carpet - High grade |  |  |  | 49.55 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 75.92 |  |  |  | 455.47
Totals: Bedroom4 | [13 empty] | 0 |  |  |  |  | 1352.22 |  |  |  | 8113.08
LivingRoom Formula 18' 3" x 12' 2" x 8'
486.67 SF Walls 708.71 SF Walls & Ceiling 24.67 SY Flooring 146.00 SF Long Wall 60.83 LF Ceil. Perimeter | [11 empty] | 222.04 SF Ceiling 222.04 SF Floor 60.83 LF Floor Perimeter 97.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
377. Outlet |  |  |  | 8.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 21.24 |  |  |  | 127.4
378. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
379. Wallpaper border - Standard grade |  |  |  | 15.21 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 7.98 |  |  |  | 47.83
380. Wallpaper - Standard grade |  |  |  | 121.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 52.56 |  |  |  | 315.37
381. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 121.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 15.34 |  |  |  | 91.99
382. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 365.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 71.54 |  |  |  | 429.24
383. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 486.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 327.04 |  |  |  | 1962.25
384. Paint crown moulding, oversized - one coat |  |  |  | 60.83 LF |  |  | 0 |  |  | 1.04 |  |  |  | 0 |  |  |  |  | 12.66 |  |  |  | 75.92
385. Crown moulding - 4 1/4" stain grade |  |  |  | 60.83 LF |  |  | 0 |  |  | 8.02 |  |  |  | 0 |  |  |  |  | 97.58 |  |  |  | 585.44
386. Stain & finish baseboard |  |  |  | 60.83 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 18.38 |  |  |  | 110.23
387. Baseboard - 3 1/4" stain grade |  |  |  | 60.83 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 69.1 |  |  |  | 414.61
388. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 313.97 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 210.98 |  |  |  | 1265.92
389. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 313.97 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 39.56 |  |  |  | 237.36
390. Paint the surface area - one coat |  |  |  | 313.97 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 43.32 |  |  |  | 259.96
391. Tile floor covering - High grade |  |  |  | 55.51 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 141.78 |  |  |  | 850.64
392. Sand & finish wood floor (natural finish) |  |  |  | 111.02 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 79.5 |  |  |  | 476.95
393. Oak flooring - select grade - no finish |  |  |  | 111.02 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 218.72 |  |  |  | 1312.27
CONTINUED - LivingRoom
| DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
| 394. Pad - rebond, 3/8", 7 lb. |  |  |  | 63.84 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 12.38 |  |  |  | 74.3
| 395. Carpet - High grade |  |  |  | 63.84 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 97.8 |  |  |  | 586.81
| Totals: LivingRoom | [13 empty] | 0 |  |  |  |  | 1550.16 |  |  |  | 9300.7
Patio Formula 5' 8" x 5' 8" x 8'
181.33 SF Walls 213.44 SF Walls & Ceiling 3.57 SY Flooring 45.33 SF Long Wall 22.67 LF Ceil. Perimeter | [12 empty] | 32.11 SF Ceiling 32.11 SF Floor 22.67 LF Floor Perimeter 45.33 SF Short Wall
DESCRIPTION QTY REMOVE REPLACE TAX O&P TOTAL
396. Stain/finish deck handrail |  |  |  |  | 12.75 LF |  |  | 0 |  | 7.16 |  |  |  | 0 |  |  |  |  | 18.26 |  |  |  | 109.55
397. Deck guard rail - redwood |  |  |  |  | 12.75 LF |  |  | 0 |  | 54.09 |  |  |  | 0 |  |  |  |  | 137.94 |  |  |  | 827.59
398. Storm door assembly |  |  |  |  | 1.00 EA |  |  | 0 |  | 362.67 |  |  |  | 0 |  |  |  |  | 72.54 |  |  |  | 435.21
399. Stud wall - 2" x 6" - 16" oc |  |  |  |  | 20.00 SF |  |  | 0 |  | 4 |  |  |  | 0 |  |  |  |  | 16 |  |  |  | 96
400. 1" x 8" lumber (.667 BF per LF) |  |  |  |  | 28.00 LF |  |  | 0 |  | 4.49 |  |  |  | 0 |  |  |  |  | 25.14 |  |  |  | 150.86
401. Roofing felt - 15 lb. |  |  |  |  | 0.24 SQ |  |  | 0 |  | 35.93 |  |  |  | 0 |  |  |  |  | 1.72 |  |  |  | 10.34
402. Metal lath & stucco |  |  |  |  | 28.00 SF |  |  | 0 |  | 8.86 |  |  |  | 0 |  |  |  |  | 49.62 |  |  |  | 297.7
403. House wrap (air/moisture barrier) |  |  |  |  | 12.00 SF |  |  | 0 |  | 0.32 |  |  |  | 0 |  |  |  |  | 0.76 |  |  |  | 4.6
404. Brick veneer - High grade |  |  |  |  | 12.00 SF |  |  | 0 |  | 23.63 |  |  |  | 0 |  |  |  |  | 56.72 |  |  |  | 340.28
405. Outlet |  |  |  |  | 1.00 EA |  |  | 0 |  | 13.27 |  |  |  | 0 |  |  |  |  | 2.66 |  |  |  | 15.93
406. Ground fault interrupter (GFI) outlet |  |  |  |  | 1.00 EA |  |  | 0 |  | 37 |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
407. grade |  | Exterior light fixture - Standard |  |  | 1.00 EA |  |  | 0 |  | 65.65 |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.79
408 |  | Soffit - metal |  |  | 32.11 SF |  |  | 0 |  | 7.08 |  |  |  | 0 |  |  |  |  | 45.46 |  |  |  | 272.8
409 |  | Sheathing - plywood - 1/2" CDX |  |  | 76.67 SF |  |  | 0 |  | 2.41 |  |  |  | 0 |  |  |  |  | 36.96 |  |  |  | 221.73
410 |  | 2" x 4" lumber (.667 BF per LF) |  |  | 23.28 LF |  |  | 0 |  | 2.58 |  |  |  | 0 |  |  |  |  | 12.02 |  |  |  | 72.08
411 |  | 2" x 6" lumber (1 BF per LF) |  |  | 11.33 LF |  |  | 0 |  | 3.04 |  |  |  | 0 |  |  |  |  | 6.88 |  |  |  | 41.32
412 |  | Truss - 4/12 slope |  |  | 22.67 LF |  |  | 0 |  | 9.03 |  |  |  | 0 |  |  |  |  | 40.94 |  |  |  | 245.65
413 |  | Laminated - High grade - comp. |  |  | 1.00 SQ |  |  | 0 |  | 323.02 |  |  |  | 0 |  |  |  |  | 64.6 |  |  |  | 387.62
shingle rfg. - w/ felt
414. 6" x 6" square wood post (3 BF per LF) |  |  |  |  | 17.00 LF |  |  | 0 |  | 9.67 |  |  |  | 0 |  |  |  |  | 32.88 |  |  |  | 197.27
415. Framing hurricane tie |  |  |  |  | 4.00 EA |  |  | 0 |  | 8.08 |  |  |  | 0 |  |  |  |  | 6.46 |  |  |  | 38.78
Totals: Patio | [13 empty] | 0 |  |  |  |  | 648.1 |  |  |  | 3888.5
Hallway Formula 15' 2" x 4' 1" x 8'
308.00 SF Walls 369.93 SF Walls & Ceiling 6.88 SY Flooring 121.33 SF Long Wall 38.50 LF Ceil. Perimeter | [11 empty] | 61.93 SF Ceiling 61.93 SF Floor 38.50 LF Floor Perimeter 32.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
416. Smoke detector |  |  |  | 1.00 EA |  |  | 0 |  |  | 60.4 |  |  |  | 0 |  |  |  |  | 12.08 |  |  |  | 72.48
417. Outlet |  |  |  | 2.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
418. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
419. Wallpaper border - Standard grade |  |  |  | 9.63 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 5.04 |  |  |  | 30.27
420. Wallpaper - Standard grade |  |  |  | 77.00 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 33.26 |  |  |  | 199.58
421. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 77.00 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 9.7 |  |  |  | 58.21
422. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 231.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 45.28 |  |  |  | 271.66
423. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 308.00 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 206.98 |  |  |  | 1241.86
424. Stain & finish baseboard |  |  |  | 38.50 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 11.62 |  |  |  | 69.76
425. Baseboard - 3 1/4" stain grade |  |  |  | 38.50 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 43.74 |  |  |  | 262.42
426. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 61.93 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 41.62 |  |  |  | 249.7
427. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 61.93 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 7.8 |  |  |  | 46.82
428. Paint the surface area - one coat |  |  |  | 61.93 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 8.54 |  |  |  | 51.27
429. Tile floor covering - High grade |  |  |  | 15.48 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 39.54 |  |  |  | 237.22
430. Sand & finish wood floor (natural finish) |  |  |  | 30.97 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 22.18 |  |  |  | 133.05
431. Oak flooring - select grade - no finish |  |  |  | 30.97 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 61.02 |  |  |  | 366.07
432. Pad - rebond, 3/8", 7 lb. |  |  |  | 17.81 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 3.46 |  |  |  | 20.74
433. Carpet - High grade |  |  |  | 17.81 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 27.28 |  |  |  | 163.7
Totals: Hallway | [13 empty] | 0 |  |  |  |  | 597.14 |  |  |  | 3582.86
LivingRoom2 Formula 18' 3" x 12' 2" x 8'
486.67 SF Walls 708.71 SF Walls & Ceiling 24.67 SY Flooring 146.00 SF Long Wall 60.83 LF Ceil. Perimeter | [11 empty] | 222.04 SF Ceiling 222.04 SF Floor 60.83 LF Floor Perimeter 97.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
434. Outlet |  |  |  | 8.00 EA |  |  | 0 |  |  | 13.27 |  |  |  | 0 |  |  |  |  | 21.24 |  |  |  | 127.4
435. Light fixture |  |  |  | 1.00 EA |  |  | 0 |  |  | 63.51 |  |  |  | 0 |  |  |  |  | 12.7 |  |  |  | 76.21
436. Wallpaper border - Standard grade |  |  |  | 15.21 LF |  |  | 0 |  |  | 2.62 |  |  |  | 0 |  |  |  |  | 7.98 |  |  |  | 47.83
437. Wallpaper - Standard grade |  |  |  | 121.67 SF |  |  | 0 |  |  | 2.16 |  |  |  | 0 |  |  |  |  | 52.56 |  |  |  | 315.37
438. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 121.67 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 15.34 |  |  |  | 91.99
439. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 365.00 SF |  |  | 0 |  |  | 0.98 |  |  |  | 0 |  |  |  |  | 71.54 |  |  |  | 429.24
440. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 486.67 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 327.04 |  |  |  | 1962.25
441. Paint crown moulding, oversized - one coat |  |  |  | 60.83 LF |  |  | 0 |  |  | 1.04 |  |  |  | 0 |  |  |  |  | 12.66 |  |  |  | 75.92
442. Crown moulding - 4 1/4" stain grade |  |  |  | 60.83 LF |  |  | 0 |  |  | 8.02 |  |  |  | 0 |  |  |  |  | 97.58 |  |  |  | 585.44
443. Stain & finish baseboard |  |  |  | 60.83 LF |  |  | 0 |  |  | 1.51 |  |  |  | 0 |  |  |  |  | 18.38 |  |  |  | 110.23
444. Baseboard - 3 1/4" stain grade |  |  |  | 60.83 LF |  |  | 0 |  |  | 5.68 |  |  |  | 0 |  |  |  |  | 69.1 |  |  |  | 414.61
445. 1/2" drywall - hung, taped, heavy texture, ready for paint |  |  |  | 222.04 SF |  |  | 0 |  |  | 3.36 |  |  |  | 0 |  |  |  |  | 149.22 |  |  |  | 895.27
446. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 222.04 SF |  |  | 0 |  |  | 0.63 |  |  |  | 0 |  |  |  |  | 27.98 |  |  |  | 167.87
447. Paint the surface area - one coat |  |  |  | 222.04 SF |  |  | 0 |  |  | 0.69 |  |  |  | 0 |  |  |  |  | 30.64 |  |  |  | 183.85
448. Tile floor covering - High grade |  |  |  | 55.51 SF |  |  | 0 |  |  | 12.77 |  |  |  | 0 |  |  |  |  | 141.78 |  |  |  | 850.64
449. Sand & finish wood floor (natural finish) |  |  |  | 111.02 SF |  |  | 0 |  |  | 3.58 |  |  |  | 0 |  |  |  |  | 79.5 |  |  |  | 476.95
450. Oak flooring - select grade - no finish |  |  |  | 111.02 SF |  |  | 0 |  |  | 9.85 |  |  |  | 0 |  |  |  |  | 218.72 |  |  |  | 1312.27
451. Pad - rebond, 3/8", 7 lb. |  |  |  | 63.84 SF |  |  | 0 |  |  | 0.97 |  |  |  | 0 |  |  |  |  | 12.38 |  |  |  | 74.3
452. Carpet - High grade |  |  |  | 63.84 SF |  |  | 0 |  |  | 7.66 |  |  |  | 0 |  |  |  |  | 97.8 |  |  |  | 586.81
Totals: LivingRoom2 | [13 empty] | 0 |  |  |  |  | 1464.14 |  |  |  | 8784.45
Labor Minimums Applied
DESCRIPTION |  |  |  | QTY |  |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
453. Mirror/shower door labour minimum |  |  |  | 1.00 EA |  |  | 0 |  |  | 111.12 |  |  |  | 0 |  |  |  |  | 22.22 |  |  |  | 133.34
CONTINUED - Labor Minimums Applied
| DESCRIPTION |  |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
| 454. General labour - labour minimum |  |  |  |  | 1.00 EA |  | 0 |  |  | 30.64 |  |  |  | 0 |  |  |  |  | 6.12 |  |  |  | 36.76
| Totals: Labor Minimums Applied | [13 empty] | 0 |  |  |  |  | 28.34 |  |  |  | 170.1
| Line Item Totals: R_1-S-BD-AA_NBFR | [13 empty] | 0 |  |  |  |  | 38815.56 |  |  |  | 232890.33
Grand Total Areas:
4350.67 |  |  | SF Walls |  | 1400.96 |  |  |  | SF Ceiling |  |  |  |  | 5751.63 |  |  |  | SF Walls and Ceiling
1400.96 |  |  | SF Floor |  | 155.66 |  |  |  | SY Flooring |  |  |  |  | 543.83 |  |  |  | LF Floor Perimeter
1269.33 |  |  | SF Long Wall |  | 906 |  |  |  | SF Short Wall |  |  |  |  | 543.83 |  |  |  | LF Ceil. Perimeter
0 |  |  | Floor Area |  | 0 |  |  |  | Total Area |  |  |  |  | 0 |  |  |  | Interior Wall Area
0 |  |  | Exterior Wall Area |  | 0 |  |  |  | Exterior Perimeter of Walls
0 |  |  | Surface Area |  | 0 |  |  |  | Number of Squares |  |  |  |  | 0 |  |  |  | Total Perimeter Length
0 |  |  | Total Ridge Length |  | 0 |  |  |  | Total Hip Length
Summary
Line Item Total | [20 empty] | 194074.77
Overhead | [20 empty] | 19407.78
Profit | [20 empty] | 19407.78
Replacement Cost Value | [20 empty] | 232890.33
Net Claim | [20 empty] | 232890.33
DS
Recap of Taxes, Overhead and Profit
[7 empty] | Overhead (10%) | [6 empty] | Profit (10%)
Line Items | [6 empty] | 19407.78 | [6 empty] | 19407.78
Total | [6 empty] | 19407.78 | [6 empty] | 19407.78
Recap by Room
Estimate: R_1-S-BD-AA_NBFR
StructureLevelLineItems | [16 empty] | 97306.71 | [5 empty] | 50.14%
Bath | [16 empty] | 10493.23 | [5 empty] | 5.41%
Bath2 | [16 empty] | 10493.23 | [5 empty] | 5.41%
UtilityRoom | [16 empty] | 2595.54 | [5 empty] | 1.34%
Bedroom2 | [16 empty] | 5028.99 | [5 empty] | 2.59%
Kitchen | [16 empty] | 24031.27 | [5 empty] | 12.38%
Bedroom3 | [16 empty] | 6760.86 | [5 empty] | 3.48%
Bedroom | [16 empty] | 5028.99 | [5 empty] | 2.59%
Nook | [16 empty] | 2249.03 | [5 empty] | 1.16%
Hallway2 | [16 empty] | 1887.33 | [5 empty] | 0.97%
Bedroom4 | [16 empty] | 6760.86 | [5 empty] | 3.48%
LivingRoom | [16 empty] | 7750.54 | [5 empty] | 3.99%
Patio | [16 empty] | 3240.4 | [5 empty] | 1.67%
Hallway | [16 empty] | 2985.72 | [5 empty] | 1.54%
LivingRoom2 | [16 empty] | 7320.31 | [5 empty] | 3.77%
Labor Minimums Applied | [16 empty] | 141.76 | [5 empty] | 0.07%
Subtotal of Areas | [16 empty] | 194074.77 | [5 empty] | 100%
Total | [16 empty] | 194074.77 | [5 empty] | 100%
O&P Items | [6 empty] | Recap by Category | [8 empty] | Total | [5 empty] | %
APPLIANCES | [15 empty] | 4358.05 | [5 empty] | 1.87%
CABINETRY | [15 empty] | 16402.34 | [5 empty] | 7.04%
GENERAL DEMOLITION | [15 empty] | 3444 | [5 empty] | 1.48%
DOORS | [15 empty] | 6274.25 | [5 empty] | 2.69%
DRYWALL | [15 empty] | 19604.75 | [5 empty] | 8.42%
ELECTRICAL | [15 empty] | 10893.95 | [5 empty] | 4.68%
FLOOR COVERING - CARPET | [15 empty] | 3396.32 | [5 empty] | 1.46%
FLOOR COVERING - CERAMIC TILE | [15 empty] | 4369.9 | [5 empty] | 1.88%
FLOOR COVERING - WOOD | [15 empty] | 9191.88 | [5 empty] | 3.95%
FINISH CARPENTRY / TRIMWORK | [15 empty] | 5521.35 | [5 empty] | 2.37%
FINISH HARDWARE | [15 empty] | 937.97 | [5 empty] | 0.4%
FRAMING & ROUGH CARPENTRY | [15 empty] | 29411.85 | [5 empty] | 12.63%
HEAT, VENT & AIR CONDITIONING | [15 empty] | 10136.81 | [5 empty] | 4.35%
INSULATION | [15 empty] | 8760.87 | [5 empty] | 3.76%
LABOUR ONLY | [15 empty] | 30.64 | [5 empty] | 0.01%
LIGHT FIXTURES | [15 empty] | 1561.9 | [5 empty] | 0.67%
MASONRY | [15 empty] | 7522.87 | [5 empty] | 3.23%
MARBLE - CULTURED OR NATURAL | [15 empty] | 2785.2 | [5 empty] | 1.2%
MIRRORS & SHOWER DOORS | [15 empty] | 335.88 | [5 empty] | 0.14%
PLUMBING | [15 empty] | 11530.29 | [5 empty] | 4.95%
PAINTING | [15 empty] | 9123.28 | [5 empty] | 3.92%
ROOFING | [15 empty] | 5546.02 | [5 empty] | 2.38%
SIDING | [15 empty] | 893.64 | [5 empty] | 0.38%
SOFFIT, FASCIA, & EAVESTROUGH | [15 empty] | 3839.54 | [5 empty] | 1.65%
STAIRS | [15 empty] | 722.96 | [5 empty] | 0.31%
STUCCO & EXTERIOR PLASTER | [15 empty] | 8238.21 | [5 empty] | 3.54%
TILE | [15 empty] | 969.1 | [5 empty] | 0.42%
WINDOWS - SLIDING PATIO DOORS | [15 empty] | 1142.67 | [5 empty] | 0.49%
WINDOWS - VINYL | [15 empty] | 4535.41 | [5 empty] | 1.95%
WALLPAPER | [15 empty] | 2592.87 | [5 empty] | 1.11%
O&P Items Subtotal | [15 empty] | 194074.77 | [5 empty] | 83.33%
Overhead | [15 empty] | 19407.78 | [5 empty] | 8.33%
Profit | [15 empty] | 19407.78 | [5 empty] | 8.33%
Total | [15 empty] | 232890.33 | [5 empty] | 100%