## Book1
Excluded | # | Group Code | Group Description | Desc | Age | Condition | Qty | Item Amount | Unit | Reported Cost | Unit Cost | Coverage | Sales Tax | RCV | Life | Depreciation Type | Depreciation Amount | Recoverable | ACV | Tax | Replace | Cat | Sel | Owner | Original Vendor | Date
FALSE | 1 | STRUCTURELEV | StructureLevelLineItems | Seal & paint window sill | 0 | Average | 44 | 110 | LF | 0 | 2.5 |  | 0 | 132 | 15 | Percent | 0 | Yes | 132 | Yes | No | PNT | SILL | DAVID.SO |  | 2023-07-17
FALSE | 2 | STRUCTURELEV | StructureLevelLineItems | Window sill | 0 | Average | 44 | 146.52 | LF | 0 | 3.33 |  | 0 | 175.82 | 150 | Percent | 0 | Yes | 175.82 | Yes | No | FNC | SILL | DAVID.SO |  | 2023-07-17
FALSE | 3 | STRUCTURELEV | StructureLevelLineItems | Vinyl window, horizontal sliding, 12-23 sf | 0 | Average | 11 | 4535.41 | EA | 0 | 412.31 |  | 0 | 5442.49 | 30 | Percent | 0 | Yes | 5442.49 | Yes | No | WDV | HS | DAVID.SO |  | 2023-07-17
FALSE | 4 | STRUCTURELEV | StructureLevelLineItems | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 5 | STRUCTURELEV | StructureLevelLineItems | Fluorescent - one tube - 4' - fixture w/lens | 0 | Average | 1 | 98.26 | EA | 0 | 98.26 |  | 0 | 117.92 | 20 | Percent | 0 | Yes | 117.92 | Yes | No | LIT | FL1-4+ | DAVID.SO |  | 2023-07-17
FALSE | 6 | STRUCTURELEV | StructureLevelLineItems | Clothes dryer vent - installed | 0 | Average | 1 | 75.02 | EA | 0 | 75.02 |  | 0 | 90.02 | 30 | Percent | 0 | Yes | 90.02 | Yes | No | HVC | DVENT | DAVID.SO |  | 2023-07-17
FALSE | 7 | STRUCTURELEV | StructureLevelLineItems | Paint handrail - wall mounted | 0 | Average | 15 | 16.65 | LF | 0 | 1.11 |  | 0 | 19.99 | 15 | Percent | 0 | Yes | 19.99 | Yes | No | PNT | HR | DAVID.SO |  | 2023-07-17
FALSE | 8 | STRUCTURELEV | StructureLevelLineItems | Handrail - round / oval - softwood - wall mounted | 0 | Average | 15 | 205.95 | LF | 0 | 13.73 |  | 0 | 247.15 | 150 | Percent | 0 | Yes | 247.15 | Yes | No | FNC | HR | DAVID.SO |  | 2023-07-17
FALSE | 9 | STRUCTURELEV | StructureLevelLineItems | Stairway - 3' wide (8' rise plus joist) | 0 | Average | 1 | 722.96 | EA | 0 | 722.96 |  | 0 | 867.56 | 50 | Percent | 0 | Yes | 867.56 | Yes | No | STR | 3 | DAVID.SO |  | 2023-07-17
FALSE | 10 | STRUCTURELEV | StructureLevelLineItems | Truss - 4/12 slope - heavy loading | 0 | Average | 495.14 | 4723.64 | LF | 0 | 9.54 |  | 0 | 5668.36 | 150 | Percent | 0 | Yes | 5668.36 | Yes | No | FRM | TR4+ | DAVID.SO |  | 2023-07-17
FALSE | 11 | STRUCTURELEV | StructureLevelLineItems | 2" x 4" lumber (.667 BF per LF) | 0 | Average | 123.2 | 317.86 | LF | 0 | 2.58 |  | 0 | 381.44 | 150 | Percent | 0 | Yes | 381.44 | Yes | No | FRM | 2X4 | DAVID.SO |  | 2023-07-17
FALSE | 12 | STRUCTURELEV | StructureLevelLineItems | 2" x 6" lumber (1 BF per LF) | 0 | Average | 61.8 | 187.87 | LF | 0 | 3.04 |  | 0 | 225.45 | 150 | Percent | 0 | Yes | 225.45 | Yes | No | FRM | 2X6 | DAVID.SO |  | 2023-07-17
FALSE | 13 | STRUCTURELEV | StructureLevelLineItems | Framing hurricane tie | 0 | Average | 17 | 137.36 | EA | 0 | 8.08 |  | 0 | 164.84 | 150 | Percent | 0 | Yes | 164.84 | Yes | No | FRM | FRHT | DAVID.SO |  | 2023-07-17
FALSE | 14 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 1/2" | 0 | Average | 1207 | 1943.27 | SF | 0 | 1.61 |  | 0 | 2331.93 | 150 | Percent | 0 | Yes | 2331.93 | Yes | No | FRM | SHW1/2 | DAVID.SO |  | 2023-07-17
FALSE | 15 | STRUCTURELEV | StructureLevelLineItems | 3 tab - 25 yr. - composition shingle roofing - incl. felt | 0 | Average | 13 | 3456.31 | SQ | 0 | 265.87 |  | 0 | 4147.57 | 25 | Percent | 0 | Yes | 4147.57 | Yes | No | RFG | 240 | DAVID.SO |  | 2023-07-17
FALSE | 16 | STRUCTURELEV | StructureLevelLineItems | Drip edge | 0 | Average | 136 | 399.84 | LF | 0 | 2.94 |  | 0 | 479.8 | 35 | Percent | 0 | Yes | 479.8 | Yes | No | RFG | DRIP | DAVID.SO |  | 2023-07-17
FALSE | 17 | STRUCTURELEV | StructureLevelLineItems | Flexible gas supply line connector - 1/2" - 25" to 48" | 0 | Average | 1 | 51.06 | EA | 0 | 51.06 |  | 0 | 61.28 | 36 | Percent | 0 | Yes | 61.28 | Yes | No | PLM | FT1/2C4 | DAVID.SO |  | 2023-07-17
FALSE | 18 | STRUCTURELEV | StructureLevelLineItems | Water heater - 40 gallon - Gas - 6 yr | 0 | Average | 1 | 1250.14 | EA | 0 | 1250.14 |  | 0 | 1500.16 | 6 | Percent | 0 | Yes | 1500.16 | Yes | No | PLM | WH40 | DAVID.SO |  | 2023-07-17
FALSE | 19 | STRUCTURELEV | StructureLevelLineItems | Black pipe with fitting and hanger, 1" | 0 | Average | 19.01 | 254.54 | LF | 0 | 13.39 |  | 0 | 305.44 | 50 | Percent | 0 | Yes | 305.44 | Yes | No | PLM | BP1 | DAVID.SO |  | 2023-07-17
FALSE | 20 | STRUCTURELEV | StructureLevelLineItems | Furnace vent - rain cap and storm collar, 5" | 0 | Average | 1 | 73.08 | EA | 0 | 73.08 |  | 0 | 87.7 | 25 | Percent | 0 | Yes | 87.7 | Yes | No | HVC | VENTCP5 | DAVID.SO |  | 2023-07-17
FALSE | 21 | STRUCTURELEV | StructureLevelLineItems | Furnace vent - double wall, 5" | 0 | Average | 9 | 268.2 | LF | 0 | 29.8 |  | 0 | 321.84 | 25 | Percent | 0 | Yes | 321.84 | Yes | No | HVC | VENT5+ | DAVID.SO |  | 2023-07-17
FALSE | 22 | STRUCTURELEV | StructureLevelLineItems | Exterior faucet / hose bibb | 0 | Average | 2 | 121.36 | EA | 0 | 60.68 |  | 0 | 145.64 | 20 | Percent | 0 | Yes | 145.64 | Yes | No | PLM | XFAU | DAVID.SO |  | 2023-07-17
FALSE | 23 | STRUCTURELEV | StructureLevelLineItems | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 15 | 66.6 | LF | 0 | 4.44 |  | 0 | 79.92 | 15 | Percent | 0 | Yes | 79.92 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 24 | STRUCTURELEV | StructureLevelLineItems | Shelving - 16" - in place | 0 | Average | 15 | 173.25 | LF | 0 | 11.55 |  | 0 | 207.91 | 150 | Percent | 0 | Yes | 207.91 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 25 | STRUCTURELEV | StructureLevelLineItems | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 86 | 84.28 | SF | 0 | 0.98 |  | 0 | 101.14 | 15 | Percent | 0 | Yes | 101.14 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 26 | STRUCTURELEV | StructureLevelLineItems | 1/2" drywall - hung, taped, ready for texture | 0 | Average | 86 | 202.1 | SF | 0 | 2.35 |  | 0 | 242.52 | 150 | Percent | 0 | Yes | 242.52 | Yes | No | DRY | 1/2- | DAVID.SO |  | 2023-07-17
FALSE | 27 | STRUCTURELEV | StructureLevelLineItems | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 28 | STRUCTURELEV | StructureLevelLineItems | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 29 | STRUCTURELEV | StructureLevelLineItems | Paint door/window trim & jamb - 2 coats (per side) | 0 | Average | 2 | 62.72 | EA | 0 | 31.36 |  | 0 | 75.26 | 15 | Percent | 0 | Yes | 75.26 | Yes | No | PNT | DORT | DAVID.SO |  | 2023-07-17
FALSE | 30 | STRUCTURELEV | StructureLevelLineItems | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 31 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 6" - 24" oc | 0 | Average | 160 | 550.4 | SF | 0 | 3.44 |  | 0 | 660.48 | 150 | Percent | 0 | Yes | 660.48 | Yes | No | FRM | 6SF> | DAVID.SO |  | 2023-07-17
FALSE | 32 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 4" - 24" oc | 0 | Average | 1117.18 | 2513.66 | SF | 0 | 2.25 |  | 0 | 3016.4 | 150 | Percent | 0 | Yes | 3016.4 | Yes | No | FRM | 4SF> | DAVID.SO |  | 2023-07-17
FALSE | 33 | STRUCTURELEV | StructureLevelLineItems | Batt insulation - 6" - R19 - paper / foil faced | 0 | Average | 1083.58 | 1657.88 | SF | 0 | 1.53 |  | 0 | 1989.46 | 150 | Percent | 0 | Yes | 1989.46 | Yes | No | INS | BTF6 | DAVID.SO |  | 2023-07-17
FALSE | 34 | STRUCTURELEV | StructureLevelLineItems | Batt insulation - 10" - R30 - paper / foil faced | 0 | Average | 900 | 2340 | SF | 0 | 2.6 |  | 0 | 2808 | 150 | Percent | 0 | Yes | 2808 | Yes | No | INS | BTF10 | DAVID.SO |  | 2023-07-17
FALSE | 35 | STRUCTURELEV | StructureLevelLineItems | Blown-in insulation - 20" depth - R50 | 0 | Average | 900 | 2907 | SF | 0 | 3.23 |  | 0 | 3488.4 | 150 | Percent | 0 | Yes | 3488.4 | Yes | No | INS | BI20 | DAVID.SO |  | 2023-07-17
FALSE | 36 | STRUCTURELEV | StructureLevelLineItems | Thermostat - Standard grade | 0 | Average | 1 | 90.1 | EA | 0 | 90.1 |  | 0 | 108.12 | 35 | Percent | 0 | Yes | 108.12 | Yes | No | HVC | TS- | DAVID.SO |  | 2023-07-17
FALSE | 37 | STRUCTURELEV | StructureLevelLineItems | Furnace - forced air - 60 - 75,000 BTU | 0 | Average | 1 | 2887.57 | EA | 0 | 2887.57 |  | 0 | 3465.09 | 18 | Percent | 0 | Yes | 3465.09 | Yes | No | HVC | FRFA< | DAVID.SO |  | 2023-07-17
FALSE | 38 | STRUCTURELEV | StructureLevelLineItems | Ductwork system - hot or cold air - up to 900 SF home | 0 | Average | 1 | 3419.82 | EA | 0 | 3419.82 |  | 0 | 4103.78 | 30 | Percent | 0 | Yes | 4103.78 | Yes | No | HVC | DCT<< | DAVID.SO |  | 2023-07-17
FALSE | 39 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 3/4" - tongue and groove | 0 | Average | 990 | 2900.7 | SF | 0 | 2.93 |  | 0 | 3480.84 | 150 | Percent | 0 | Yes | 3480.84 | Yes | No | FRM | SHW3/4T | DAVID.SO |  | 2023-07-17
FALSE | 40 | STRUCTURELEV | StructureLevelLineItems | Joist - floor or ceiling - 2x10 - w/blocking - 16" oc | 0 | Average | 900 | 4275 | SF | 0 | 4.75 |  | 0 | 5130 | 150 | Percent | 0 | Yes | 5130 | Yes | No | FRM | J10SF | DAVID.SO |  | 2023-07-17
FALSE | 41 | STRUCTURELEV | StructureLevelLineItems | 2" x 6" lumber - redwood (1 BF per LF) | 0 | Average | 120.4 | 704.34 | LF | 0 | 5.85 |  | 0 | 845.2 | 150 | Percent | 0 | Yes | 845.2 | Yes | No | FRM | 2X6R | DAVID.SO |  | 2023-07-17
FALSE | 42 | STRUCTURELEV | StructureLevelLineItems | Exterior light fixture - Standard grade | 0 | Average | 2 | 131.3 | EA | 0 | 65.65 |  | 0 | 157.56 | 20 | Percent | 0 | Yes | 157.56 | Yes | No | LIT | X- | DAVID.SO |  | 2023-07-17
FALSE | 43 | STRUCTURELEV | StructureLevelLineItems | Door lockset & deadbolt - exterior | 0 | Average | 2 | 210.02 | EA | 0 | 105.01 |  | 0 | 252.02 | 20 | Percent | 0 | Yes | 252.02 | Yes | No | FNH | DBX | DAVID.SO |  | 2023-07-17
FALSE | 44 | STRUCTURELEV | StructureLevelLineItems | Exterior door - solid core lauan / mahogany or birch flush | 0 | Average | 2 | 761.46 | EA | 0 | 380.73 |  | 0 | 913.76 | 100 | Percent | 0 | Yes | 913.76 | Yes | No | DOR | X- | DAVID.SO |  | 2023-07-17
FALSE | 45 | STRUCTURELEV | StructureLevelLineItems | 6-0 6-8 mill finish sliding patio door | 0 | Average | 1 | 719.97 | EA | 0 | 719.97 |  | 0 | 863.97 | 18 | Percent | 0 | Yes | 863.97 | Yes | No | WDP | 6M | DAVID.SO |  | 2023-07-17
FALSE | 46 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 4" - 16" oc | 0 | Average | 1083.58 | 2817.31 | SF | 0 | 2.6 |  | 0 | 3380.77 | 150 | Percent | 0 | Yes | 3380.77 | Yes | No | FRM | 4SF | DAVID.SO |  | 2023-07-17
FALSE | 47 | STRUCTURELEV | StructureLevelLineItems | Eavestrough/downspout - aluminum - up to 5" | 0 | Average | 12 | 102.24 | LF | 0 | 8.52 |  | 0 | 122.68 | 25 | Percent | 0 | Yes | 122.68 | Yes | No | SFG | GUTA | DAVID.SO |  | 2023-07-17
FALSE | 48 | STRUCTURELEV | StructureLevelLineItems | Roof vent - turtle type - Metal | 0 | Average | 2.58 | 173.69 | EA | 0 | 67.32 |  | 0 | 208.43 | 35 | Percent | 0 | Yes | 208.43 | Yes | No | RFG | VENTT | DAVID.SO |  | 2023-07-17
FALSE | 49 | STRUCTURELEV | StructureLevelLineItems | Attic vent - gable end - vinyl | 0 | Average | 1 | 148.94 | EA | 0 | 148.94 |  | 0 | 178.72 | 27 | Percent | 0 | Yes | 178.72 | Yes | No | SDG | VENTG | DAVID.SO |  | 2023-07-17
FALSE | 50 | STRUCTURELEV | StructureLevelLineItems | Roofing felt - 15 lb. | 0 | Average | 11 | 395.23 | SQ | 0 | 35.93 |  | 0 | 474.27 | 20 | Percent | 0 | Yes | 474.27 | Yes | No | RFG | FELT15 | DAVID.SO |  | 2023-07-17
FALSE | 51 | STRUCTURELEV | StructureLevelLineItems | Sheathing - foil faced foam - 1/2" | 0 | Average | 812.69 | 1162.15 | SF | 0 | 1.43 |  | 0 | 1394.59 | 150 | Percent | 0 | Yes | 1394.59 | Yes | No | FRM | SHF1/2 | DAVID.SO |  | 2023-07-17
FALSE | 52 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 1/2" | 0 | Average | 270.9 | 436.15 | SF | 0 | 1.61 |  | 0 | 523.39 | 150 | Percent | 0 | Yes | 523.39 | Yes | No | FRM | SHW1/2 | DAVID.SO |  | 2023-07-17
FALSE | 53 | STRUCTURELEV | StructureLevelLineItems | Siding - vinyl | 0 | Average | 1083.58 | 5764.65 | SF | 0 | 5.32 |  | 0 | 6917.59 | 50 | Percent | 0 | Yes | 6917.59 | Yes | No | SDG | VINYL | DAVID.SO |  | 2023-07-17
FALSE | 54 | STRUCTURELEV | StructureLevelLineItems | Grounding rod - copper clad with clamp, 8' | 0 | Average | 1 | 104.37 | EA | 0 | 104.37 |  | 0 | 125.25 | 100 | Percent | 0 | Yes | 125.25 | Yes | No | ELE | GROD | DAVID.SO |  | 2023-07-17
FALSE | 55 | STRUCTURELEV | StructureLevelLineItems | Breaker panel - 100 amp | 0 | Average | 1 | 800.22 | EA | 0 | 800.22 |  | 0 | 960.26 | 30 | Percent | 0 | Yes | 960.26 | Yes | No | ELE | BPNL100 | DAVID.SO |  | 2023-07-17
FALSE | 56 | STRUCTURELEV | StructureLevelLineItems | Meter mast for overhead power - 2" conduit | 0 | Average | 1 | 492.8 | EA | 0 | 492.8 |  | 0 | 591.36 | 100 | Percent | 0 | Yes | 591.36 | Yes | No | ELE | MAST | DAVID.SO |  | 2023-07-17
FALSE | 57 | STRUCTURELEV | StructureLevelLineItems | Meter base and main disconnect - 100 to 125 amp | 0 | Average | 1 | 401.37 | EA | 0 | 401.37 |  | 0 | 481.65 | 30 | Percent | 0 | Yes | 481.65 | Yes | No | ELE | METR< | DAVID.SO |  | 2023-07-17
FALSE | 58 | STRUCTURELEV | StructureLevelLineItems | Trunk cable - aluminum - 4 wire 2/0 | 0 | Average | 40 | 414.4 | LF | 0 | 10.36 |  | 0 | 497.28 | 150 | Percent | 0 | Yes | 497.28 | Yes | No | ELE | TRUNK | DAVID.SO |  | 2023-07-17
FALSE | 59 | STRUCTURELEV | StructureLevelLineItems | Phone, TV, or speaker outlet | 0 | Average | 4 | 71.08 | EA | 0 | 17.77 |  | 0 | 85.3 | 25 | Percent | 0 | Yes | 85.3 | Yes | No | ELE | OL | DAVID.SO |  | 2023-07-17
FALSE | 60 | STRUCTURELEV | StructureLevelLineItems | Exterior outlet or switch | 0 | Average | 2 | 41.5 | EA | 0 | 20.75 |  | 0 | 49.8 | 10 | Percent | 0 | Yes | 49.8 | Yes | No | ELE | XOS | DAVID.SO |  | 2023-07-17
FALSE | 61 | STRUCTURELEV | StructureLevelLineItems | Rewire\wire - avg. residence - boxes & wiring | 0 | Average | 1800 | 6444 | SF | 0 | 3.58 |  | 0 | 7732.8 | 100 | Percent | 0 | Yes | 7732.8 | Yes | No | ELE | REWIRE | DAVID.SO |  | 2023-07-17
FALSE | 62 | STRUCTURELEV | StructureLevelLineItems | Phone / low voltage copper wiring | 0 | Average | 40 | 39.6 | LF | 0 | 0.99 |  | 0 | 47.52 | 100 | Percent | 0 | Yes | 47.52 | Yes | No | ELE | LV | DAVID.SO |  | 2023-07-17
FALSE | 63 | STRUCTURELEV | StructureLevelLineItems | Dumpster load - Approx. 30 yards, 5-7 tons of debris | 0 | Average | 4 | 3444 | EA | 0 | 861 |  | 0 | 4132.8 | 0 | Percent | 0 | Yes | 4132.8 | Yes | No | DMO | DUMP> | DAVID.SO |  | 2023-07-17
FALSE | 64 | STRUCTURELEV | StructureLevelLineItems | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 3 | 13.32 | LF | 0 | 4.44 |  | 0 | 15.98 | 15 | Percent | 0 | Yes | 15.98 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 65 | STRUCTURELEV | StructureLevelLineItems | Shelving - 16" - in place | 0 | Average | 3 | 34.65 | LF | 0 | 11.55 |  | 0 | 41.59 | 150 | Percent | 0 | Yes | 41.59 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 66 | STRUCTURELEV | StructureLevelLineItems | Closet rod | 0 | Average | 3 | 14.25 | LF | 0 | 4.75 |  | 0 | 17.11 | 150 | Percent | 0 | Yes | 17.11 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 67 | STRUCTURELEV | StructureLevelLineItems | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 86 | 84.28 | SF | 0 | 0.98 |  | 0 | 101.14 | 15 | Percent | 0 | Yes | 101.14 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 68 | STRUCTURELEV | StructureLevelLineItems | 1/2" drywall - hung, taped, ready for texture | 0 | Average | 86 | 202.1 | SF | 0 | 2.35 |  | 0 | 242.52 | 150 | Percent | 0 | Yes | 242.52 | Yes | No | DRY | 1/2- | DAVID.SO |  | 2023-07-17
FALSE | 69 | STRUCTURELEV | StructureLevelLineItems | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 70 | STRUCTURELEV | StructureLevelLineItems | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 71 | STRUCTURELEV | StructureLevelLineItems | Paint door/window trim & jamb - 2 coats (per side) | 0 | Average | 2 | 62.72 | EA | 0 | 31.36 |  | 0 | 75.26 | 15 | Percent | 0 | Yes | 75.26 | Yes | No | PNT | DORT | DAVID.SO |  | 2023-07-17
FALSE | 72 | STRUCTURELEV | StructureLevelLineItems | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 73 | BATH | Bath | Towel ring - Standard grade | 0 | Average | 1 | 27.56 | EA | 0 | 27.56 |  | 0 | 33.08 | 50 | Percent | 0 | Yes | 33.08 | Yes | No | FNH | TR- | DAVID.SO |  | 2023-07-17
FALSE | 74 | BATH | Bath | Toilet paper holder - Standard grade | 0 | Average | 1 | 24.93 | EA | 0 | 24.93 |  | 0 | 29.91 | 50 | Percent | 0 | Yes | 29.91 | Yes | No | FNH | TP- | DAVID.SO |  | 2023-07-17
FALSE | 75 | BATH | Bath | Towel bar - Standard grade | 0 | Average | 1 | 25.92 | EA | 0 | 25.92 |  | 0 | 31.1 | 50 | Percent | 0 | Yes | 31.1 | Yes | No | FNH | TBAR- | DAVID.SO |  | 2023-07-17
FALSE | 76 | BATH | Bath | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 10 | 44.4 | LF | 0 | 4.44 |  | 0 | 53.28 | 15 | Percent | 0 | Yes | 53.28 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 77 | BATH | Bath | Shelving - 16" - in place | 0 | Average | 10 | 115.5 | LF | 0 | 11.55 |  | 0 | 138.6 | 150 | Percent | 0 | Yes | 138.6 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 78 | BATH | Bath | Outlet | 0 | Average | 2 | 26.54 | EA | 0 | 13.27 |  | 0 | 31.84 | 25 | Percent | 0 | Yes | 31.84 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 79 | BATH | Bath | Mirror - 1/4" plate glass | 0 | Average | 6 | 112.38 | SF | 0 | 18.73 |  | 0 | 134.86 | 40 | Percent | 0 | Yes | 134.86 | Yes | No | MSD | AV | DAVID.SO |  | 2023-07-17
FALSE | 80 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 81 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 82 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 83 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 84 | BATH | Bath | Toilet seat - Standard grade | 0 | Average | 1 | 39.43 | EA | 0 | 39.43 |  | 0 | 47.31 | 9 | Percent | 0 | Yes | 47.31 | Yes | No | PLM | TLTS- | DAVID.SO |  | 2023-07-17
FALSE | 85 | BATH | Bath | Toilet - Standard grade | 0 | Average | 1 | 419.17 | EA | 0 | 419.17 |  | 0 | 503.01 | 150 | Percent | 0 | Yes | 503.01 | Yes | No | PLM | TLT- | DAVID.SO |  | 2023-07-17
FALSE | 86 | BATH | Bath | Bathtub - Standard grade | 0 | Average | 1 | 773 | EA | 0 | 773 |  | 0 | 927.6 | 50 | Percent | 0 | Yes | 927.6 | Yes | No | PLM | TUB- | DAVID.SO |  | 2023-07-17
FALSE | 87 | BATH | Bath | Shower curtain rod | 0 | Average | 1 | 34.52 | EA | 0 | 34.52 |  | 0 | 41.42 | 50 | Percent | 0 | Yes | 41.42 | Yes | No | FNH | SROD | DAVID.SO |  | 2023-07-17
FALSE | 88 | BATH | Bath | Fibreglass tub surround only - Standard grade | 0 | Average | 1 | 357.65 | EA | 0 | 357.65 |  | 0 | 429.19 | 50 | Percent | 0 | Yes | 429.19 | Yes | No | PLM | TUBS- | DAVID.SO |  | 2023-07-17
FALSE | 89 | BATH | Bath | Tub/shower faucet - Standard grade | 0 | Average | 1 | 259.22 | EA | 0 | 259.22 |  | 0 | 311.06 | 20 | Percent | 0 | Yes | 311.06 | Yes | No | PLM | TSFAU- | DAVID.SO |  | 2023-07-17
FALSE | 90 | BATH | Bath | Ductwork - flexible - non-insulated - 3" round | 0 | Average | 10 | 65.7 | LF | 0 | 6.57 |  | 0 | 78.84 | 30 | Percent | 0 | Yes | 78.84 | Yes | No | HVC | DCTFN3 | DAVID.SO |  | 2023-07-17
FALSE | 91 | BATH | Bath | Bathroom ventilation fan - Standard grade | 0 | Average | 1 | 89.58 | EA | 0 | 89.58 |  | 0 | 107.5 | 10 | Percent | 0 | Yes | 107.5 | Yes | No | HVC | BVENT- | DAVID.SO |  | 2023-07-17
FALSE | 92 | BATH | Bath | Light bar - 4 lights | 0 | Average | 1 | 89.45 | EA | 0 | 89.45 |  | 0 | 107.35 | 20 | Percent | 0 | Yes | 107.35 | Yes | No | LIT | BAR4 | DAVID.SO |  | 2023-07-17
FALSE | 93 | BATH | Bath | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 94 | BATH | Bath | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 95 | BATH | Bath | Interior door unit - Standard grade | 0 | Average | 1 | 292.48 | EA | 0 | 292.48 |  | 0 | 350.98 | 100 | Percent | 0 | Yes | 350.98 | Yes | No | DOR | AV- | DAVID.SO |  | 2023-07-17
FALSE | 96 | BATH | Bath | Ground fault interrupter (GFI) outlet | 0 | Average | 1 | 37 | EA | 0 | 37 |  | 0 | 44.4 | 10 | Percent | 0 | Yes | 44.4 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 97 | BATH | Bath | Vanity - Standard grade | 0 | Average | 3 | 448.2 | LF | 0 | 149.4 |  | 0 | 537.84 | 50 | Percent | 0 | Yes | 537.84 | Yes | No | CAB | VAN- | DAVID.SO |  | 2023-07-17
FALSE | 98 | BATH | Bath | 4" backsplash for flat laid countertop | 0 | Average | 3 | 28.92 | LF | 0 | 9.64 |  | 0 | 34.7 | 15 | Percent | 0 | Yes | 34.7 | Yes | No | CAB | CTFSPL4 | DAVID.SO |  | 2023-07-17
FALSE | 99 | BATH | Bath | Countertop - flat laid plastic laminate - Standard grade | 0 | Average | 3 | 112.11 | LF | 0 | 37.37 |  | 0 | 134.53 | 15 | Percent | 0 | Yes | 134.53 | Yes | No | CAB | CTFL- | DAVID.SO |  | 2023-07-17
FALSE | 100 | BATH | Bath | Sink faucet - Bathroom - Standard grade | 0 | Average | 1 | 176.94 | EA | 0 | 176.94 |  | 0 | 212.32 | 20 | Percent | 0 | Yes | 212.32 | Yes | No | PLM | FAUBA- | DAVID.SO |  | 2023-07-17
FALSE | 101 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 102 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 103 | BATH | Bath | Sink - single - Standard grade | 0 | Average | 1 | 198.39 | EA | 0 | 198.39 |  | 0 | 238.07 | 50 | Percent | 0 | Yes | 238.07 | Yes | No | PLM | SNK- | DAVID.SO |  | 2023-07-17
FALSE | 104 | BATH | Bath | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 214.67 | 210.38 | SF | 0 | 0.98 |  | 0 | 252.46 | 15 | Percent | 0 | Yes | 252.46 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 105 | BATH | Bath | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 214.67 | 573.17 | SF | 0 | 2.67 |  | 0 | 687.81 | 150 | Percent | 0 | Yes | 687.81 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 106 | BATH | Bath | Paint baseboard - one coat | 0 | Average | 13.42 | 12.21 | LF | 0 | 0.91 |  | 0 | 14.65 | 15 | Percent | 0 | Yes | 14.65 | Yes | No | PNT | B | DAVID.SO |  | 2023-07-17
FALSE | 107 | BATH | Bath | Baseboard - 2 1/4" | 0 | Average | 13.42 | 47.24 | LF | 0 | 3.52 |  | 0 | 56.68 | 150 | Percent | 0 | Yes | 56.68 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 108 | BATH | Bath | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 42.63 | 113.82 | SF | 0 | 2.67 |  | 0 | 136.58 | 150 | Percent | 0 | Yes | 136.58 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 109 | BATH | Bath | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 42.63 | 26.86 | SF | 0 | 0.63 |  | 0 | 32.24 | 15 | Percent | 0 | Yes | 32.24 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 110 | BATH | Bath | Paint the surface area - one coat | 0 | Average | 42.63 | 29.41 | SF | 0 | 0.69 |  | 0 | 35.29 | 15 | Percent | 0 | Yes | 35.29 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 111 | BATH | Bath | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 9.8 | 39.49 | SF | 0 | 4.03 |  | 0 | 47.39 | 50 | Percent | 0 | Yes | 47.39 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 112 | BATH | Bath | Carpet pad - Standard grade | 0 | Average | 39.22 | 26.28 | SF | 0 | 0.67 |  | 0 | 31.54 | 10 | Percent | 0 | Yes | 31.54 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 113 | BATH | Bath | Carpet - Economy grade | 0 | Average | 39.22 | 126.29 | SF | 0 | 3.22 |  | 0 | 151.55 | 10 | Percent | 0 | Yes | 151.55 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 114 | BATH2 | Bath2 | Towel ring - Standard grade | 0 | Average | 1 | 27.56 | EA | 0 | 27.56 |  | 0 | 33.08 | 50 | Percent | 0 | Yes | 33.08 | Yes | No | FNH | TR- | DAVID.SO |  | 2023-07-17
FALSE | 115 | BATH2 | Bath2 | Toilet paper holder - Standard grade | 0 | Average | 1 | 24.93 | EA | 0 | 24.93 |  | 0 | 29.91 | 50 | Percent | 0 | Yes | 29.91 | Yes | No | FNH | TP- | DAVID.SO |  | 2023-07-17
FALSE | 116 | BATH2 | Bath2 | Towel bar - Standard grade | 0 | Average | 1 | 25.92 | EA | 0 | 25.92 |  | 0 | 31.1 | 50 | Percent | 0 | Yes | 31.1 | Yes | No | FNH | TBAR- | DAVID.SO |  | 2023-07-17
FALSE | 117 | BATH2 | Bath2 | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 10 | 44.4 | LF | 0 | 4.44 |  | 0 | 53.28 | 15 | Percent | 0 | Yes | 53.28 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 118 | BATH2 | Bath2 | Shelving - 16" - in place | 0 | Average | 10 | 115.5 | LF | 0 | 11.55 |  | 0 | 138.6 | 150 | Percent | 0 | Yes | 138.6 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 119 | BATH2 | Bath2 | Outlet | 0 | Average | 2 | 26.54 | EA | 0 | 13.27 |  | 0 | 31.84 | 25 | Percent | 0 | Yes | 31.84 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 120 | BATH2 | Bath2 | Mirror - 1/4" plate glass | 0 | Average | 6 | 112.38 | SF | 0 | 18.73 |  | 0 | 134.86 | 40 | Percent | 0 | Yes | 134.86 | Yes | No | MSD | AV | DAVID.SO |  | 2023-07-17
FALSE | 121 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 122 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 123 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 124 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 125 | BATH2 | Bath2 | Toilet seat - Standard grade | 0 | Average | 1 | 39.43 | EA | 0 | 39.43 |  | 0 | 47.31 | 9 | Percent | 0 | Yes | 47.31 | Yes | No | PLM | TLTS- | DAVID.SO |  | 2023-07-17
FALSE | 126 | BATH2 | Bath2 | Toilet - Standard grade | 0 | Average | 1 | 419.17 | EA | 0 | 419.17 |  | 0 | 503.01 | 150 | Percent | 0 | Yes | 503.01 | Yes | No | PLM | TLT- | DAVID.SO |  | 2023-07-17
FALSE | 127 | BATH2 | Bath2 | Bathtub - Standard grade | 0 | Average | 1 | 773 | EA | 0 | 773 |  | 0 | 927.6 | 50 | Percent | 0 | Yes | 927.6 | Yes | No | PLM | TUB- | DAVID.SO |  | 2023-07-17
FALSE | 128 | BATH2 | Bath2 | Shower curtain rod | 0 | Average | 1 | 34.52 | EA | 0 | 34.52 |  | 0 | 41.42 | 50 | Percent | 0 | Yes | 41.42 | Yes | No | FNH | SROD | DAVID.SO |  | 2023-07-17
FALSE | 129 | BATH2 | Bath2 | Fibreglass tub surround only - Standard grade | 0 | Average | 1 | 357.65 | EA | 0 | 357.65 |  | 0 | 429.19 | 50 | Percent | 0 | Yes | 429.19 | Yes | No | PLM | TUBS- | DAVID.SO |  | 2023-07-17
FALSE | 130 | BATH2 | Bath2 | Tub/shower faucet - Standard grade | 0 | Average | 1 | 259.22 | EA | 0 | 259.22 |  | 0 | 311.06 | 20 | Percent | 0 | Yes | 311.06 | Yes | No | PLM | TSFAU- | DAVID.SO |  | 2023-07-17
FALSE | 131 | BATH2 | Bath2 | Ductwork - flexible - non-insulated - 3" round | 0 | Average | 10 | 65.7 | LF | 0 | 6.57 |  | 0 | 78.84 | 30 | Percent | 0 | Yes | 78.84 | Yes | No | HVC | DCTFN3 | DAVID.SO |  | 2023-07-17
FALSE | 132 | BATH2 | Bath2 | Bathroom ventilation fan - Standard grade | 0 | Average | 1 | 89.58 | EA | 0 | 89.58 |  | 0 | 107.5 | 10 | Percent | 0 | Yes | 107.5 | Yes | No | HVC | BVENT- | DAVID.SO |  | 2023-07-17
FALSE | 133 | BATH2 | Bath2 | Light bar - 4 lights | 0 | Average | 1 | 89.45 | EA | 0 | 89.45 |  | 0 | 107.35 | 20 | Percent | 0 | Yes | 107.35 | Yes | No | LIT | BAR4 | DAVID.SO |  | 2023-07-17
FALSE | 134 | BATH2 | Bath2 | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 135 | BATH2 | Bath2 | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 136 | BATH2 | Bath2 | Interior door unit - Standard grade | 0 | Average | 1 | 292.48 | EA | 0 | 292.48 |  | 0 | 350.98 | 100 | Percent | 0 | Yes | 350.98 | Yes | No | DOR | AV- | DAVID.SO |  | 2023-07-17
FALSE | 137 | BATH2 | Bath2 | Ground fault interrupter (GFI) outlet | 0 | Average | 1 | 37 | EA | 0 | 37 |  | 0 | 44.4 | 10 | Percent | 0 | Yes | 44.4 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 138 | BATH2 | Bath2 | Vanity - Standard grade | 0 | Average | 3 | 448.2 | LF | 0 | 149.4 |  | 0 | 537.84 | 50 | Percent | 0 | Yes | 537.84 | Yes | No | CAB | VAN- | DAVID.SO |  | 2023-07-17
FALSE | 139 | BATH2 | Bath2 | 4" backsplash for flat laid countertop | 0 | Average | 3 | 28.92 | LF | 0 | 9.64 |  | 0 | 34.7 | 15 | Percent | 0 | Yes | 34.7 | Yes | No | CAB | CTFSPL4 | DAVID.SO |  | 2023-07-17
FALSE | 140 | BATH2 | Bath2 | Countertop - flat laid plastic laminate - Standard grade | 0 | Average | 3 | 112.11 | LF | 0 | 37.37 |  | 0 | 134.53 | 15 | Percent | 0 | Yes | 134.53 | Yes | No | CAB | CTFL- | DAVID.SO |  | 2023-07-17
FALSE | 141 | BATH2 | Bath2 | Sink faucet - Bathroom - Standard grade | 0 | Average | 1 | 176.94 | EA | 0 | 176.94 |  | 0 | 212.32 | 20 | Percent | 0 | Yes | 212.32 | Yes | No | PLM | FAUBA- | DAVID.SO |  | 2023-07-17
FALSE | 142 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 143 | BATH2 | Bath2 | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 144 | BATH2 | Bath2 | Sink - single - Standard grade | 0 | Average | 1 | 198.39 | EA | 0 | 198.39 |  | 0 | 238.07 | 50 | Percent | 0 | Yes | 238.07 | Yes | No | PLM | SNK- | DAVID.SO |  | 2023-07-17
FALSE | 145 | BATH2 | Bath2 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 214.67 | 210.38 | SF | 0 | 0.98 |  | 0 | 252.46 | 15 | Percent | 0 | Yes | 252.46 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 146 | BATH2 | Bath2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 214.67 | 573.17 | SF | 0 | 2.67 |  | 0 | 687.81 | 150 | Percent | 0 | Yes | 687.81 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 147 | BATH2 | Bath2 | Paint baseboard - one coat | 0 | Average | 13.42 | 12.21 | LF | 0 | 0.91 |  | 0 | 14.65 | 15 | Percent | 0 | Yes | 14.65 | Yes | No | PNT | B | DAVID.SO |  | 2023-07-17
FALSE | 148 | BATH2 | Bath2 | Baseboard - 2 1/4" | 0 | Average | 13.42 | 47.24 | LF | 0 | 3.52 |  | 0 | 56.68 | 150 | Percent | 0 | Yes | 56.68 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 149 | BATH2 | Bath2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 42.63 | 113.82 | SF | 0 | 2.67 |  | 0 | 136.58 | 150 | Percent | 0 | Yes | 136.58 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 150 | BATH2 | Bath2 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 42.63 | 26.86 | SF | 0 | 0.63 |  | 0 | 32.24 | 15 | Percent | 0 | Yes | 32.24 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 151 | BATH2 | Bath2 | Paint the surface area - one coat | 0 | Average | 42.63 | 29.41 | SF | 0 | 0.69 |  | 0 | 35.29 | 15 | Percent | 0 | Yes | 35.29 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 152 | BATH2 | Bath2 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 9.8 | 39.49 | SF | 0 | 4.03 |  | 0 | 47.39 | 50 | Percent | 0 | Yes | 47.39 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 153 | BATH2 | Bath2 | Carpet pad - Standard grade | 0 | Average | 39.22 | 26.28 | SF | 0 | 0.67 |  | 0 | 31.54 | 10 | Percent | 0 | Yes | 31.54 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 154 | BATH2 | Bath2 | Carpet - Economy grade | 0 | Average | 39.22 | 126.29 | SF | 0 | 3.22 |  | 0 | 151.55 | 10 | Percent | 0 | Yes | 151.55 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 155 | UTILITYROOM | UtilityRoom | Outlet | 0 | Average | 6 | 79.62 | EA | 0 | 13.27 |  | 0 | 95.54 | 25 | Percent | 0 | Yes | 95.54 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 156 | UTILITYROOM | UtilityRoom | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 11 | 48.84 | LF | 0 | 4.44 |  | 0 | 58.6 | 15 | Percent | 0 | Yes | 58.6 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 157 | UTILITYROOM | UtilityRoom | Shelving - 16" - in place | 0 | Average | 11 | 127.05 | LF | 0 | 11.55 |  | 0 | 152.47 | 150 | Percent | 0 | Yes | 152.47 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 158 | UTILITYROOM | UtilityRoom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 159 | UTILITYROOM | UtilityRoom | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 160 | UTILITYROOM | UtilityRoom | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 161 | UTILITYROOM | UtilityRoom | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 162 | UTILITYROOM | UtilityRoom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 198.67 | 194.7 | SF | 0 | 0.98 |  | 0 | 233.64 | 15 | Percent | 0 | Yes | 233.64 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 163 | UTILITYROOM | UtilityRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 198.67 | 530.45 | SF | 0 | 2.67 |  | 0 | 636.55 | 150 | Percent | 0 | Yes | 636.55 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 164 | UTILITYROOM | UtilityRoom | Baseboard - 2 1/4" | 0 | Average | 24.83 | 87.4 | LF | 0 | 3.52 |  | 0 | 104.88 | 150 | Percent | 0 | Yes | 104.88 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 165 | UTILITYROOM | UtilityRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 37.46 | 100.02 | SF | 0 | 2.67 |  | 0 | 120.02 | 150 | Percent | 0 | Yes | 120.02 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 166 | UTILITYROOM | UtilityRoom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 37.46 | 23.6 | SF | 0 | 0.63 |  | 0 | 28.32 | 15 | Percent | 0 | Yes | 28.32 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 167 | UTILITYROOM | UtilityRoom | Paint the surface area - one coat | 0 | Average | 37.46 | 25.85 | SF | 0 | 0.69 |  | 0 | 31.03 | 15 | Percent | 0 | Yes | 31.03 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 168 | UTILITYROOM | UtilityRoom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 8.62 | 34.74 | SF | 0 | 4.03 |  | 0 | 41.68 | 50 | Percent | 0 | Yes | 41.68 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 169 | UTILITYROOM | UtilityRoom | Carpet pad - Standard grade | 0 | Average | 34.46 | 23.09 | SF | 0 | 0.67 |  | 0 | 27.71 | 10 | Percent | 0 | Yes | 27.71 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 170 | UTILITYROOM | UtilityRoom | Carpet - Economy grade | 0 | Average | 34.46 | 110.96 | SF | 0 | 3.22 |  | 0 | 133.16 | 10 | Percent | 0 | Yes | 133.16 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 171 | BEDROOM2 | Bedroom2 | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 172 | BEDROOM2 | Bedroom2 | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 173 | BEDROOM2 | Bedroom2 | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 174 | BEDROOM2 | Bedroom2 | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 175 | BEDROOM2 | Bedroom2 | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 176 | BEDROOM2 | Bedroom2 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 177 | BEDROOM2 | Bedroom2 | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 178 | BEDROOM2 | Bedroom2 | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 179 | BEDROOM2 | Bedroom2 | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 180 | BEDROOM2 | Bedroom2 | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 181 | BEDROOM2 | Bedroom2 | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 182 | BEDROOM2 | Bedroom2 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 330.67 | 324.06 | SF | 0 | 0.98 |  | 0 | 388.88 | 15 | Percent | 0 | Yes | 388.88 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 183 | BEDROOM2 | Bedroom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 330.67 | 882.89 | SF | 0 | 2.67 |  | 0 | 1059.47 | 150 | Percent | 0 | Yes | 1059.47 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 184 | BEDROOM2 | Bedroom2 | Baseboard - 2 1/4" | 0 | Average | 41.33 | 145.48 | LF | 0 | 3.52 |  | 0 | 174.58 | 150 | Percent | 0 | Yes | 174.58 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 185 | BEDROOM2 | Bedroom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 106.78 | 285.1 | SF | 0 | 2.67 |  | 0 | 342.12 | 150 | Percent | 0 | Yes | 342.12 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 186 | BEDROOM2 | Bedroom2 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 106.78 | 67.27 | SF | 0 | 0.63 |  | 0 | 80.73 | 15 | Percent | 0 | Yes | 80.73 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 187 | BEDROOM2 | Bedroom2 | Paint the surface area - one coat | 0 | Average | 106.78 | 73.68 | SF | 0 | 0.69 |  | 0 | 88.42 | 15 | Percent | 0 | Yes | 88.42 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 188 | BEDROOM2 | Bedroom2 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 24.56 | 98.98 | SF | 0 | 4.03 |  | 0 | 118.78 | 50 | Percent | 0 | Yes | 118.78 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 189 | BEDROOM2 | Bedroom2 | Carpet pad - Standard grade | 0 | Average | 98.24 | 65.82 | SF | 0 | 0.67 |  | 0 | 78.98 | 10 | Percent | 0 | Yes | 78.98 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 190 | BEDROOM2 | Bedroom2 | Carpet - Economy grade | 0 | Average | 98.24 | 316.33 | SF | 0 | 3.22 |  | 0 | 379.59 | 10 | Percent | 0 | Yes | 379.59 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 191 | KITCHEN | Kitchen | 220 volt outlet | 0 | Average | 1 | 33.1 | EA | 0 | 33.1 |  | 0 | 39.72 | 25 | Percent | 0 | Yes | 39.72 | Yes | No | ELE | OL220 | DAVID.SO |  | 2023-07-17
FALSE | 192 | KITCHEN | Kitchen | Ground fault interrupter (GFI) outlet | 0 | Average | 2 | 74 | EA | 0 | 37 |  | 0 | 88.8 | 10 | Percent | 0 | Yes | 88.8 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 193 | KITCHEN | Kitchen | Outlet | 0 | Average | 4 | 53.08 | EA | 0 | 13.27 |  | 0 | 63.7 | 25 | Percent | 0 | Yes | 63.7 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 194 | KITCHEN | Kitchen | Outlet | 0 | Average | 2 | 26.54 | EA | 0 | 13.27 |  | 0 | 31.84 | 25 | Percent | 0 | Yes | 31.84 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 195 | KITCHEN | Kitchen | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 1 | 550.65 | EA | 0 | 550.65 |  | 0 | 660.79 | 80 | Percent | 0 | Yes | 660.79 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 196 | KITCHEN | Kitchen | Sink faucet - Kitchen - Standard grade | 0 | Average | 1 | 203.94 | EA | 0 | 203.94 |  | 0 | 244.72 | 15 | Percent | 0 | Yes | 244.72 | Yes | No | PLM | FAU- | DAVID.SO |  | 2023-07-17
FALSE | 197 | KITCHEN | Kitchen | Sink - double basin - Standard grade | 0 | Average | 1 | 332.7 | EA | 0 | 332.7 |  | 0 | 399.24 | 50 | Percent | 0 | Yes | 399.24 | Yes | No | PLM | SNKD- | DAVID.SO |  | 2023-07-17
FALSE | 198 | KITCHEN | Kitchen | Fluorescent - two tube - 4' - strip light | 0 | Average | 1 | 91.55 | EA | 0 | 91.55 |  | 0 | 109.87 | 20 | Percent | 0 | Yes | 109.87 | Yes | No | LIT | FL2-4 | DAVID.SO |  | 2023-07-17
FALSE | 199 | KITCHEN | Kitchen | Appliance water line - 1/4" | 0 | Average | 1 | 65.8 | EA | 0 | 65.8 |  | 0 | 78.96 | 50 | Percent | 0 | Yes | 78.96 | Yes | No | APP | WL | DAVID.SO |  | 2023-07-17
FALSE | 200 | KITCHEN | Kitchen | Cabinet knob or pull | 0 | Average | 28 | 267.96 | EA | 0 | 9.57 |  | 0 | 321.56 | 20 | Percent | 0 | Yes | 321.56 | Yes | No | CAB | KNPL | DAVID.SO |  | 2023-07-17
FALSE | 201 | KITCHEN | Kitchen | Cabinetry - laminate upper (wall) units - Standard grade | 0 | Average | 14 | 1412.6 | LF | 0 | 100.9 |  | 0 | 1695.12 | 50 | Percent | 0 | Yes | 1695.12 | Yes | No | CAB | FUP- | DAVID.SO |  | 2023-07-17
FALSE | 202 | KITCHEN | Kitchen | Cabinetry - laminate lower (base) units - Standard grade | 0 | Average | 16 | 2005.92 | LF | 0 | 125.37 |  | 0 | 2407.1 | 50 | Percent | 0 | Yes | 2407.1 | Yes | No | CAB | FLOW- | DAVID.SO |  | 2023-07-17
FALSE | 203 | KITCHEN | Kitchen | Countertop - flat laid plastic laminate - Premium grade | 0 | Average | 18 | 1206.36 | LF | 0 | 67.02 |  | 0 | 1447.64 | 15 | Percent | 0 | Yes | 1447.64 | Yes | No | CAB | CTFL++ | DAVID.SO |  | 2023-07-17
FALSE | 204 | KITCHEN | Kitchen | 110 volt copper wiring run, box and outlet | 0 | Average | 1 | 75.59 | EA | 0 | 75.59 |  | 0 | 90.71 | 100 | Percent | 0 | Yes | 90.71 | Yes | No | ELE | 110 | DAVID.SO |  | 2023-07-17
FALSE | 205 | KITCHEN | Kitchen | Range hood - Standard grade | 0 | Average | 1 | 159.74 | EA | 0 | 159.74 |  | 0 | 191.68 | 14 | Percent | 0 | Yes | 191.68 | Yes | No | APP | HD- | DAVID.SO |  | 2023-07-17
FALSE | 206 | KITCHEN | Kitchen | Dishwasher - Standard grade | 0 | Average | 1 | 525.38 | EA | 0 | 525.38 |  | 0 | 630.46 | 9 | Percent | 0 | Yes | 630.46 | Yes | No | APP | DW- | DAVID.SO |  | 2023-07-17
FALSE | 207 | KITCHEN | Kitchen | Range - freestanding - electric - Standard grade | 0 | Average | 1 | 723.78 | EA | 0 | 723.78 |  | 0 | 868.54 | 13 | Percent | 0 | Yes | 868.54 | Yes | No | APP | RG- | DAVID.SO |  | 2023-07-17
FALSE | 208 | KITCHEN | Kitchen | Refrigerator - top freezer - 14 to 18 cf | 0 | Average | 1 | 941.11 | EA | 0 | 941.11 |  | 0 | 1129.33 | 14 | Percent | 0 | Yes | 1129.33 | Yes | No | APP | RF14 | DAVID.SO |  | 2023-07-17
FALSE | 209 | KITCHEN | Kitchen | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 348 | 341.04 | SF | 0 | 0.98 |  | 0 | 409.24 | 15 | Percent | 0 | Yes | 409.24 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 210 | KITCHEN | Kitchen | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 348 | 929.16 | SF | 0 | 2.67 |  | 0 | 1115 | 150 | Percent | 0 | Yes | 1115 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 211 | KITCHEN | Kitchen | Paint baseboard - one coat | 0 | Average | 21.75 | 19.79 | LF | 0 | 0.91 |  | 0 | 23.75 | 15 | Percent | 0 | Yes | 23.75 | Yes | No | PNT | B | DAVID.SO |  | 2023-07-17
FALSE | 212 | KITCHEN | Kitchen | Baseboard - 2 1/4" | 0 | Average | 21.75 | 76.56 | LF | 0 | 3.52 |  | 0 | 91.88 | 150 | Percent | 0 | Yes | 91.88 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 213 | KITCHEN | Kitchen | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 117.97 | 314.98 | SF | 0 | 2.67 |  | 0 | 377.98 | 150 | Percent | 0 | Yes | 377.98 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 214 | KITCHEN | Kitchen | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 117.97 | 74.32 | SF | 0 | 0.63 |  | 0 | 89.18 | 15 | Percent | 0 | Yes | 89.18 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 215 | KITCHEN | Kitchen | Paint the surface area - one coat | 0 | Average | 117.97 | 81.4 | SF | 0 | 0.69 |  | 0 | 97.68 | 15 | Percent | 0 | Yes | 97.68 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 216 | KITCHEN | Kitchen | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 27.13 | 109.33 | SF | 0 | 4.03 |  | 0 | 131.19 | 50 | Percent | 0 | Yes | 131.19 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 217 | KITCHEN | Kitchen | Carpet pad - Standard grade | 0 | Average | 108.53 | 72.72 | SF | 0 | 0.67 |  | 0 | 87.26 | 10 | Percent | 0 | Yes | 87.26 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 218 | KITCHEN | Kitchen | Carpet - Economy grade | 0 | Average | 108.53 | 349.47 | SF | 0 | 3.22 |  | 0 | 419.37 | 10 | Percent | 0 | Yes | 419.37 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 219 | BEDROOM3 | Bedroom3 | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 220 | BEDROOM3 | Bedroom3 | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 221 | BEDROOM3 | Bedroom3 | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 222 | BEDROOM3 | Bedroom3 | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 223 | BEDROOM3 | Bedroom3 | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 224 | BEDROOM3 | Bedroom3 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 225 | BEDROOM3 | Bedroom3 | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 226 | BEDROOM3 | Bedroom3 | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 227 | BEDROOM3 | Bedroom3 | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 228 | BEDROOM3 | Bedroom3 | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 229 | BEDROOM3 | Bedroom3 | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 230 | BEDROOM3 | Bedroom3 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 430.67 | 422.06 | SF | 0 | 0.98 |  | 0 | 506.48 | 15 | Percent | 0 | Yes | 506.48 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 231 | BEDROOM3 | Bedroom3 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 430.67 | 1149.89 | SF | 0 | 2.67 |  | 0 | 1379.87 | 150 | Percent | 0 | Yes | 1379.87 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 232 | BEDROOM3 | Bedroom3 | Baseboard - 2 1/4" | 0 | Average | 53.83 | 189.48 | LF | 0 | 3.52 |  | 0 | 227.38 | 150 | Percent | 0 | Yes | 227.38 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 233 | BEDROOM3 | Bedroom3 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 180.04 | 480.71 | SF | 0 | 2.67 |  | 0 | 576.85 | 150 | Percent | 0 | Yes | 576.85 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 234 | BEDROOM3 | Bedroom3 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 180.04 | 113.43 | SF | 0 | 0.63 |  | 0 | 136.11 | 15 | Percent | 0 | Yes | 136.11 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 235 | BEDROOM3 | Bedroom3 | Paint the surface area - one coat | 0 | Average | 180.04 | 124.23 | SF | 0 | 0.69 |  | 0 | 149.07 | 15 | Percent | 0 | Yes | 149.07 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 236 | BEDROOM3 | Bedroom3 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 41.41 | 166.88 | SF | 0 | 4.03 |  | 0 | 200.26 | 50 | Percent | 0 | Yes | 200.26 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 237 | BEDROOM3 | Bedroom3 | Carpet pad - Standard grade | 0 | Average | 165.64 | 110.98 | SF | 0 | 0.67 |  | 0 | 133.18 | 10 | Percent | 0 | Yes | 133.18 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 238 | BEDROOM3 | Bedroom3 | Carpet - Economy grade | 0 | Average | 165.64 | 533.36 | SF | 0 | 3.22 |  | 0 | 640.04 | 10 | Percent | 0 | Yes | 640.04 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 239 | BEDROOM | Bedroom | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 240 | BEDROOM | Bedroom | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 241 | BEDROOM | Bedroom | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 242 | BEDROOM | Bedroom | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 243 | BEDROOM | Bedroom | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 244 | BEDROOM | Bedroom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 245 | BEDROOM | Bedroom | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 246 | BEDROOM | Bedroom | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 247 | BEDROOM | Bedroom | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 248 | BEDROOM | Bedroom | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 249 | BEDROOM | Bedroom | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 250 | BEDROOM | Bedroom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 330.67 | 324.06 | SF | 0 | 0.98 |  | 0 | 388.88 | 15 | Percent | 0 | Yes | 388.88 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 251 | BEDROOM | Bedroom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 330.67 | 882.89 | SF | 0 | 2.67 |  | 0 | 1059.47 | 150 | Percent | 0 | Yes | 1059.47 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 252 | BEDROOM | Bedroom | Baseboard - 2 1/4" | 0 | Average | 41.33 | 145.48 | LF | 0 | 3.52 |  | 0 | 174.58 | 150 | Percent | 0 | Yes | 174.58 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 253 | BEDROOM | Bedroom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 106.78 | 285.1 | SF | 0 | 2.67 |  | 0 | 342.12 | 150 | Percent | 0 | Yes | 342.12 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 254 | BEDROOM | Bedroom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 106.78 | 67.27 | SF | 0 | 0.63 |  | 0 | 80.73 | 15 | Percent | 0 | Yes | 80.73 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 255 | BEDROOM | Bedroom | Paint the surface area - one coat | 0 | Average | 106.78 | 73.68 | SF | 0 | 0.69 |  | 0 | 88.42 | 15 | Percent | 0 | Yes | 88.42 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 256 | BEDROOM | Bedroom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 24.56 | 98.98 | SF | 0 | 4.03 |  | 0 | 118.78 | 50 | Percent | 0 | Yes | 118.78 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 257 | BEDROOM | Bedroom | Carpet pad - Standard grade | 0 | Average | 98.24 | 65.82 | SF | 0 | 0.67 |  | 0 | 78.98 | 10 | Percent | 0 | Yes | 78.98 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 258 | BEDROOM | Bedroom | Carpet - Economy grade | 0 | Average | 98.24 | 316.33 | SF | 0 | 3.22 |  | 0 | 379.59 | 10 | Percent | 0 | Yes | 379.59 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 259 | NOOK | Nook | Outlet | 0 | Average | 4 | 53.08 | EA | 0 | 13.27 |  | 0 | 63.7 | 25 | Percent | 0 | Yes | 63.7 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 260 | NOOK | Nook | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 261 | NOOK | Nook | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 232 | 227.36 | SF | 0 | 0.98 |  | 0 | 272.84 | 15 | Percent | 0 | Yes | 272.84 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 262 | NOOK | Nook | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 232 | 619.44 | SF | 0 | 2.67 |  | 0 | 743.32 | 150 | Percent | 0 | Yes | 743.32 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 263 | NOOK | Nook | Baseboard - 2 1/4" | 0 | Average | 29 | 102.08 | LF | 0 | 3.52 |  | 0 | 122.5 | 150 | Percent | 0 | Yes | 122.5 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 264 | NOOK | Nook | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 51.56 | 137.67 | SF | 0 | 2.67 |  | 0 | 165.21 | 150 | Percent | 0 | Yes | 165.21 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 265 | NOOK | Nook | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 51.56 | 32.48 | SF | 0 | 0.63 |  | 0 | 38.98 | 15 | Percent | 0 | Yes | 38.98 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 266 | NOOK | Nook | Paint the surface area - one coat | 0 | Average | 51.56 | 35.58 | SF | 0 | 0.69 |  | 0 | 42.7 | 15 | Percent | 0 | Yes | 42.7 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 267 | NOOK | Nook | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 11.86 | 47.8 | SF | 0 | 4.03 |  | 0 | 57.36 | 50 | Percent | 0 | Yes | 57.36 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 268 | NOOK | Nook | Carpet pad - Standard grade | 0 | Average | 47.44 | 31.78 | SF | 0 | 0.67 |  | 0 | 38.14 | 10 | Percent | 0 | Yes | 38.14 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 269 | NOOK | Nook | Carpet - Economy grade | 0 | Average | 47.44 | 152.76 | SF | 0 | 3.22 |  | 0 | 183.32 | 10 | Percent | 0 | Yes | 183.32 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 270 | HALLWAY2 | Hallway2 | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 271 | HALLWAY2 | Hallway2 | Outlet | 0 | Average | 1 | 13.27 | EA | 0 | 13.27 |  | 0 | 15.93 | 25 | Percent | 0 | Yes | 15.93 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 272 | HALLWAY2 | Hallway2 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 273 | HALLWAY2 | Hallway2 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 214.67 | 210.38 | SF | 0 | 0.98 |  | 0 | 252.46 | 15 | Percent | 0 | Yes | 252.46 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 274 | HALLWAY2 | Hallway2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 214.67 | 573.17 | SF | 0 | 2.67 |  | 0 | 687.81 | 150 | Percent | 0 | Yes | 687.81 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 275 | HALLWAY2 | Hallway2 | Baseboard - 2 1/4" | 0 | Average | 26.83 | 94.44 | LF | 0 | 3.52 |  | 0 | 113.32 | 150 | Percent | 0 | Yes | 113.32 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 276 | HALLWAY2 | Hallway2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 31.86 | 85.07 | SF | 0 | 2.67 |  | 0 | 102.09 | 150 | Percent | 0 | Yes | 102.09 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 277 | HALLWAY2 | Hallway2 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 31.86 | 20.07 | SF | 0 | 0.63 |  | 0 | 24.09 | 15 | Percent | 0 | Yes | 24.09 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 278 | HALLWAY2 | Hallway2 | Paint the surface area - one coat | 0 | Average | 31.86 | 21.98 | SF | 0 | 0.69 |  | 0 | 26.38 | 15 | Percent | 0 | Yes | 26.38 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 279 | HALLWAY2 | Hallway2 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 7.33 | 29.54 | SF | 0 | 4.03 |  | 0 | 35.44 | 50 | Percent | 0 | Yes | 35.44 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 280 | HALLWAY2 | Hallway2 | Carpet pad - Standard grade | 0 | Average | 29.31 | 19.64 | SF | 0 | 0.67 |  | 0 | 23.56 | 10 | Percent | 0 | Yes | 23.56 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 281 | HALLWAY2 | Hallway2 | Carpet - Economy grade | 0 | Average | 29.31 | 94.38 | SF | 0 | 3.22 |  | 0 | 113.26 | 10 | Percent | 0 | Yes | 113.26 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 282 | BEDROOM4 | Bedroom4 | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 283 | BEDROOM4 | Bedroom4 | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 284 | BEDROOM4 | Bedroom4 | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 285 | BEDROOM4 | Bedroom4 | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 286 | BEDROOM4 | Bedroom4 | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 287 | BEDROOM4 | Bedroom4 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 288 | BEDROOM4 | Bedroom4 | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 289 | BEDROOM4 | Bedroom4 | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 290 | BEDROOM4 | Bedroom4 | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 291 | BEDROOM4 | Bedroom4 | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 292 | BEDROOM4 | Bedroom4 | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 293 | BEDROOM4 | Bedroom4 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 430.67 | 422.06 | SF | 0 | 0.98 |  | 0 | 506.48 | 15 | Percent | 0 | Yes | 506.48 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 294 | BEDROOM4 | Bedroom4 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 430.67 | 1149.89 | SF | 0 | 2.67 |  | 0 | 1379.87 | 150 | Percent | 0 | Yes | 1379.87 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 295 | BEDROOM4 | Bedroom4 | Baseboard - 2 1/4" | 0 | Average | 53.83 | 189.48 | LF | 0 | 3.52 |  | 0 | 227.38 | 150 | Percent | 0 | Yes | 227.38 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 296 | BEDROOM4 | Bedroom4 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 180.04 | 480.71 | SF | 0 | 2.67 |  | 0 | 576.85 | 150 | Percent | 0 | Yes | 576.85 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 297 | BEDROOM4 | Bedroom4 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 180.04 | 113.43 | SF | 0 | 0.63 |  | 0 | 136.11 | 15 | Percent | 0 | Yes | 136.11 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 298 | BEDROOM4 | Bedroom4 | Paint the surface area - one coat | 0 | Average | 180.04 | 124.23 | SF | 0 | 0.69 |  | 0 | 149.07 | 15 | Percent | 0 | Yes | 149.07 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 299 | BEDROOM4 | Bedroom4 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 41.41 | 166.88 | SF | 0 | 4.03 |  | 0 | 200.26 | 50 | Percent | 0 | Yes | 200.26 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 300 | BEDROOM4 | Bedroom4 | Carpet pad - Standard grade | 0 | Average | 165.64 | 110.98 | SF | 0 | 0.67 |  | 0 | 133.18 | 10 | Percent | 0 | Yes | 133.18 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 301 | BEDROOM4 | Bedroom4 | Carpet - Economy grade | 0 | Average | 165.64 | 533.36 | SF | 0 | 3.22 |  | 0 | 640.04 | 10 | Percent | 0 | Yes | 640.04 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 302 | LIVINGROOM | LivingRoom | Outlet | 0 | Average | 6 | 79.62 | EA | 0 | 13.27 |  | 0 | 95.54 | 25 | Percent | 0 | Yes | 95.54 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 303 | LIVINGROOM | LivingRoom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 304 | LIVINGROOM | LivingRoom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 497.33 | 487.38 | SF | 0 | 0.98 |  | 0 | 584.86 | 15 | Percent | 0 | Yes | 584.86 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 305 | LIVINGROOM | LivingRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 497.33 | 1327.87 | SF | 0 | 2.67 |  | 0 | 1593.45 | 150 | Percent | 0 | Yes | 1593.45 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 306 | LIVINGROOM | LivingRoom | Baseboard - 2 1/4" | 0 | Average | 62.17 | 218.84 | LF | 0 | 3.52 |  | 0 | 262.6 | 150 | Percent | 0 | Yes | 262.6 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 307 | LIVINGROOM | LivingRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 231.78 | 618.85 | SF | 0 | 2.67 |  | 0 | 742.63 | 150 | Percent | 0 | Yes | 742.63 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 308 | LIVINGROOM | LivingRoom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 231.78 | 146.02 | SF | 0 | 0.63 |  | 0 | 175.22 | 15 | Percent | 0 | Yes | 175.22 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 309 | LIVINGROOM | LivingRoom | Paint the surface area - one coat | 0 | Average | 231.78 | 159.93 | SF | 0 | 0.69 |  | 0 | 191.91 | 15 | Percent | 0 | Yes | 191.91 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 310 | LIVINGROOM | LivingRoom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 53.31 | 214.84 | SF | 0 | 4.03 |  | 0 | 257.8 | 50 | Percent | 0 | Yes | 257.8 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 311 | LIVINGROOM | LivingRoom | Carpet pad - Standard grade | 0 | Average | 213.24 | 142.87 | SF | 0 | 0.67 |  | 0 | 171.45 | 10 | Percent | 0 | Yes | 171.45 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 312 | LIVINGROOM | LivingRoom | Carpet - Economy grade | 0 | Average | 213.24 | 686.63 | SF | 0 | 3.22 |  | 0 | 823.95 | 10 | Percent | 0 | Yes | 823.95 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 313 | PATIO | Patio | Stain/finish deck handrail | 0 | Average | 17 | 121.72 | LF | 0 | 7.16 |  | 0 | 146.06 | 15 | Percent | 0 | Yes | 146.06 | Yes | No | PNT | DKRL | DAVID.SO |  | 2023-07-17
FALSE | 314 | PATIO | Patio | Deck guard rail - redwood | 0 | Average | 17 | 919.53 | LF | 0 | 54.09 |  | 0 | 1103.43 | 20 | Percent | 0 | Yes | 1103.43 | Yes | No | FRM | DKRLR | DAVID.SO |  | 2023-07-17
FALSE | 315 | PATIO | Patio | Outlet | 0 | Average | 1 | 13.27 | EA | 0 | 13.27 |  | 0 | 15.93 | 25 | Percent | 0 | Yes | 15.93 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 316 | PATIO | Patio | Ground fault interrupter (GFI) outlet | 0 | Average | 1 | 37 | EA | 0 | 37 |  | 0 | 44.4 | 10 | Percent | 0 | Yes | 44.4 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 317 | PATIO | Patio | Exterior light fixture - Standard grade | 0 | Average | 1 | 65.65 | EA | 0 | 65.65 |  | 0 | 78.79 | 20 | Percent | 0 | Yes | 78.79 | Yes | No | LIT | X- | DAVID.SO |  | 2023-07-17
FALSE | 318 | PATIO | Patio | Soffit - metal | 0 | Average | 32.11 | 227.34 | SF | 0 | 7.08 |  | 0 | 272.8 | 50 | Percent | 0 | Yes | 272.8 | Yes | No | SFG | SFTM | DAVID.SO |  | 2023-07-17
FALSE | 319 | PATIO | Patio | Sheathing - plywood - 1/2" CDX | 0 | Average | 83 | 200.03 | SF | 0 | 2.41 |  | 0 | 240.03 | 150 | Percent | 0 | Yes | 240.03 | Yes | No | FRM | SH1/2 | DAVID.SO |  | 2023-07-17
FALSE | 320 | PATIO | Patio | 2" x 4" lumber (.667 BF per LF) | 0 | Average | 23.28 | 60.06 | LF | 0 | 2.58 |  | 0 | 72.08 | 150 | Percent | 0 | Yes | 72.08 | Yes | No | FRM | 2X4 | DAVID.SO |  | 2023-07-17
FALSE | 321 | PATIO | Patio | 2" x 6" lumber (1 BF per LF) | 0 | Average | 11.33 | 34.44 | LF | 0 | 3.04 |  | 0 | 41.32 | 150 | Percent | 0 | Yes | 41.32 | Yes | No | FRM | 2X6 | DAVID.SO |  | 2023-07-17
FALSE | 322 | PATIO | Patio | Truss - 4/12 slope | 0 | Average | 22.67 | 204.71 | LF | 0 | 9.03 |  | 0 | 245.65 | 150 | Percent | 0 | Yes | 245.65 | Yes | No | FRM | TR4 | DAVID.SO |  | 2023-07-17
FALSE | 323 | PATIO | Patio | 3 tab - 25 yr. - composition shingle roofing - incl. felt | 0 | Average | 1 | 265.87 | SQ | 0 | 265.87 |  | 0 | 319.05 | 25 | Percent | 0 | Yes | 319.05 | Yes | No | RFG | 240 | DAVID.SO |  | 2023-07-17
FALSE | 324 | PATIO | Patio | 6" x 6" square wood post (3 BF per LF) | 0 | Average | 17 | 164.39 | LF | 0 | 9.67 |  | 0 | 197.27 | 150 | Percent | 0 | Yes | 197.27 | Yes | No | FRM | 6X6 | DAVID.SO |  | 2023-07-17
FALSE | 325 | PATIO | Patio | Framing hurricane tie | 0 | Average | 4 | 32.32 | EA | 0 | 8.08 |  | 0 | 38.78 | 150 | Percent | 0 | Yes | 38.78 | Yes | No | FRM | FRHT | DAVID.SO |  | 2023-07-17
FALSE | 326 | HALLWAY | Hallway | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 327 | HALLWAY | Hallway | Outlet | 0 | Average | 1 | 13.27 | EA | 0 | 13.27 |  | 0 | 15.93 | 25 | Percent | 0 | Yes | 15.93 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 328 | HALLWAY | Hallway | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 329 | HALLWAY | Hallway | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 314.67 | 308.38 | SF | 0 | 0.98 |  | 0 | 370.06 | 15 | Percent | 0 | Yes | 370.06 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 330 | HALLWAY | Hallway | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 314.67 | 840.17 | SF | 0 | 2.67 |  | 0 | 1008.21 | 150 | Percent | 0 | Yes | 1008.21 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 331 | HALLWAY | Hallway | Baseboard - 2 1/4" | 0 | Average | 39.33 | 138.44 | LF | 0 | 3.52 |  | 0 | 166.12 | 150 | Percent | 0 | Yes | 166.12 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 332 | HALLWAY | Hallway | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 64.58 | 172.43 | SF | 0 | 2.67 |  | 0 | 206.91 | 150 | Percent | 0 | Yes | 206.91 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 333 | HALLWAY | Hallway | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 64.58 | 40.69 | SF | 0 | 0.63 |  | 0 | 48.83 | 15 | Percent | 0 | Yes | 48.83 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 334 | HALLWAY | Hallway | Paint the surface area - one coat | 0 | Average | 64.58 | 44.56 | SF | 0 | 0.69 |  | 0 | 53.48 | 15 | Percent | 0 | Yes | 53.48 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 335 | HALLWAY | Hallway | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 14.85 | 59.85 | SF | 0 | 4.03 |  | 0 | 71.83 | 50 | Percent | 0 | Yes | 71.83 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 336 | HALLWAY | Hallway | Carpet pad - Standard grade | 0 | Average | 59.42 | 39.81 | SF | 0 | 0.67 |  | 0 | 47.77 | 10 | Percent | 0 | Yes | 47.77 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 337 | HALLWAY | Hallway | Carpet - Economy grade | 0 | Average | 59.42 | 191.33 | SF | 0 | 3.22 |  | 0 | 229.59 | 10 | Percent | 0 | Yes | 229.59 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 338 | LIVINGROOM2 | LivingRoom2 | Outlet | 0 | Average | 6 | 79.62 | EA | 0 | 13.27 |  | 0 | 95.54 | 25 | Percent | 0 | Yes | 95.54 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 339 | LIVINGROOM2 | LivingRoom2 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 340 | LIVINGROOM2 | LivingRoom2 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 497.33 | 487.38 | SF | 0 | 0.98 |  | 0 | 584.86 | 15 | Percent | 0 | Yes | 584.86 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 341 | LIVINGROOM2 | LivingRoom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 497.33 | 1327.87 | SF | 0 | 2.67 |  | 0 | 1593.45 | 150 | Percent | 0 | Yes | 1593.45 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 342 | LIVINGROOM2 | LivingRoom2 | Baseboard - 2 1/4" | 0 | Average | 62.17 | 218.84 | LF | 0 | 3.52 |  | 0 | 262.6 | 150 | Percent | 0 | Yes | 262.6 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 343 | LIVINGROOM2 | LivingRoom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 231.78 | 618.85 | SF | 0 | 2.67 |  | 0 | 742.63 | 150 | Percent | 0 | Yes | 742.63 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 344 | LIVINGROOM2 | LivingRoom2 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 231.78 | 146.02 | SF | 0 | 0.63 |  | 0 | 175.22 | 15 | Percent | 0 | Yes | 175.22 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 345 | LIVINGROOM2 | LivingRoom2 | Paint the surface area - one coat | 0 | Average | 231.78 | 159.93 | SF | 0 | 0.69 |  | 0 | 191.91 | 15 | Percent | 0 | Yes | 191.91 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 346 | LIVINGROOM2 | LivingRoom2 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 53.31 | 214.84 | SF | 0 | 4.03 |  | 0 | 257.8 | 50 | Percent | 0 | Yes | 257.8 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 347 | LIVINGROOM2 | LivingRoom2 | Carpet pad - Standard grade | 0 | Average | 213.24 | 142.87 | SF | 0 | 0.67 |  | 0 | 171.45 | 10 | Percent | 0 | Yes | 171.45 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 348 | LIVINGROOM2 | LivingRoom2 | Carpet - Economy grade | 0 | Average | 213.24 | 686.63 | SF | 0 | 3.22 |  | 0 | 823.95 | 10 | Percent | 0 | Yes | 823.95 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17