## Table 1
Client: XM8 ONLINE Property: 123 Flood Way Fredericton, NB E3B 1B5 Operator: DAVID.SO Estimator: DS Type of Estimate: Flood Date Entered: 7/16/2023 Date Assigned: Date Est. Completed: 8/31/2023 Date Job Completed: Price List: NBFR8X_SEP23 Labor Efficiency: Restoration/Service/Remodel Estimate: R_1-S-BD-EC_NBFR
R_1-S-BD-EC_NBFR
StructureLevelLineItems Formula 0" x 0" x 0"
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
1. Seal & paint window sill |  |  |  | 44.00 LF |  | 0 |  |  | 2.5 |  |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132
2. Window sill |  |  |  | 44.00 LF |  | 0 |  |  | 3.33 |  |  |  |  | 0 |  |  |  |  | 29.3 |  |  |  | 175.82
3. Vinyl window, horizontal sliding, 12-23 sf |  |  |  | 11.00 EA |  | 0 |  |  | 412.31 |  |  |  |  | 0 |  |  |  |  | 907.08 |  |  |  | 5442.49
4. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
5. Fluorescent - one tube - 4' - fixture w/lens |  |  |  | 1.00 EA |  | 0 |  |  | 98.26 |  |  |  |  | 0 |  |  |  |  | 19.66 |  |  |  | 117.92
6. Clothes dryer vent - installed |  |  |  | 1.00 EA |  | 0 |  |  | 75.02 |  |  |  |  | 0 |  |  |  |  | 15 |  |  |  | 90.02
7. Paint handrail - wall mounted |  |  |  | 15.00 LF |  | 0 |  |  | 1.11 |  |  |  |  | 0 |  |  |  |  | 3.34 |  |  |  | 19.99
8. Handrail - round / oval - softwood - wall mounted |  |  |  | 15.00 LF |  | 0 |  |  | 13.73 |  |  |  |  | 0 |  |  |  |  | 41.2 |  |  |  | 247.15
9. Stairway - 3' wide (8' rise plus joist) |  |  |  | 1.00 EA |  | 0 |  |  | 722.96 |  |  |  |  | 0 |  |  |  |  | 144.6 |  |  |  | 867.56
10. Truss - 4/12 slope - heavy loading |  |  |  | 495.14 LF |  | 0 |  |  | 9.54 |  |  |  |  | 0 |  |  |  |  | 944.72 |  |  |  | 5668.36
11. 2" x 4" lumber (.667 BF per LF) |  |  |  | 123.20 LF |  | 0 |  |  | 2.58 |  |  |  |  | 0 |  |  |  |  | 63.58 |  |  |  | 381.44
12. 2" x 6" lumber (1 BF per LF) |  |  |  | 61.80 LF |  | 0 |  |  | 3.04 |  |  |  |  | 0 |  |  |  |  | 37.58 |  |  |  | 225.45
13. Framing hurricane tie |  |  |  | 17.00 EA |  | 0 |  |  | 8.08 |  |  |  |  | 0 |  |  |  |  | 27.48 |  |  |  | 164.84
14. Sheathing - OSB - 1/2" |  |  |  | 1,207.00 SF |  | 0 |  |  | 1.61 |  |  |  |  | 0 |  |  |  |  | 388.66 |  |  |  | 2331.93
15. 3 tab - 25 yr. - composition shingle roofing - incl. felt |  |  |  | 13.00 SQ |  | 0 |  |  | 265.87 |  |  |  |  | 0 |  |  |  |  | 691.26 |  |  |  | 4147.57
16. Drip edge |  |  |  | 136.00 LF |  | 0 |  |  | 2.94 |  |  |  |  | 0 |  |  |  |  | 79.96 |  |  |  | 479.8
17. Flexible gas supply line connector - 1/2" - 25" to 48" |  |  |  | 1.00 EA |  | 0 |  |  | 51.06 |  |  |  |  | 0 |  |  |  |  | 10.22 |  |  |  | 61.28
18. Water heater - 40 gallon - Gas - 6 yr |  |  |  | 1.00 EA |  | 0 |  |  | 1250.14 |  |  |  |  | 0 |  |  |  |  | 250.02 |  |  |  | 1500.16
19. Black pipe with fitting and hanger, 1" |  |  |  | 19.01 LF |  | 0 |  |  | 13.39 |  |  |  |  | 0 |  |  |  |  | 50.9 |  |  |  | 305.44
20. Furnace vent - rain cap and storm collar, 5" |  |  |  | 1.00 EA |  | 0 |  |  | 73.08 |  |  |  |  | 0 |  |  |  |  | 14.62 |  |  |  | 87.7
21. Furnace vent - double wall, 5" |  |  |  | 9.00 LF |  | 0 |  |  | 29.8 |  |  |  |  | 0 |  |  |  |  | 53.64 |  |  |  | 321.84
22. Exterior faucet / hose bibb |  |  |  | 2.00 EA |  | 0 |  |  | 60.68 |  |  |  |  | 0 |  |  |  |  | 24.28 |  |  |  | 145.64
23. Seal & paint wood shelving, 12"- 24" width |  |  |  | 15.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 13.32 |  |  |  | 79.92
24. Shelving - 16" - in place |  |  |  | 15.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 34.66 |  |  |  | 207.91
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
25. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 86.00 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 16.86 |  |  |  | 101.14
26. 1/2" drywall - hung, taped, ready for texture |  |  |  | 86.00 SF |  | 0 |  |  | 2.35 |  |  |  |  | 0 |  |  |  |  | 40.42 |  |  |  | 242.52
27. Door knob - interior - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 40.14 |  |  |  |  | 0 |  |  |  |  | 8.02 |  |  |  | 48.16
28. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
29. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 31.36 |  |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
30. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
31. Stud wall - 2" x 6" - 24" oc |  |  |  | 160.00 SF |  | 0 |  |  | 3.44 |  |  |  |  | 0 |  |  |  |  | 110.08 |  |  |  | 660.48
32. Stud wall - 2" x 4" - 24" oc |  |  |  | 1,117.18 SF |  | 0 |  |  | 2.25 |  |  |  |  | 0 |  |  |  |  | 502.74 |  |  |  | 3016.4
33. Batt insulation - 6" - R19 - paper / foil faced |  |  |  | 1,083.58 SF |  | 0 |  |  | 1.53 |  |  |  |  | 0 |  |  |  |  | 331.58 |  |  |  | 1989.46
34. Batt insulation - 10" - R30 - paper / foil faced |  |  |  | 900.00 SF |  | 0 |  |  | 2.6 |  |  |  |  | 0 |  |  |  |  | 468 |  |  |  | 2808
35. Blown-in insulation - 20" depth - R50 |  |  |  | 900.00 SF |  | 0 |  |  | 3.23 |  |  |  |  | 0 |  |  |  |  | 581.4 |  |  |  | 3488.4
36. Thermostat - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 90.1 |  |  |  |  | 0 |  |  |  |  | 18.02 |  |  |  | 108.12
37. Furnace - forced air - 60 - 75,000 BTU |  |  |  | 1.00 EA |  | 0 |  |  | 2887.57 |  |  |  |  | 0 |  |  |  |  | 577.52 |  |  |  | 3465.09
38. Ductwork system - hot or cold air - up to 900 SF home |  |  |  | 1.00 EA |  | 0 |  |  | 3419.82 |  |  |  |  | 0 |  |  |  |  | 683.96 |  |  |  | 4103.78
39. Sheathing - OSB - 3/4" - tongue and groove |  |  |  | 990.00 SF |  | 0 |  |  | 2.93 |  |  |  |  | 0 |  |  |  |  | 580.14 |  |  |  | 3480.84
40. Joist - floor or ceiling - 2x10 - w/blocking - 16" oc |  |  |  | 900.00 SF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 855 |  |  |  | 5130
41. 2" x 6" lumber - redwood (1 BF per LF) |  |  |  | 120.40 LF |  | 0 |  |  | 5.85 |  |  |  |  | 0 |  |  |  |  | 140.86 |  |  |  | 845.2
42. Exterior light fixture - Standard grade |  |  |  | 2.00 EA |  | 0 |  |  | 65.65 |  |  |  |  | 0 |  |  |  |  | 26.26 |  |  |  | 157.56
43. Door lockset & deadbolt - exterior |  |  |  | 2.00 EA |  | 0 |  |  | 105.01 |  |  |  |  | 0 |  |  |  |  | 42 |  |  |  | 252.02
44. Exterior door - solid core lauan / mahogany or birch flush |  |  |  | 2.00 EA |  | 0 |  |  | 380.73 |  |  |  |  | 0 |  |  |  |  | 152.3 |  |  |  | 913.76
45. 6-0 6-8 mill finish sliding patio door |  |  |  | 1.00 EA |  | 0 |  |  | 719.97 |  |  |  |  | 0 |  |  |  |  | 144 |  |  |  | 863.97
46. Stud wall - 2" x 4" - 16" oc |  |  |  | 1,083.58 SF |  | 0 |  |  | 2.6 |  |  |  |  | 0 |  |  |  |  | 563.46 |  |  |  | 3380.77
47. Eavestrough/downspout - aluminum - up to 5" |  |  |  | 12.00 LF |  | 0 |  |  | 8.52 |  |  |  |  | 0 |  |  |  |  | 20.44 |  |  |  | 122.68
48. Roof vent - turtle type - Metal |  |  |  | 2.58 EA |  | 0 |  |  | 67.32 |  |  |  |  | 0 |  |  |  |  | 34.74 |  |  |  | 208.43
49. Attic vent - gable end - vinyl |  |  |  | 1.00 EA |  | 0 |  |  | 148.94 |  |  |  |  | 0 |  |  |  |  | 29.78 |  |  |  | 178.72
50. Roofing felt - 15 lb. |  |  |  | 11.00 SQ |  | 0 |  |  | 35.93 |  |  |  |  | 0 |  |  |  |  | 79.04 |  |  |  | 474.27
51. Sheathing - foil faced foam - 1/2" |  |  |  | 812.69 SF |  | 0 |  |  | 1.43 |  |  |  |  | 0 |  |  |  |  | 232.44 |  |  |  | 1394.59
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
52. Sheathing - OSB - 1/2" |  |  |  | 270.90 SF |  | 0 |  |  | 1.61 |  |  |  |  | 0 |  |  |  |  | 87.24 |  |  |  | 523.39
53. Siding - vinyl |  |  |  | 1,083.58 SF |  | 0 |  |  | 5.32 |  |  |  |  | 0 |  |  |  |  | 1152.94 |  |  |  | 6917.59
54. Grounding rod - copper clad with clamp, 8' |  |  |  | 1.00 EA |  | 0 |  |  | 104.37 |  |  |  |  | 0 |  |  |  |  | 20.88 |  |  |  | 125.25
55. Breaker panel - 100 amp |  |  |  | 1.00 EA |  | 0 |  |  | 800.22 |  |  |  |  | 0 |  |  |  |  | 160.04 |  |  |  | 960.26
56. Meter mast for overhead power - 2" conduit |  |  |  | 1.00 EA |  | 0 |  |  | 492.8 |  |  |  |  | 0 |  |  |  |  | 98.56 |  |  |  | 591.36
57. Meter base and main disconnect - 100 to 125 amp |  |  |  | 1.00 EA |  | 0 |  |  | 401.37 |  |  |  |  | 0 |  |  |  |  | 80.28 |  |  |  | 481.65
58. Trunk cable - aluminum - 4 wire 2/0 |  |  |  | 40.00 LF |  | 0 |  |  | 10.36 |  |  |  |  | 0 |  |  |  |  | 82.88 |  |  |  | 497.28
59. Phone, TV, or speaker outlet |  |  |  | 4.00 EA |  | 0 |  |  | 17.77 |  |  |  |  | 0 |  |  |  |  | 14.22 |  |  |  | 85.3
60. Exterior outlet or switch |  |  |  | 2.00 EA |  | 0 |  |  | 20.75 |  |  |  |  | 0 |  |  |  |  | 8.3 |  |  |  | 49.8
61. Rewire\wire - avg. residence - boxes & wiring |  |  |  | 1,800.00 SF |  | 0 |  |  | 3.58 |  |  |  |  | 0 |  |  |  |  | 1288.8 |  |  |  | 7732.8
62. Phone / low voltage copper wiring |  |  |  | 40.00 LF |  | 0 |  |  | 0.99 |  |  |  |  | 0 |  |  |  |  | 7.92 |  |  |  | 47.52
63. Dumpster load - Approx. 30 yards, 5-7 tons of debris |  |  |  | 4.00 EA |  | 861 |  |  | 0 |  |  |  |  | 0 |  |  |  |  | 688.8 |  |  |  | 4132.8
64. Seal & paint wood shelving, 12"- 24" width |  |  |  | 3.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 2.66 |  |  |  | 15.98
65. Shelving - 16" - in place |  |  |  | 3.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 6.94 |  |  |  | 41.59
66. Closet rod |  |  |  | 3.00 LF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 2.86 |  |  |  | 17.11
67. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 86.00 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 16.86 |  |  |  | 101.14
68. 1/2" drywall - hung, taped, ready for texture |  |  |  | 86.00 SF |  | 0 |  |  | 2.35 |  |  |  |  | 0 |  |  |  |  | 40.42 |  |  |  | 242.52
69. Door knob - interior - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 40.14 |  |  |  |  | 0 |  |  |  |  | 8.02 |  |  |  | 48.16
70. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
71. Paint door/window trim & jamb - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 31.36 |  |  |  |  | 0 |  |  |  |  | 12.54 |  |  |  | 75.26
72. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
Totals: StructureLevelLineItems | [13 empty] | 0 |  |  |  |  | 14084.98 |  |  |  | 84509.35
Bath Formula 8' 3" x 5' 2" x 8'
214.67 SF Walls 257.29 SF Walls & Ceiling 4.74 SY Flooring 66.00 SF Long Wall 26.83 LF Ceil. Perimeter | [10 empty] | 42.63 SF Ceiling 42.63 SF Floor 26.83 LF Floor Perimeter 41.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
73. Towel ring - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 27.56 |  |  |  |  | 0 |  |  |  |  | 5.52 |  |  |  | 33.08
74. Toilet paper holder - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 24.93 |  |  |  |  | 0 |  |  |  |  | 4.98 |  |  |  | 29.91
75. Towel bar - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 25.92 |  |  |  |  | 0 |  |  |  |  | 5.18 |  |  |  | 31.1
76. Seal & paint wood shelving, 12"- 24" width |  |  |  | 10.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 8.88 |  |  |  | 53.28
77. Shelving - 16" - in place |  |  |  | 10.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 23.1 |  |  |  | 138.6
78. Outlet |  |  |  | 2.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
79. Mirror - 1/4" plate glass |  |  |  | 6.00 SF |  | 0 |  |  | 18.73 |  |  |  |  | 0 |  |  |  |  | 22.48 |  |  |  | 134.86
80. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.75 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
81. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.75 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
82. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.25 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
83. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.25 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
84. Toilet seat - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.43 |  |  |  |  | 0 |  |  |  |  | 7.88 |  |  |  | 47.31
85. Toilet - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 419.17 |  |  |  |  | 0 |  |  |  |  | 83.84 |  |  |  | 503.01
86. Bathtub - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 773 |  |  |  |  | 0 |  |  |  |  | 154.6 |  |  |  | 927.6
87. Shower curtain rod |  |  |  | 1.00 EA |  | 0 |  |  | 34.52 |  |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.42
88. Fibreglass tub surround only - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 357.65 |  |  |  |  | 0 |  |  |  |  | 71.54 |  |  |  | 429.19
89. Tub/shower faucet - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 259.22 |  |  |  |  | 0 |  |  |  |  | 51.84 |  |  |  | 311.06
90. Ductwork - flexible - non-insulated - 3" round |  |  |  | 10.00 LF |  | 0 |  |  | 6.57 |  |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.84
91. Bathroom ventilation fan - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 89.58 |  |  |  |  | 0 |  |  |  |  | 17.92 |  |  |  | 107.5
92. Light bar - 4 lights |  |  |  | 1.00 EA |  | 0 |  |  | 89.45 |  |  |  |  | 0 |  |  |  |  | 17.9 |  |  |  | 107.35
93. Door knob - interior - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 40.14 |  |  |  |  | 0 |  |  |  |  | 8.02 |  |  |  | 48.16
94. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
95. Interior door unit - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 292.48 |  |  |  |  | 0 |  |  |  |  | 58.5 |  |  |  | 350.98
96. Ground fault interrupter (GFI) outlet |  |  |  | 1.00 EA |  | 0 |  |  | 37 |  |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
97. Vanity - Standard grade |  |  |  | 3.00 LF |  | 0 |  |  | 149.4 |  |  |  |  | 0 |  |  |  |  | 89.64 |  |  |  | 537.84
98. 4" backsplash for flat laid countertop |  |  |  | 3.00 LF |  | 0 |  |  | 9.64 |  |  |  |  | 0 |  |  |  |  | 5.78 |  |  |  | 34.7
99. Countertop - flat laid plastic laminate - Standard grade |  |  |  | 3.00 LF |  | 0 |  |  | 37.37 |  |  |  |  | 0 |  |  |  |  | 22.42 |  |  |  | 134.53
100. Sink faucet - Bathroom - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 176.94 |  |  |  |  | 0 |  |  |  |  | 35.38 |  |  |  | 212.32
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
101. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.75 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
102. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 0.25 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
103. Sink - single - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 198.39 |  |  |  |  | 0 |  |  |  |  | 39.68 |  |  |  | 238.07
104. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 214.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 42.08 |  |  |  | 252.46
105. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 214.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 114.64 |  |  |  | 687.81
106. Paint baseboard - one coat |  |  |  | 13.42 LF |  | 0 |  |  | 0.91 |  |  |  |  | 0 |  |  |  |  | 2.44 |  |  |  | 14.65
107. Baseboard - 2 1/4" |  |  |  | 13.42 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 9.44 |  |  |  | 56.68
108. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 42.63 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 22.76 |  |  |  | 136.58
109. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 42.63 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 5.38 |  |  |  | 32.24
110. Paint the surface area - one coat |  |  |  | 42.63 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 5.88 |  |  |  | 35.29
111. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 9.80 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 7.9 |  |  |  | 47.39
112. Carpet pad - Standard grade |  |  |  | 39.22 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 5.26 |  |  |  | 31.54
113. Carpet - Economy grade |  |  |  | 39.22 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 25.26 |  |  |  | 151.55
Totals: Bath | [13 empty] | 0 |  |  |  |  | 1354.86 |  |  |  | 8128.95
Bath2 Formula 8' 3" x 5' 2" x 8'
214.67 SF Walls 257.29 SF Walls & Ceiling 4.74 SY Flooring 66.00 SF Long Wall 26.83 LF Ceil. Perimeter | [10 empty] | 42.63 SF Ceiling 42.63 SF Floor 26.83 LF Floor Perimeter 41.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
114. Towel ring - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 27.56 |  |  |  |  | 0 |  |  |  |  | 5.52 |  |  |  | 33.08
115. Toilet paper holder - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 24.93 |  |  |  |  | 0 |  |  |  |  | 4.98 |  |  |  | 29.91
116. Towel bar - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 25.92 |  |  |  |  | 0 |  |  |  |  | 5.18 |  |  |  | 31.1
117. Seal & paint wood shelving, 12"- 24" width |  |  |  | 10.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 8.88 |  |  |  | 53.28
118. Shelving - 16" - in place |  |  |  | 10.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 23.1 |  |  |  | 138.6
119. Outlet |  |  |  | 2.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
120. Mirror - 1/4" plate glass |  |  |  | 6.00 SF |  | 0 |  |  | 18.73 |  |  |  |  | 0 |  |  |  |  | 22.48 |  |  |  | 134.86
DESCRIPTION QTY REMOVE REPLACE | [12 empty] | TAX O&P | [8 empty] | TOTAL
121. Rough in plumbing - per fixture - 0.75 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
122. Rough in plumbing - per fixture - 0.75 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
123. Rough in plumbing - per fixture - 0.25 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
124. Rough in plumbing - per fixture - 0.25 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
125. Toilet seat - Standard grade 1.00 EA | [5 empty] | 0 |  |  | 39.43 |  |  |  |  | 0 |  |  |  |  | 7.88 |  |  |  | 47.31
126. Toilet - Standard grade 1.00 EA | [5 empty] | 0 |  |  | 419.17 |  |  |  |  | 0 |  |  |  |  | 83.84 |  |  |  | 503.01
127. Bathtub - Standard grade 1.00 EA | [5 empty] | 0 |  |  | 773 |  |  |  |  | 0 |  |  |  |  | 154.6 |  |  |  | 927.6
128. Shower curtain rod 1.00 EA | [5 empty] | 0 |  |  | 34.52 |  |  |  |  | 0 |  |  |  |  | 6.9 |  |  |  | 41.42
129. Fibreglass tub surround only - 1.00 EA Standard grade | [5 empty] | 0 |  |  | 357.65 |  |  |  |  | 0 |  |  |  |  | 71.54 |  |  |  | 429.19
130. Tub/shower faucet - Standard 1.00 EA grade | [5 empty] | 0 |  |  | 259.22 |  |  |  |  | 0 |  |  |  |  | 51.84 |  |  |  | 311.06
131. Ductwork - flexible - non- 10.00 LF insulated - 3" round | [5 empty] | 0 |  |  | 6.57 |  |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.84
132. Bathroom ventilation fan - 1.00 EA Standard grade | [5 empty] | 0 |  |  | 89.58 |  |  |  |  | 0 |  |  |  |  | 17.92 |  |  |  | 107.5
133. Light bar - 4 lights 1.00 EA | [5 empty] | 0 |  |  | 89.45 |  |  |  |  | 0 |  |  |  |  | 17.9 |  |  |  | 107.35
134. Door knob - interior - Standard 1.00 EA grade | [5 empty] | 0 |  |  | 40.14 |  |  |  |  | 0 |  |  |  |  | 8.02 |  |  |  | 48.16
135. Paint door slab only - 2 coats (per 2.00 EA side) | [5 empty] | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
136. Interior door unit - Standard 1.00 EA grade | [5 empty] | 0 |  |  | 292.48 |  |  |  |  | 0 |  |  |  |  | 58.5 |  |  |  | 350.98
137. Ground fault interrupter (GFI) 1.00 EA outlet | [5 empty] | 0 |  |  | 37 |  |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
138. Vanity - Standard grade 3.00 LF | [5 empty] | 0 |  |  | 149.4 |  |  |  |  | 0 |  |  |  |  | 89.64 |  |  |  | 537.84
139. 4" backsplash for flat laid 3.00 LF countertop | [5 empty] | 0 |  |  | 9.64 |  |  |  |  | 0 |  |  |  |  | 5.78 |  |  |  | 34.7
140. Countertop - flat laid plastic 3.00 LF laminate - Standard grade | [5 empty] | 0 |  |  | 37.37 |  |  |  |  | 0 |  |  |  |  | 22.42 |  |  |  | 134.53
141. Sink faucet - Bathroom - 1.00 EA Standard grade | [5 empty] | 0 |  |  | 176.94 |  |  |  |  | 0 |  |  |  |  | 35.38 |  |  |  | 212.32
142. Rough in plumbing - per fixture - 0.75 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 82.6 |  |  |  | 495.59
143. Rough in plumbing - per fixture - 0.25 EA w/PEX - Branch system | [5 empty] | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.2
144. Sink - single - Standard grade 1.00 EA | [5 empty] | 0 |  |  | 198.39 |  |  |  |  | 0 |  |  |  |  | 39.68 |  |  |  | 238.07
145. Seal/prime (1 coat) then paint (1 214.67 SF coat) the surface area | [5 empty] | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 42.08 |  |  |  | 252.46
146. 1/2" drywall - hung, taped, 214.67 SF floated, ready for paint | [5 empty] | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 114.64 |  |  |  | 687.81
147. Paint baseboard - one coat 13.42 LF | [5 empty] | 0 |  |  | 0.91 |  |  |  |  | 0 |  |  |  |  | 2.44 |  |  |  | 14.65
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
148. Baseboard - 2 1/4" |  |  |  | 13.42 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 9.44 |  |  |  | 56.68
149. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 42.63 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 22.76 |  |  |  | 136.58
150. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 42.63 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 5.38 |  |  |  | 32.24
151. Paint the surface area - one coat |  |  |  | 42.63 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 5.88 |  |  |  | 35.29
152. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 9.80 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 7.9 |  |  |  | 47.39
153. Carpet pad - Standard grade |  |  |  | 39.22 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 5.26 |  |  |  | 31.54
154. Carpet - Economy grade |  |  |  | 39.22 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 25.26 |  |  |  | 151.55
Totals: Bath2 | [13 empty] | 0 |  |  |  |  | 1354.86 |  |  |  | 8128.95
UtilityRoom Formula 7' 3" x 5' 2" x 8'
198.67 SF Walls 236.13 SF Walls & Ceiling 4.16 SY Flooring 58.00 SF Long Wall 24.83 LF Ceil. Perimeter | [10 empty] | 37.46 SF Ceiling 37.46 SF Floor 24.83 LF Floor Perimeter 41.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
155. Outlet |  |  |  | 6.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
156. Seal & paint wood shelving, 12"- 24" width |  |  |  | 11.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 9.76 |  |  |  | 58.6
157. Shelving - 16" - in place |  |  |  | 11.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 25.42 |  |  |  | 152.47
158. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
159. Door knob - interior |  |  |  | 1.00 EA |  | 0 |  |  | 47.96 |  |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
160. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
161. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
162. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 198.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 38.94 |  |  |  | 233.64
163. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 198.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 106.1 |  |  |  | 636.55
164. Baseboard - 2 1/4" |  |  |  | 24.83 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 17.48 |  |  |  | 104.88
165. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 37.46 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 20 |  |  |  | 120.02
166. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 37.46 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 4.72 |  |  |  | 28.32
167. Paint the surface area - one coat |  |  |  | 37.46 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 5.18 |  |  |  | 31.03
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
168. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 8.62 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 6.94 |  |  |  | 41.68
169. Carpet pad - Standard grade |  |  |  | 34.46 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 4.62 |  |  |  | 27.71
170. Carpet - Economy grade |  |  |  | 34.46 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 22.2 |  |  |  | 133.16
Totals: UtilityRoom | [13 empty] | 0 |  |  |  |  | 385.1 |  |  |  | 2310.39
Bedroom2 Formula 10' 4" x 10' 4" x 8'
330.67 SF Walls 437.44 SF Walls & Ceiling 11.86 SY Flooring 82.67 SF Long Wall 41.33 LF Ceil. Perimeter | [10 empty] | 106.78 SF Ceiling 106.78 SF Floor 41.33 LF Floor Perimeter 82.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
171. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
172. Seal & paint wood shelving, 12"- 24" width |  |  |  | 4.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 3.56 |  |  |  | 21.32
173. Shelving - 16" - in place |  |  |  | 4.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 9.24 |  |  |  | 55.44
174. Closet rod |  |  |  | 4.00 LF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 3.8 |  |  |  | 22.8
175. Outlet |  |  |  | 5.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.63
176. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
177. Door knob - interior |  |  |  | 1.00 EA |  | 0 |  |  | 47.96 |  |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
178. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 55.02 |  |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
179. Bifold door set - lauan/mahogany - Double |  |  |  | 1.00 EA |  | 0 |  |  | 376.12 |  |  |  |  | 0 |  |  |  |  | 75.22 |  |  |  | 451.34
180. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
181. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
182. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 330.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 64.82 |  |  |  | 388.88
183. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 330.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 176.58 |  |  |  | 1059.47
184. Baseboard - 2 1/4" |  |  |  | 41.33 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 29.1 |  |  |  | 174.58
185. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 106.78 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 57.02 |  |  |  | 342.12
186. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 106.78 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 13.46 |  |  |  | 80.73
187. Paint the surface area - one coat |  |  |  | 106.78 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 14.74 |  |  |  | 88.42
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
188. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 24.56 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 19.8 |  |  |  | 118.78
189. Carpet pad - Standard grade |  |  |  | 98.24 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 13.16 |  |  |  | 78.98
190. Carpet - Economy grade |  |  |  | 98.24 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 63.26 |  |  |  | 379.59
Totals: Bedroom2 | [13 empty] | 0 |  |  |  |  | 694.8 |  |  |  | 4168.55
Kitchen Formula 11' 5" x 10' 4" x 8'
348.00 SF Walls 465.97 SF Walls & Ceiling 13.11 SY Flooring 91.33 SF Long Wall 43.50 LF Ceil. Perimeter | [10 empty] | 117.97 SF Ceiling 117.97 SF Floor 43.50 LF Floor Perimeter 82.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
191. 220 volt outlet |  |  |  | 1.00 EA |  | 0 |  |  | 33.1 |  |  |  |  | 0 |  |  |  |  | 6.62 |  |  |  | 39.72
192. Ground fault interrupter (GFI) outlet |  |  |  | 2.00 EA |  | 0 |  |  | 37 |  |  |  |  | 0 |  |  |  |  | 14.8 |  |  |  | 88.8
193. Outlet |  |  |  | 4.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 10.62 |  |  |  | 63.7
194. Outlet |  |  |  | 2.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 5.3 |  |  |  | 31.84
195. Rough in plumbing - per fixture - w/PEX - Branch system |  |  |  | 1.00 EA |  | 0 |  |  | 550.65 |  |  |  |  | 0 |  |  |  |  | 110.14 |  |  |  | 660.79
196. Sink faucet - Kitchen - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 203.94 |  |  |  |  | 0 |  |  |  |  | 40.78 |  |  |  | 244.72
197. Sink - double basin - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 332.7 |  |  |  |  | 0 |  |  |  |  | 66.54 |  |  |  | 399.24
198. Fluorescent - two tube - 4' - strip light |  |  |  | 1.00 EA |  | 0 |  |  | 91.55 |  |  |  |  | 0 |  |  |  |  | 18.32 |  |  |  | 109.87
199. Appliance water line - 1/4" |  |  |  | 1.00 EA |  | 0 |  |  | 65.8 |  |  |  |  | 0 |  |  |  |  | 13.16 |  |  |  | 78.96
200. Cabinet knob or pull |  |  |  | 28.00 EA |  | 0 |  |  | 9.57 |  |  |  |  | 0 |  |  |  |  | 53.6 |  |  |  | 321.56
201. Cabinetry - laminate upper (wall) units - Standard grade |  |  |  | 14.00 LF |  | 0 |  |  | 100.9 |  |  |  |  | 0 |  |  |  |  | 282.52 |  |  |  | 1695.12
202. Cabinetry - laminate lower (base) units - Standard grade |  |  |  | 16.00 LF |  | 0 |  |  | 125.37 |  |  |  |  | 0 |  |  |  |  | 401.18 |  |  |  | 2407.1
203. Countertop - flat laid plastic laminate - Premium grade |  |  |  | 18.00 LF |  | 0 |  |  | 67.02 |  |  |  |  | 0 |  |  |  |  | 241.28 |  |  |  | 1447.64
204. 110 volt copper wiring run, box and outlet |  |  |  | 1.00 EA |  | 0 |  |  | 75.59 |  |  |  |  | 0 |  |  |  |  | 15.12 |  |  |  | 90.71
205. Range hood - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 159.74 |  |  |  |  | 0 |  |  |  |  | 31.94 |  |  |  | 191.68
206. Dishwasher - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 525.38 |  |  |  |  | 0 |  |  |  |  | 105.08 |  |  |  | 630.46
207. Range - freestanding - electric - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 723.78 |  |  |  |  | 0 |  |  |  |  | 144.76 |  |  |  | 868.54
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
208. Refrigerator - top freezer - 14 to 18 cf |  |  |  | 1.00 EA |  | 0 |  |  | 941.11 |  |  |  |  | 0 |  |  |  |  | 188.22 |  |  |  | 1129.33
209. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 348.00 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 68.2 |  |  |  | 409.24
210. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 348.00 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 185.84 |  |  |  | 1115
211. Paint baseboard - one coat |  |  |  | 21.75 LF |  | 0 |  |  | 0.91 |  |  |  |  | 0 |  |  |  |  | 3.96 |  |  |  | 23.75
212. Baseboard - 2 1/4" |  |  |  | 21.75 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 15.32 |  |  |  | 91.88
213. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 117.97 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 63 |  |  |  | 377.98
214. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 117.97 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 14.86 |  |  |  | 89.18
215. Paint the surface area - one coat |  |  |  | 117.97 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 16.28 |  |  |  | 97.68
216. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 27.13 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 21.86 |  |  |  | 131.19
217. Carpet pad - Standard grade |  |  |  | 108.53 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 14.54 |  |  |  | 87.26
218. Carpet - Economy grade |  |  |  | 108.53 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 69.9 |  |  |  | 419.37
Totals: Kitchen | [13 empty] | 0 |  |  |  |  | 2223.74 |  |  |  | 13342.31
Bedroom3 Formula 14' 6" x 12' 5" x 8'
430.67 SF Walls 610.71 SF Walls & Ceiling 20.00 SY Flooring 116.00 SF Long Wall 53.83 LF Ceil. Perimeter | [10 empty] | 180.04 SF Ceiling 180.04 SF Floor 53.83 LF Floor Perimeter 99.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
219. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
220. Seal & paint wood shelving, 12"- 24" width |  |  |  | 4.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 3.56 |  |  |  | 21.32
221. Shelving - 16" - in place |  |  |  | 4.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 9.24 |  |  |  | 55.44
222. Closet rod |  |  |  | 4.00 LF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 3.8 |  |  |  | 22.8
223. Outlet |  |  |  | 5.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.63
224. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
225. Door knob - interior |  |  |  | 1.00 EA |  | 0 |  |  | 47.96 |  |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
226. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 55.02 |  |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
227. Bifold door set - lauan/mahogany - Double |  |  |  | 1.00 EA |  | 0 |  |  | 376.12 |  |  |  |  | 0 |  |  |  |  | 75.22 |  |  |  | 451.34
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
228. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
229. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
230. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 430.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 84.42 |  |  |  | 506.48
231. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 430.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 229.98 |  |  |  | 1379.87
232. Baseboard - 2 1/4" |  |  |  | 53.83 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 37.9 |  |  |  | 227.38
233. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 180.04 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 96.14 |  |  |  | 576.85
234. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 180.04 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 22.68 |  |  |  | 136.11
235. Paint the surface area - one coat |  |  |  | 180.04 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 24.84 |  |  |  | 149.07
236. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 41.41 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 33.38 |  |  |  | 200.26
237. Carpet pad - Standard grade |  |  |  | 165.64 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 22.2 |  |  |  | 133.18
238. Carpet - Economy grade |  |  |  | 165.64 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 106.68 |  |  |  | 640.04
Totals: Bedroom3 | [13 empty] | 0 |  |  |  |  | 901.08 |  |  |  | 5406.24
Bedroom Formula 10' 4" x 10' 4" x 8'
330.67 SF Walls 437.44 SF Walls & Ceiling 11.86 SY Flooring 82.67 SF Long Wall 41.33 LF Ceil. Perimeter | [10 empty] | 106.78 SF Ceiling 106.78 SF Floor 41.33 LF Floor Perimeter 82.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
239. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
240. Seal & paint wood shelving, 12"- 24" width |  |  |  | 4.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 3.56 |  |  |  | 21.32
241. Shelving - 16" - in place |  |  |  | 4.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 9.24 |  |  |  | 55.44
242. Closet rod |  |  |  | 4.00 LF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 3.8 |  |  |  | 22.8
243. Outlet |  |  |  | 5.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.63
244. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
245. Door knob - interior |  |  |  | 1.00 EA |  | 0 |  |  | 47.96 |  |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
246. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 55.02 |  |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
247. Bifold door set - lauan/mahogany - Double |  |  |  | 1.00 EA |  | 0 |  |  | 376.12 |  |  |  |  | 0 |  |  |  |  | 75.22 |  |  |  | 451.34
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
248. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
249. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
250. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 330.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 64.82 |  |  |  | 388.88
251. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 330.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 176.58 |  |  |  | 1059.47
252. Baseboard - 2 1/4" |  |  |  | 41.33 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 29.1 |  |  |  | 174.58
253. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 106.78 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 57.02 |  |  |  | 342.12
254. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 106.78 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 13.46 |  |  |  | 80.73
255. Paint the surface area - one coat |  |  |  | 106.78 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 14.74 |  |  |  | 88.42
256. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 24.56 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 19.8 |  |  |  | 118.78
257. Carpet pad - Standard grade |  |  |  | 98.24 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 13.16 |  |  |  | 78.98
258. Carpet - Economy grade |  |  |  | 98.24 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 63.26 |  |  |  | 379.59
Totals: Bedroom | [13 empty] | 0 |  |  |  |  | 694.8 |  |  |  | 4168.55
Nook Formula 8' 3" x 6' 3" x 8'
232.00 SF Walls 283.56 SF Walls & Ceiling 5.73 SY Flooring 66.00 SF Long Wall 29.00 LF Ceil. Perimeter | [10 empty] | 51.56 SF Ceiling 51.56 SF Floor 29.00 LF Floor Perimeter 50.00 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
259. Outlet |  |  |  | 4.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 10.62 |  |  |  | 63.7
260. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
261. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 232.00 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 45.48 |  |  |  | 272.84
262. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 232.00 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 123.88 |  |  |  | 743.32
263. Baseboard - 2 1/4" |  |  |  | 29.00 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 20.42 |  |  |  | 122.5
264. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 51.56 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 27.54 |  |  |  | 165.21
265. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 51.56 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 6.5 |  |  |  | 38.98
266. Paint the surface area - one coat |  |  |  | 51.56 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 7.12 |  |  |  | 42.7
267. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 11.86 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 9.56 |  |  |  | 57.36
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
268. Carpet pad - Standard grade |  |  |  | 47.44 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 6.36 |  |  |  | 38.14
269. Carpet - Economy grade |  |  |  | 47.44 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 30.56 |  |  |  | 183.32
Totals: Nook | [13 empty] | 0 |  |  |  |  | 297.66 |  |  |  | 1785.75
Hallway2 Formula 10' 4" x 3' 1" x 8'
214.67 SF Walls 246.53 SF Walls & Ceiling 3.54 SY Flooring 82.67 SF Long Wall 26.83 LF Ceil. Perimeter | [10 empty] | 31.86 SF Ceiling 31.86 SF Floor 26.83 LF Floor Perimeter 24.67 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
270. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
271. Outlet |  |  |  | 1.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 2.66 |  |  |  | 15.93
272. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
273. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 214.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 42.08 |  |  |  | 252.46
274. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 214.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 114.64 |  |  |  | 687.81
275. Baseboard - 2 1/4" |  |  |  | 26.83 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 18.88 |  |  |  | 113.32
276. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 31.86 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 17.02 |  |  |  | 102.09
277. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 31.86 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 4.02 |  |  |  | 24.09
278. Paint the surface area - one coat |  |  |  | 31.86 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 4.4 |  |  |  | 26.38
279. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 7.33 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 5.9 |  |  |  | 35.44
280. Carpet pad - Standard grade |  |  |  | 29.31 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 3.92 |  |  |  | 23.56
281. Carpet - Economy grade |  |  |  | 29.31 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 18.88 |  |  |  | 113.26
Totals: Hallway2 | [13 empty] | 0 |  |  |  |  | 249.96 |  |  |  | 1499.66
Bedroom4 Formula 14' 6" x 12' 5" x 8'
430.67 SF Walls 610.71 SF Walls & Ceiling 20.00 SY Flooring 116.00 SF Long Wall 53.83 LF Ceil. Perimeter | [10 empty] | 180.04 SF Ceiling 180.04 SF Floor 53.83 LF Floor Perimeter 99.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
282. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
283. Seal & paint wood shelving, 12"- 24" width |  |  |  | 4.00 LF |  | 0 |  |  | 4.44 |  |  |  |  | 0 |  |  |  |  | 3.56 |  |  |  | 21.32
284. Shelving - 16" - in place |  |  |  | 4.00 LF |  | 0 |  |  | 11.55 |  |  |  |  | 0 |  |  |  |  | 9.24 |  |  |  | 55.44
285. Closet rod |  |  |  | 4.00 LF |  | 0 |  |  | 4.75 |  |  |  |  | 0 |  |  |  |  | 3.8 |  |  |  | 22.8
286. Outlet |  |  |  | 5.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 13.28 |  |  |  | 79.63
287. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
288. Door knob - interior |  |  |  | 1.00 EA |  | 0 |  |  | 47.96 |  |  |  |  | 0 |  |  |  |  | 9.6 |  |  |  | 57.56
289. Paint bifold door set - slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 55.02 |  |  |  |  | 0 |  |  |  |  | 22 |  |  |  | 132.04
290. Bifold door set - lauan/mahogany - Double |  |  |  | 1.00 EA |  | 0 |  |  | 376.12 |  |  |  |  | 0 |  |  |  |  | 75.22 |  |  |  | 451.34
291. Paint door slab only - 2 coats (per side) |  |  |  | 2.00 EA |  | 0 |  |  | 38.93 |  |  |  |  | 0 |  |  |  |  | 15.58 |  |  |  | 93.44
292. Interior door unit |  |  |  | 1.00 EA |  | 0 |  |  | 365.09 |  |  |  |  | 0 |  |  |  |  | 73.02 |  |  |  | 438.11
293. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 430.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 84.42 |  |  |  | 506.48
294. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 430.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 229.98 |  |  |  | 1379.87
295. Baseboard - 2 1/4" |  |  |  | 53.83 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 37.9 |  |  |  | 227.38
296. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 180.04 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 96.14 |  |  |  | 576.85
297. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 180.04 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 22.68 |  |  |  | 136.11
298. Paint the surface area - one coat |  |  |  | 180.04 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 24.84 |  |  |  | 149.07
299. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 41.41 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 33.38 |  |  |  | 200.26
300. Carpet pad - Standard grade |  |  |  | 165.64 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 22.2 |  |  |  | 133.18
301. Carpet - Economy grade |  |  |  | 165.64 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 106.68 |  |  |  | 640.04
Totals: Bedroom4 | [13 empty] | 0 |  |  |  |  | 901.08 |  |  |  | 5406.24
LivingRoom Formula 18' 8" x 12' 5" x 8'
497.33 SF Walls 729.11 SF Walls & Ceiling 25.75 SY Flooring 149.33 SF Long Wall 62.17 LF Ceil. Perimeter | [10 empty] | 231.78 SF Ceiling 231.78 SF Floor 62.17 LF Floor Perimeter 99.33 SF Short Wall
DESCRIPTION QTY REMOVE REPLACE TAX O&P TOTAL 302. Outlet 6.00 EA 0.00 13.27 0.00 15.92 95.54
| DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
| 303. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
| 304. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 497.33 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 97.48 |  |  |  | 584.86
| 305. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 497.33 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 265.58 |  |  |  | 1593.45
| 306. Baseboard - 2 1/4" |  |  |  | 62.17 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 43.76 |  |  |  | 262.6
| 307. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 231.78 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 123.78 |  |  |  | 742.63
| 308. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 231.78 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 29.2 |  |  |  | 175.22
| 309. Paint the surface area - one coat |  |  |  | 231.78 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 31.98 |  |  |  | 191.91
| 310. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 53.31 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 42.96 |  |  |  | 257.8
| 311. Carpet pad - Standard grade |  |  |  | 213.24 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 28.58 |  |  |  | 171.45
| 312. Carpet - Economy grade |  |  |  | 213.24 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 137.32 |  |  |  | 823.95
| Totals: LivingRoom | [13 empty] | 0 |  |  |  |  | 826.18 |  |  |  | 4957.09
Patio Formula 5' 8" x 5' 8" x 8'
181.33 SF Walls 213.44 SF Walls & Ceiling 3.57 SY Flooring 45.33 SF Long Wall 22.67 LF Ceil. Perimeter | [11 empty] | 32.11 SF Ceiling 32.11 SF Floor 22.67 LF Floor Perimeter 45.33 SF Short Wall
DESCRIPTION QTY REMOVE REPLACE TAX O&P TOTAL
313. Stain/finish deck handrail |  |  |  |  | 17.00 LF |  | 0 |  | 7.16 |  |  |  |  | 0 |  |  |  |  | 24.34 |  |  |  | 146.06
314. Deck guard rail - redwood |  |  |  |  | 17.00 LF |  | 0 |  | 54.09 |  |  |  |  | 0 |  |  |  |  | 183.9 |  |  |  | 1103.43
315. Outlet |  |  |  |  | 1.00 EA |  | 0 |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 2.66 |  |  |  | 15.93
316. Ground fault interrupter (GFI) outlet |  |  |  |  | 1.00 EA |  | 0 |  | 37 |  |  |  |  | 0 |  |  |  |  | 7.4 |  |  |  | 44.4
317. grade |  | Exterior light fixture - Standard |  |  | 1.00 EA |  | 0 |  | 65.65 |  |  |  |  | 0 |  |  |  |  | 13.14 |  |  |  | 78.79
318 |  | Soffit - metal |  |  | 32.11 SF |  | 0 |  | 7.08 |  |  |  |  | 0 |  |  |  |  | 45.46 |  |  |  | 272.8
319 |  | Sheathing - plywood - 1/2" CDX |  |  | 83.00 SF |  | 0 |  | 2.41 |  |  |  |  | 0 |  |  |  |  | 40 |  |  |  | 240.03
320 |  | 2" x 4" lumber (.667 BF per LF) |  |  | 23.28 LF |  | 0 |  | 2.58 |  |  |  |  | 0 |  |  |  |  | 12.02 |  |  |  | 72.08
321 |  | 2" x 6" lumber (1 BF per LF) |  |  | 11.33 LF |  | 0 |  | 3.04 |  |  |  |  | 0 |  |  |  |  | 6.88 |  |  |  | 41.32
322 |  | Truss - 4/12 slope |  |  | 22.67 LF |  | 0 |  | 9.03 |  |  |  |  | 0 |  |  |  |  | 40.94 |  |  |  | 245.65
323 |  | 3 tab - 25 yr. - composition |  |  | 1.00 SQ |  | 0 |  | 265.87 |  |  |  |  | 0 |  |  |  |  | 53.18 |  |  |  | 319.05
shingle roofing - incl. felt
CONTINUED - Patio
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
324. 6" x 6" square wood post (3 BF per LF) |  |  |  | 17.00 LF |  | 0 |  |  | 9.67 |  |  |  |  | 0 |  |  |  |  | 32.88 |  |  |  | 197.27
325. Framing hurricane tie |  |  |  | 4.00 EA |  | 0 |  |  | 8.08 |  |  |  |  | 0 |  |  |  |  | 6.46 |  |  |  | 38.78
Totals: Patio | [13 empty] | 0 |  |  |  |  | 469.26 |  |  |  | 2815.59
Hallway Formula 15' 6" x 4' 2" x 8'
314.67 SF Walls 379.25 SF Walls & Ceiling 7.18 SY Flooring 124.00 SF Long Wall 39.33 LF Ceil. Perimeter | [10 empty] | 64.58 SF Ceiling 64.58 SF Floor 39.33 LF Floor Perimeter 33.33 SF Short Wall
DESCRIPTION |  |  |  | QTY |  | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
326. Smoke detector - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 39.7 |  |  |  |  | 0 |  |  |  |  | 7.94 |  |  |  | 47.64
327. Outlet |  |  |  | 1.00 EA |  | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 2.66 |  |  |  | 15.93
328. Light fixture - Standard grade |  |  |  | 1.00 EA |  | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
329. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  | 314.67 SF |  | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 61.68 |  |  |  | 370.06
330. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 314.67 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 168.04 |  |  |  | 1008.21
331. Baseboard - 2 1/4" |  |  |  | 39.33 LF |  | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 27.68 |  |  |  | 166.12
332. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  | 64.58 SF |  | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 34.48 |  |  |  | 206.91
333. Seal the surface area w/latex based stain blocker - one coat |  |  |  | 64.58 SF |  | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 8.14 |  |  |  | 48.83
334. Paint the surface area - one coat |  |  |  | 64.58 SF |  | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 8.92 |  |  |  | 53.48
335. Vinyl floor covering (sheet goods) - Economy grade |  |  |  | 14.85 SF |  | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 11.98 |  |  |  | 71.83
336. Carpet pad - Standard grade |  |  |  | 59.42 SF |  | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 7.96 |  |  |  | 47.77
337. Carpet - Economy grade |  |  |  | 59.42 SF |  | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 38.26 |  |  |  | 229.59
Totals: Hallway | [13 empty] | 0 |  |  |  |  | 387.36 |  |  |  | 2324.05
LivingRoom2 Formula 18' 8" x 12' 5" x 8'
497.33 SF Walls 729.11 SF Walls & Ceiling 25.75 SY Flooring 149.33 SF Long Wall 62.17 LF Ceil. Perimeter | [10 empty] | 231.78 SF Ceiling 231.78 SF Floor 62.17 LF Floor Perimeter 99.33 SF Short Wall
DESCRIPTION |  |  |  |  | QTY | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
338. Outlet |  |  |  |  | 6.00 EA | 0 |  |  | 13.27 |  |  |  |  | 0 |  |  |  |  | 15.92 |  |  |  | 95.54
339. Light fixture - Standard grade |  |  |  |  | 1.00 EA | 0 |  |  | 48.06 |  |  |  |  | 0 |  |  |  |  | 9.62 |  |  |  | 57.68
340. Seal/prime (1 coat) then paint (1 coat) the surface area |  |  |  |  | 497.33 SF | 0 |  |  | 0.98 |  |  |  |  | 0 |  |  |  |  | 97.48 |  |  |  | 584.86
341. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  |  | 497.33 SF | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 265.58 |  |  |  | 1593.45
342. Baseboard - 2 1/4" |  |  |  |  | 62.17 LF | 0 |  |  | 3.52 |  |  |  |  | 0 |  |  |  |  | 43.76 |  |  |  | 262.6
343. 1/2" drywall - hung, taped, floated, ready for paint |  |  |  |  | 231.78 SF | 0 |  |  | 2.67 |  |  |  |  | 0 |  |  |  |  | 123.78 |  |  |  | 742.63
344. Seal the surface area w/latex based stain blocker - one coat |  |  |  |  | 231.78 SF | 0 |  |  | 0.63 |  |  |  |  | 0 |  |  |  |  | 29.2 |  |  |  | 175.22
345. Paint the surface area - one coat |  |  |  |  | 231.78 SF | 0 |  |  | 0.69 |  |  |  |  | 0 |  |  |  |  | 31.98 |  |  |  | 191.91
346. Vinyl floor covering (sheet goods) - Economy grade |  |  |  |  | 53.31 SF | 0 |  |  | 4.03 |  |  |  |  | 0 |  |  |  |  | 42.96 |  |  |  | 257.8
347. Carpet pad - Standard grade |  |  |  |  | 213.24 SF | 0 |  |  | 0.67 |  |  |  |  | 0 |  |  |  |  | 28.58 |  |  |  | 171.45
348. Carpet - Economy grade |  |  |  |  | 213.24 SF | 0 |  |  | 3.22 |  |  |  |  | 0 |  |  |  |  | 137.32 |  |  |  | 823.95
Totals: LivingRoom2 | [13 empty] | 0 |  |  |  |  | 826.18 |  |  |  | 4957.09
Labor Minimums Applied
DESCRIPTION |  |  |  |  | QTY | REMOVE |  |  | REPLACE |  |  |  |  | TAX |  |  |  |  | O&P |  |  |  | TOTAL
349. Mirror/shower door labour minimum |  |  |  |  | 1.00 EA | 0 |  |  | 111.12 |  |  |  |  | 0 |  |  |  |  | 22.22 |  |  |  | 133.34
350. General labour - labour minimum |  |  |  |  | 1.00 EA | 0 |  |  | 44.68 |  |  |  |  | 0 |  |  |  |  | 8.94 |  |  |  | 53.62
351. Door labour minimum |  |  |  |  | 1.00 EA | 0 |  |  | 9.98 |  |  |  |  | 0 |  |  |  |  | 2 |  |  |  | 11.98
352. Eavestrough labour minimum |  |  |  |  | 1.00 EA | 0 |  |  | 310.3 |  |  |  |  | 0 |  |  |  |  | 62.06 |  |  |  | 372.36
Totals: Labor Minimums Applied | [13 empty] | 0 |  |  |  |  | 95.22 |  |  |  | 571.3
Line Item Totals: R_1-S-BD-EC_NBFR | [13 empty] | 0 |  |  |  |  | 25747.12 |  |  |  | 154480.06
Grand Total Areas:
4436 |  |  | SF Walls |  | 1457.99 |  |  | SF Ceiling | [5 empty] | 5893.99 |  |  |  | SF Walls and Ceiling
1457.99 |  |  | SF Floor |  | 162 |  |  | SY Flooring | [5 empty] | 554.5 |  |  |  | LF Floor Perimeter
1295.33 |  |  | SF Long Wall |  | 922.67 |  |  | SF Short Wall | [5 empty] | 554.5 |  |  |  | LF Ceil. Perimeter
0 |  |  | Floor Area |  | 0 |  |  | Total Area | [5 empty] | 0 |  |  |  | Interior Wall Area
0 |  |  | Exterior Wall Area |  | 0 |  |  | Exterior Perimeter of Walls
0 |  |  | Surface Area |  | 0 |  |  | Number of Squares | [5 empty] | 0 |  |  |  | Total Perimeter Length
0 |  |  | Total Ridge Length |  | 0 |  |  | Total Hip Length
Summary
Line Item Total | [20 empty] | 128732.94
Overhead | [20 empty] | 12873.56
Profit | [20 empty] | 12873.56
Replacement Cost Value | [20 empty] | 154480.06
Net Claim | [20 empty] | 154480.06
DS
Recap of Taxes, Overhead and Profit
[6 empty] | Overhead (10%) | [7 empty] | Profit (10%)
Line Items | [5 empty] | 12873.56 | [7 empty] | 12873.56
Total | [5 empty] | 12873.56 | [7 empty] | 12873.56
Recap by Room
Estimate: R_1-S-BD-EC_NBFR
StructureLevelLineItems | [16 empty] | 70424.37 | [5 empty] | 54.71%
Bath | [16 empty] | 6774.09 | [5 empty] | 5.26%
Bath2 | [16 empty] | 6774.09 | [5 empty] | 5.26%
UtilityRoom | [16 empty] | 1925.29 | [5 empty] | 1.5%
Bedroom2 | [16 empty] | 3473.75 | [5 empty] | 2.7%
Kitchen | [16 empty] | 11118.57 | [5 empty] | 8.64%
Bedroom3 | [16 empty] | 4505.16 | [5 empty] | 3.5%
Bedroom | [16 empty] | 3473.75 | [5 empty] | 2.7%
Nook | [16 empty] | 1488.09 | [5 empty] | 1.16%
Hallway2 | [16 empty] | 1249.7 | [5 empty] | 0.97%
Bedroom4 | [16 empty] | 4505.16 | [5 empty] | 3.5%
LivingRoom | [16 empty] | 4130.91 | [5 empty] | 3.21%
Patio | [16 empty] | 2346.33 | [5 empty] | 1.82%
Hallway | [16 empty] | 1936.69 | [5 empty] | 1.5%
LivingRoom2 | [16 empty] | 4130.91 | [5 empty] | 3.21%
Labor Minimums Applied | [16 empty] | 476.08 | [5 empty] | 0.37%
Subtotal of Areas | [16 empty] | 128732.94 | [5 empty] | 100%
Total | [16 empty] | 128732.94 | [5 empty] | 100%
O&P Items | [5 empty] | Recap by Category | [9 empty] | Total | [5 empty] | %
APPLIANCES | [15 empty] | 2415.81 | [5 empty] | 1.56%
CABINETRY | [15 empty] | 6071.3 | [5 empty] | 3.93%
GENERAL DEMOLITION | [15 empty] | 3444 | [5 empty] | 2.23%
DOORS | [15 empty] | 5416.51 | [5 empty] | 3.51%
DRYWALL | [15 empty] | 15571.36 | [5 empty] | 10.08%
ELECTRICAL | [15 empty] | 10110.78 | [5 empty] | 6.55%
FLOOR COVERING - CARPET | [15 empty] | 5103.06 | [5 empty] | 3.3%
FLOOR COVERING - VINYL | [15 empty] | 1321.64 | [5 empty] | 0.86%
FINISH CARPENTRY / TRIMWORK | [15 empty] | 2894.47 | [5 empty] | 1.87%
FINISH HARDWARE | [15 empty] | 836.24 | [5 empty] | 0.54%
FRAMING & ROUGH CARPENTRY | [15 empty] | 24285.19 | [5 empty] | 15.72%
HEAT, VENT & AIR CONDITIONING | [15 empty] | 7124.35 | [5 empty] | 4.61%
INSULATION | [15 empty] | 6904.88 | [5 empty] | 4.47%
LABOUR ONLY | [15 empty] | 44.68 | [5 empty] | 0.03%
LIGHT FIXTURES | [15 empty] | 1046.26 | [5 empty] | 0.68%
MIRRORS & SHOWER DOORS | [15 empty] | 335.88 | [5 empty] | 0.22%
PLUMBING | [15 empty] | 10515.89 | [5 empty] | 6.81%
PAINTING | [15 empty] | 8067.89 | [5 empty] | 5.22%
ROOFING | [15 empty] | 4690.94 | [5 empty] | 3.04%
SIDING | [15 empty] | 5913.59 | [5 empty] | 3.83%
SOFFIT, FASCIA, & EAVESTROUGH | [15 empty] | 639.88 | [5 empty] | 0.41%
STAIRS | [15 empty] | 722.96 | [5 empty] | 0.47%
WINDOWS - SLIDING PATIO DOORS | [15 empty] | 719.97 | [5 empty] | 0.47%
WINDOWS - VINYL | [15 empty] | 4535.41 | [5 empty] | 2.94%
O&P Items Subtotal | [15 empty] | 128732.94 | [5 empty] | 83.33%
Overhead | [15 empty] | 12873.56 | [5 empty] | 8.33%
Profit | [15 empty] | 12873.56 | [5 empty] | 8.33%
Total | [15 empty] | 154480.06 | [5 empty] | 100%