## Book1
Excluded | # | Group Code | Group Description | Desc | Age | Condition | Qty | Item Amount | Unit | Reported Cost | Unit Cost | Coverage | Sales Tax | RCV | Life | Depreciation Type | Depreciation Amount | Recoverable | ACV | Tax | Replace | Cat | Sel | Owner | Original Vendor | Date
FALSE | 1 | STRUCTURELEV | StructureLevelLineItems | Seal & paint window sill | 0 | Average | 28 | 70 | LF | 0 | 2.5 |  | 0 | 84 | 15 | Percent | 0 | Yes | 84 | Yes | No | PNT | SILL | DAVID.SO |  | 2023-07-17
FALSE | 2 | STRUCTURELEV | StructureLevelLineItems | Window sill | 0 | Average | 28 | 93.24 | LF | 0 | 3.33 |  | 0 | 111.88 | 150 | Percent | 0 | Yes | 111.88 | Yes | No | FNC | SILL | DAVID.SO |  | 2023-07-17
FALSE | 3 | STRUCTURELEV | StructureLevelLineItems | Vinyl window, horizontal sliding, 12-23 sf | 0 | Average | 7 | 2886.17 | EA | 0 | 412.31 |  | 0 | 3463.41 | 30 | Percent | 0 | Yes | 3463.41 | Yes | No | WDV | HS | DAVID.SO |  | 2023-07-17
FALSE | 4 | STRUCTURELEV | StructureLevelLineItems | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 5 | STRUCTURELEV | StructureLevelLineItems | Fluorescent - one tube - 4' - fixture w/lens | 0 | Average | 1 | 98.26 | EA | 0 | 98.26 |  | 0 | 117.92 | 20 | Percent | 0 | Yes | 117.92 | Yes | No | LIT | FL1-4+ | DAVID.SO |  | 2023-07-17
FALSE | 6 | STRUCTURELEV | StructureLevelLineItems | Clothes dryer vent - installed | 0 | Average | 1 | 75.02 | EA | 0 | 75.02 |  | 0 | 90.02 | 30 | Percent | 0 | Yes | 90.02 | Yes | No | HVC | DVENT | DAVID.SO |  | 2023-07-17
FALSE | 7 | STRUCTURELEV | StructureLevelLineItems | Truss - 4/12 slope - heavy loading | 0 | Average | 495.14 | 4723.64 | LF | 0 | 9.54 |  | 0 | 5668.36 | 150 | Percent | 0 | Yes | 5668.36 | Yes | No | FRM | TR4+ | DAVID.SO |  | 2023-07-17
FALSE | 8 | STRUCTURELEV | StructureLevelLineItems | 2" x 4" lumber (.667 BF per LF) | 0 | Average | 123.2 | 317.86 | LF | 0 | 2.58 |  | 0 | 381.44 | 150 | Percent | 0 | Yes | 381.44 | Yes | No | FRM | 2X4 | DAVID.SO |  | 2023-07-17
FALSE | 9 | STRUCTURELEV | StructureLevelLineItems | 2" x 6" lumber (1 BF per LF) | 0 | Average | 61.8 | 187.87 | LF | 0 | 3.04 |  | 0 | 225.45 | 150 | Percent | 0 | Yes | 225.45 | Yes | No | FRM | 2X6 | DAVID.SO |  | 2023-07-17
FALSE | 10 | STRUCTURELEV | StructureLevelLineItems | Framing hurricane tie | 0 | Average | 17 | 137.36 | EA | 0 | 8.08 |  | 0 | 164.84 | 150 | Percent | 0 | Yes | 164.84 | Yes | No | FRM | FRHT | DAVID.SO |  | 2023-07-17
FALSE | 11 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 1/2" | 0 | Average | 1207 | 1943.27 | SF | 0 | 1.61 |  | 0 | 2331.93 | 150 | Percent | 0 | Yes | 2331.93 | Yes | No | FRM | SHW1/2 | DAVID.SO |  | 2023-07-17
FALSE | 12 | STRUCTURELEV | StructureLevelLineItems | 3 tab - 25 yr. - composition shingle roofing - incl. felt | 0 | Average | 13 | 3456.31 | SQ | 0 | 265.87 |  | 0 | 4147.57 | 25 | Percent | 0 | Yes | 4147.57 | Yes | No | RFG | 240 | DAVID.SO |  | 2023-07-17
FALSE | 13 | STRUCTURELEV | StructureLevelLineItems | Drip edge | 0 | Average | 136 | 399.84 | LF | 0 | 2.94 |  | 0 | 479.8 | 35 | Percent | 0 | Yes | 479.8 | Yes | No | RFG | DRIP | DAVID.SO |  | 2023-07-17
FALSE | 14 | STRUCTURELEV | StructureLevelLineItems | Flexible gas supply line connector - 1/2" - 25" to 48" | 0 | Average | 1 | 51.06 | EA | 0 | 51.06 |  | 0 | 61.28 | 36 | Percent | 0 | Yes | 61.28 | Yes | No | PLM | FT1/2C4 | DAVID.SO |  | 2023-07-17
FALSE | 15 | STRUCTURELEV | StructureLevelLineItems | Water heater - 40 gallon - Gas - 6 yr | 0 | Average | 1 | 1250.14 | EA | 0 | 1250.14 |  | 0 | 1500.16 | 6 | Percent | 0 | Yes | 1500.16 | Yes | No | PLM | WH40 | DAVID.SO |  | 2023-07-17
FALSE | 16 | STRUCTURELEV | StructureLevelLineItems | Black pipe with fitting and hanger, 1" | 0 | Average | 19.01 | 254.54 | LF | 0 | 13.39 |  | 0 | 305.44 | 50 | Percent | 0 | Yes | 305.44 | Yes | No | PLM | BP1 | DAVID.SO |  | 2023-07-17
FALSE | 17 | STRUCTURELEV | StructureLevelLineItems | Furnace vent - rain cap and storm collar, 5" | 0 | Average | 1 | 73.08 | EA | 0 | 73.08 |  | 0 | 87.7 | 25 | Percent | 0 | Yes | 87.7 | Yes | No | HVC | VENTCP5 | DAVID.SO |  | 2023-07-17
FALSE | 18 | STRUCTURELEV | StructureLevelLineItems | Furnace vent - double wall, 5" | 0 | Average | 9 | 268.2 | LF | 0 | 29.8 |  | 0 | 321.84 | 25 | Percent | 0 | Yes | 321.84 | Yes | No | HVC | VENT5+ | DAVID.SO |  | 2023-07-17
FALSE | 19 | STRUCTURELEV | StructureLevelLineItems | Exterior faucet / hose bibb | 0 | Average | 2 | 121.36 | EA | 0 | 60.68 |  | 0 | 145.64 | 20 | Percent | 0 | Yes | 145.64 | Yes | No | PLM | XFAU | DAVID.SO |  | 2023-07-17
FALSE | 20 | STRUCTURELEV | StructureLevelLineItems | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 15 | 66.6 | LF | 0 | 4.44 |  | 0 | 79.92 | 15 | Percent | 0 | Yes | 79.92 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 21 | STRUCTURELEV | StructureLevelLineItems | Shelving - 16" - in place | 0 | Average | 15 | 173.25 | LF | 0 | 11.55 |  | 0 | 207.91 | 150 | Percent | 0 | Yes | 207.91 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 22 | STRUCTURELEV | StructureLevelLineItems | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 86 | 84.28 | SF | 0 | 0.98 |  | 0 | 101.14 | 15 | Percent | 0 | Yes | 101.14 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 23 | STRUCTURELEV | StructureLevelLineItems | 1/2" drywall - hung, taped, ready for texture | 0 | Average | 86 | 202.1 | SF | 0 | 2.35 |  | 0 | 242.52 | 150 | Percent | 0 | Yes | 242.52 | Yes | No | DRY | 1/2- | DAVID.SO |  | 2023-07-17
FALSE | 24 | STRUCTURELEV | StructureLevelLineItems | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 25 | STRUCTURELEV | StructureLevelLineItems | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 26 | STRUCTURELEV | StructureLevelLineItems | Paint door/window trim & jamb - 2 coats (per side) | 0 | Average | 2 | 62.72 | EA | 0 | 31.36 |  | 0 | 75.26 | 15 | Percent | 0 | Yes | 75.26 | Yes | No | PNT | DORT | DAVID.SO |  | 2023-07-17
FALSE | 27 | STRUCTURELEV | StructureLevelLineItems | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 28 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 6" - 24" oc | 0 | Average | 160 | 550.4 | SF | 0 | 3.44 |  | 0 | 660.48 | 150 | Percent | 0 | Yes | 660.48 | Yes | No | FRM | 6SF> | DAVID.SO |  | 2023-07-17
FALSE | 29 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 4" - 24" oc | 0 | Average | 546.87 | 1230.46 | SF | 0 | 2.25 |  | 0 | 1476.56 | 150 | Percent | 0 | Yes | 1476.56 | Yes | No | FRM | 4SF> | DAVID.SO |  | 2023-07-17
FALSE | 30 | STRUCTURELEV | StructureLevelLineItems | Batt insulation - 6" - R19 - paper / foil faced | 0 | Average | 1083.58 | 1657.88 | SF | 0 | 1.53 |  | 0 | 1989.46 | 150 | Percent | 0 | Yes | 1989.46 | Yes | No | INS | BTF6 | DAVID.SO |  | 2023-07-17
FALSE | 31 | STRUCTURELEV | StructureLevelLineItems | Batt insulation - 10" - R30 - paper / foil faced | 0 | Average | 900 | 2340 | SF | 0 | 2.6 |  | 0 | 2808 | 150 | Percent | 0 | Yes | 2808 | Yes | No | INS | BTF10 | DAVID.SO |  | 2023-07-17
FALSE | 32 | STRUCTURELEV | StructureLevelLineItems | Blown-in insulation - 20" depth - R50 | 0 | Average | 900 | 2907 | SF | 0 | 3.23 |  | 0 | 3488.4 | 150 | Percent | 0 | Yes | 3488.4 | Yes | No | INS | BI20 | DAVID.SO |  | 2023-07-17
FALSE | 33 | STRUCTURELEV | StructureLevelLineItems | Thermostat - Standard grade | 0 | Average | 1 | 90.1 | EA | 0 | 90.1 |  | 0 | 108.12 | 35 | Percent | 0 | Yes | 108.12 | Yes | No | HVC | TS- | DAVID.SO |  | 2023-07-17
FALSE | 34 | STRUCTURELEV | StructureLevelLineItems | Furnace - forced air - 60 - 75,000 BTU | 0 | Average | 1 | 2887.57 | EA | 0 | 2887.57 |  | 0 | 3465.09 | 18 | Percent | 0 | Yes | 3465.09 | Yes | No | HVC | FRFA< | DAVID.SO |  | 2023-07-17
FALSE | 35 | STRUCTURELEV | StructureLevelLineItems | Ductwork system - hot or cold air - up to 900 SF home | 0 | Average | 1 | 3419.82 | EA | 0 | 3419.82 |  | 0 | 4103.78 | 30 | Percent | 0 | Yes | 4103.78 | Yes | No | HVC | DCT<< | DAVID.SO |  | 2023-07-17
FALSE | 36 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 3/4" - tongue and groove | 0 | Average | 990 | 2900.7 | SF | 0 | 2.93 |  | 0 | 3480.84 | 150 | Percent | 0 | Yes | 3480.84 | Yes | No | FRM | SHW3/4T | DAVID.SO |  | 2023-07-17
FALSE | 37 | STRUCTURELEV | StructureLevelLineItems | Joist - floor or ceiling - 2x10 - w/blocking - 16" oc | 0 | Average | 900 | 4275 | SF | 0 | 4.75 |  | 0 | 5130 | 150 | Percent | 0 | Yes | 5130 | Yes | No | FRM | J10SF | DAVID.SO |  | 2023-07-17
FALSE | 38 | STRUCTURELEV | StructureLevelLineItems | 2" x 6" lumber - redwood (1 BF per LF) | 0 | Average | 120.4 | 704.34 | LF | 0 | 5.85 |  | 0 | 845.2 | 150 | Percent | 0 | Yes | 845.2 | Yes | No | FRM | 2X6R | DAVID.SO |  | 2023-07-17
FALSE | 39 | STRUCTURELEV | StructureLevelLineItems | Exterior light fixture - Standard grade | 0 | Average | 2 | 131.3 | EA | 0 | 65.65 |  | 0 | 157.56 | 20 | Percent | 0 | Yes | 157.56 | Yes | No | LIT | X- | DAVID.SO |  | 2023-07-17
FALSE | 40 | STRUCTURELEV | StructureLevelLineItems | Door lockset & deadbolt - exterior | 0 | Average | 2 | 210.02 | EA | 0 | 105.01 |  | 0 | 252.02 | 20 | Percent | 0 | Yes | 252.02 | Yes | No | FNH | DBX | DAVID.SO |  | 2023-07-17
FALSE | 41 | STRUCTURELEV | StructureLevelLineItems | Exterior door - solid core lauan / mahogany or birch flush | 0 | Average | 2 | 761.46 | EA | 0 | 380.73 |  | 0 | 913.76 | 100 | Percent | 0 | Yes | 913.76 | Yes | No | DOR | X- | DAVID.SO |  | 2023-07-17
FALSE | 42 | STRUCTURELEV | StructureLevelLineItems | 6-0 6-8 mill finish sliding patio door | 0 | Average | 1 | 719.97 | EA | 0 | 719.97 |  | 0 | 863.97 | 18 | Percent | 0 | Yes | 863.97 | Yes | No | WDP | 6M | DAVID.SO |  | 2023-07-17
FALSE | 43 | STRUCTURELEV | StructureLevelLineItems | Stud wall - 2" x 4" - 16" oc | 0 | Average | 1083.58 | 2817.31 | SF | 0 | 2.6 |  | 0 | 3380.77 | 150 | Percent | 0 | Yes | 3380.77 | Yes | No | FRM | 4SF | DAVID.SO |  | 2023-07-17
FALSE | 44 | STRUCTURELEV | StructureLevelLineItems | Eavestrough/downspout - aluminum - up to 5" | 0 | Average | 12 | 102.24 | LF | 0 | 8.52 |  | 0 | 122.68 | 25 | Percent | 0 | Yes | 122.68 | Yes | No | SFG | GUTA | DAVID.SO |  | 2023-07-17
FALSE | 45 | STRUCTURELEV | StructureLevelLineItems | Roof vent - turtle type - Metal | 0 | Average | 2.58 | 173.69 | EA | 0 | 67.32 |  | 0 | 208.43 | 35 | Percent | 0 | Yes | 208.43 | Yes | No | RFG | VENTT | DAVID.SO |  | 2023-07-17
FALSE | 46 | STRUCTURELEV | StructureLevelLineItems | Attic vent - gable end - vinyl | 0 | Average | 1 | 148.94 | EA | 0 | 148.94 |  | 0 | 178.72 | 27 | Percent | 0 | Yes | 178.72 | Yes | No | SDG | VENTG | DAVID.SO |  | 2023-07-17
FALSE | 47 | STRUCTURELEV | StructureLevelLineItems | Roofing felt - 15 lb. | 0 | Average | 11 | 395.23 | SQ | 0 | 35.93 |  | 0 | 474.27 | 20 | Percent | 0 | Yes | 474.27 | Yes | No | RFG | FELT15 | DAVID.SO |  | 2023-07-17
FALSE | 48 | STRUCTURELEV | StructureLevelLineItems | Sheathing - foil faced foam - 1/2" | 0 | Average | 812.69 | 1162.15 | SF | 0 | 1.43 |  | 0 | 1394.59 | 150 | Percent | 0 | Yes | 1394.59 | Yes | No | FRM | SHF1/2 | DAVID.SO |  | 2023-07-17
FALSE | 49 | STRUCTURELEV | StructureLevelLineItems | Sheathing - OSB - 1/2" | 0 | Average | 270.9 | 436.15 | SF | 0 | 1.61 |  | 0 | 523.39 | 150 | Percent | 0 | Yes | 523.39 | Yes | No | FRM | SHW1/2 | DAVID.SO |  | 2023-07-17
FALSE | 50 | STRUCTURELEV | StructureLevelLineItems | Siding - vinyl | 0 | Average | 1083.58 | 5764.65 | SF | 0 | 5.32 |  | 0 | 6917.59 | 50 | Percent | 0 | Yes | 6917.59 | Yes | No | SDG | VINYL | DAVID.SO |  | 2023-07-17
FALSE | 51 | STRUCTURELEV | StructureLevelLineItems | Grounding rod - copper clad with clamp, 8' | 0 | Average | 1 | 104.37 | EA | 0 | 104.37 |  | 0 | 125.25 | 100 | Percent | 0 | Yes | 125.25 | Yes | No | ELE | GROD | DAVID.SO |  | 2023-07-17
FALSE | 52 | STRUCTURELEV | StructureLevelLineItems | Breaker panel - 100 amp | 0 | Average | 1 | 800.22 | EA | 0 | 800.22 |  | 0 | 960.26 | 30 | Percent | 0 | Yes | 960.26 | Yes | No | ELE | BPNL100 | DAVID.SO |  | 2023-07-17
FALSE | 53 | STRUCTURELEV | StructureLevelLineItems | Meter mast for overhead power - 2" conduit | 0 | Average | 1 | 492.8 | EA | 0 | 492.8 |  | 0 | 591.36 | 100 | Percent | 0 | Yes | 591.36 | Yes | No | ELE | MAST | DAVID.SO |  | 2023-07-17
FALSE | 54 | STRUCTURELEV | StructureLevelLineItems | Meter base and main disconnect - 100 to 125 amp | 0 | Average | 1 | 401.37 | EA | 0 | 401.37 |  | 0 | 481.65 | 30 | Percent | 0 | Yes | 481.65 | Yes | No | ELE | METR< | DAVID.SO |  | 2023-07-17
FALSE | 55 | STRUCTURELEV | StructureLevelLineItems | Trunk cable - aluminum - 4 wire 2/0 | 0 | Average | 40 | 414.4 | LF | 0 | 10.36 |  | 0 | 497.28 | 150 | Percent | 0 | Yes | 497.28 | Yes | No | ELE | TRUNK | DAVID.SO |  | 2023-07-17
FALSE | 56 | STRUCTURELEV | StructureLevelLineItems | Phone, TV, or speaker outlet | 0 | Average | 4 | 71.08 | EA | 0 | 17.77 |  | 0 | 85.3 | 25 | Percent | 0 | Yes | 85.3 | Yes | No | ELE | OL | DAVID.SO |  | 2023-07-17
FALSE | 57 | STRUCTURELEV | StructureLevelLineItems | Exterior outlet or switch | 0 | Average | 2 | 41.5 | EA | 0 | 20.75 |  | 0 | 49.8 | 10 | Percent | 0 | Yes | 49.8 | Yes | No | ELE | XOS | DAVID.SO |  | 2023-07-17
FALSE | 58 | STRUCTURELEV | StructureLevelLineItems | Rewire\wire - avg. residence - boxes & wiring | 0 | Average | 900 | 3222 | SF | 0 | 3.58 |  | 0 | 3866.4 | 100 | Percent | 0 | Yes | 3866.4 | Yes | No | ELE | REWIRE | DAVID.SO |  | 2023-07-17
FALSE | 59 | STRUCTURELEV | StructureLevelLineItems | Phone / low voltage copper wiring | 0 | Average | 40 | 39.6 | LF | 0 | 0.99 |  | 0 | 47.52 | 100 | Percent | 0 | Yes | 47.52 | Yes | No | ELE | LV | DAVID.SO |  | 2023-07-17
FALSE | 60 | STRUCTURELEV | StructureLevelLineItems | Dumpster load - Approx. 12 yards, 1-3 tons of debris | 0 | Average | 4 | 2040 | EA | 0 | 510 |  | 0 | 2448 | 0 | Percent | 0 | Yes | 2448 | Yes | No | DMO | DUMP< | DAVID.SO |  | 2023-07-17
FALSE | 61 | STRUCTURELEV | StructureLevelLineItems | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 3 | 13.32 | LF | 0 | 4.44 |  | 0 | 15.98 | 15 | Percent | 0 | Yes | 15.98 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 62 | STRUCTURELEV | StructureLevelLineItems | Shelving - 16" - in place | 0 | Average | 3 | 34.65 | LF | 0 | 11.55 |  | 0 | 41.59 | 150 | Percent | 0 | Yes | 41.59 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 63 | STRUCTURELEV | StructureLevelLineItems | Closet rod | 0 | Average | 3 | 14.25 | LF | 0 | 4.75 |  | 0 | 17.11 | 150 | Percent | 0 | Yes | 17.11 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 64 | STRUCTURELEV | StructureLevelLineItems | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 86 | 84.28 | SF | 0 | 0.98 |  | 0 | 101.14 | 15 | Percent | 0 | Yes | 101.14 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 65 | STRUCTURELEV | StructureLevelLineItems | 1/2" drywall - hung, taped, ready for texture | 0 | Average | 86 | 202.1 | SF | 0 | 2.35 |  | 0 | 242.52 | 150 | Percent | 0 | Yes | 242.52 | Yes | No | DRY | 1/2- | DAVID.SO |  | 2023-07-17
FALSE | 66 | STRUCTURELEV | StructureLevelLineItems | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 67 | STRUCTURELEV | StructureLevelLineItems | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 68 | STRUCTURELEV | StructureLevelLineItems | Paint door/window trim & jamb - 2 coats (per side) | 0 | Average | 2 | 62.72 | EA | 0 | 31.36 |  | 0 | 75.26 | 15 | Percent | 0 | Yes | 75.26 | Yes | No | PNT | DORT | DAVID.SO |  | 2023-07-17
FALSE | 69 | STRUCTURELEV | StructureLevelLineItems | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 70 | UTILITYROOM | UtilityRoom | Outlet | 0 | Average | 6 | 79.62 | EA | 0 | 13.27 |  | 0 | 95.54 | 25 | Percent | 0 | Yes | 95.54 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 71 | UTILITYROOM | UtilityRoom | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 11 | 48.84 | LF | 0 | 4.44 |  | 0 | 58.6 | 15 | Percent | 0 | Yes | 58.6 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 72 | UTILITYROOM | UtilityRoom | Shelving - 16" - in place | 0 | Average | 11 | 127.05 | LF | 0 | 11.55 |  | 0 | 152.47 | 150 | Percent | 0 | Yes | 152.47 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 73 | UTILITYROOM | UtilityRoom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 74 | UTILITYROOM | UtilityRoom | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 75 | UTILITYROOM | UtilityRoom | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 76 | UTILITYROOM | UtilityRoom | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 77 | UTILITYROOM | UtilityRoom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 192 | 188.16 | SF | 0 | 0.98 |  | 0 | 225.8 | 15 | Percent | 0 | Yes | 225.8 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 78 | UTILITYROOM | UtilityRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 192 | 512.64 | SF | 0 | 2.67 |  | 0 | 615.16 | 150 | Percent | 0 | Yes | 615.16 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 79 | UTILITYROOM | UtilityRoom | Baseboard - 2 1/4" | 0 | Average | 24 | 84.48 | LF | 0 | 3.52 |  | 0 | 101.38 | 150 | Percent | 0 | Yes | 101.38 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 80 | UTILITYROOM | UtilityRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 35 | 93.45 | SF | 0 | 2.67 |  | 0 | 112.15 | 150 | Percent | 0 | Yes | 112.15 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 81 | UTILITYROOM | UtilityRoom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 35 | 22.05 | SF | 0 | 0.63 |  | 0 | 26.47 | 15 | Percent | 0 | Yes | 26.47 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 82 | UTILITYROOM | UtilityRoom | Paint the surface area - one coat | 0 | Average | 35 | 24.15 | SF | 0 | 0.69 |  | 0 | 28.99 | 15 | Percent | 0 | Yes | 28.99 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 83 | UTILITYROOM | UtilityRoom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 8.05 | 32.44 | SF | 0 | 4.03 |  | 0 | 38.92 | 50 | Percent | 0 | Yes | 38.92 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 84 | UTILITYROOM | UtilityRoom | Carpet pad - Standard grade | 0 | Average | 32.2 | 21.57 | SF | 0 | 0.67 |  | 0 | 25.89 | 10 | Percent | 0 | Yes | 25.89 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 85 | UTILITYROOM | UtilityRoom | Carpet - Economy grade | 0 | Average | 32.2 | 103.68 | SF | 0 | 3.22 |  | 0 | 124.42 | 10 | Percent | 0 | Yes | 124.42 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 86 | BEDROOM2 | Bedroom2 | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 87 | BEDROOM2 | Bedroom2 | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 88 | BEDROOM2 | Bedroom2 | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 89 | BEDROOM2 | Bedroom2 | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 90 | BEDROOM2 | Bedroom2 | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 91 | BEDROOM2 | Bedroom2 | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 92 | BEDROOM2 | Bedroom2 | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 93 | BEDROOM2 | Bedroom2 | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 94 | BEDROOM2 | Bedroom2 | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 95 | BEDROOM2 | Bedroom2 | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 96 | BEDROOM2 | Bedroom2 | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 97 | BEDROOM2 | Bedroom2 | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 322.67 | 316.22 | SF | 0 | 0.98 |  | 0 | 379.46 | 15 | Percent | 0 | Yes | 379.46 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 98 | BEDROOM2 | Bedroom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 322.67 | 861.53 | SF | 0 | 2.67 |  | 0 | 1033.83 | 150 | Percent | 0 | Yes | 1033.83 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 99 | BEDROOM2 | Bedroom2 | Baseboard - 2 1/4" | 0 | Average | 40.33 | 141.96 | LF | 0 | 3.52 |  | 0 | 170.36 | 150 | Percent | 0 | Yes | 170.36 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 100 | BEDROOM2 | Bedroom2 | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 101.67 | 271.46 | SF | 0 | 2.67 |  | 0 | 325.76 | 150 | Percent | 0 | Yes | 325.76 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 101 | BEDROOM2 | Bedroom2 | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 101.67 | 64.05 | SF | 0 | 0.63 |  | 0 | 76.87 | 15 | Percent | 0 | Yes | 76.87 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 102 | BEDROOM2 | Bedroom2 | Paint the surface area - one coat | 0 | Average | 101.67 | 70.15 | SF | 0 | 0.69 |  | 0 | 84.19 | 15 | Percent | 0 | Yes | 84.19 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 103 | BEDROOM2 | Bedroom2 | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 23.38 | 94.22 | SF | 0 | 4.03 |  | 0 | 113.06 | 50 | Percent | 0 | Yes | 113.06 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 104 | BEDROOM2 | Bedroom2 | Carpet pad - Standard grade | 0 | Average | 93.54 | 62.67 | SF | 0 | 0.67 |  | 0 | 75.21 | 10 | Percent | 0 | Yes | 75.21 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 105 | BEDROOM2 | Bedroom2 | Carpet - Economy grade | 0 | Average | 93.54 | 301.2 | SF | 0 | 3.22 |  | 0 | 361.44 | 10 | Percent | 0 | Yes | 361.44 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 106 | KITCHEN | Kitchen | 220 volt outlet | 0 | Average | 1 | 33.1 | EA | 0 | 33.1 |  | 0 | 39.72 | 25 | Percent | 0 | Yes | 39.72 | Yes | No | ELE | OL220 | DAVID.SO |  | 2023-07-17
FALSE | 107 | KITCHEN | Kitchen | Ground fault interrupter (GFI) outlet | 0 | Average | 2 | 74 | EA | 0 | 37 |  | 0 | 88.8 | 10 | Percent | 0 | Yes | 88.8 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 108 | KITCHEN | Kitchen | Outlet | 0 | Average | 4 | 53.08 | EA | 0 | 13.27 |  | 0 | 63.7 | 25 | Percent | 0 | Yes | 63.7 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 109 | KITCHEN | Kitchen | Outlet | 0 | Average | 2 | 26.54 | EA | 0 | 13.27 |  | 0 | 31.84 | 25 | Percent | 0 | Yes | 31.84 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 110 | KITCHEN | Kitchen | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 1 | 550.65 | EA | 0 | 550.65 |  | 0 | 660.79 | 80 | Percent | 0 | Yes | 660.79 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 111 | KITCHEN | Kitchen | Sink faucet - Kitchen - Standard grade | 0 | Average | 1 | 203.94 | EA | 0 | 203.94 |  | 0 | 244.72 | 15 | Percent | 0 | Yes | 244.72 | Yes | No | PLM | FAU- | DAVID.SO |  | 2023-07-17
FALSE | 112 | KITCHEN | Kitchen | Sink - double basin - Standard grade | 0 | Average | 1 | 332.7 | EA | 0 | 332.7 |  | 0 | 399.24 | 50 | Percent | 0 | Yes | 399.24 | Yes | No | PLM | SNKD- | DAVID.SO |  | 2023-07-17
FALSE | 113 | KITCHEN | Kitchen | Fluorescent - two tube - 4' - strip light | 0 | Average | 1 | 91.55 | EA | 0 | 91.55 |  | 0 | 109.87 | 20 | Percent | 0 | Yes | 109.87 | Yes | No | LIT | FL2-4 | DAVID.SO |  | 2023-07-17
FALSE | 114 | KITCHEN | Kitchen | Appliance water line - 1/4" | 0 | Average | 1 | 65.8 | EA | 0 | 65.8 |  | 0 | 78.96 | 50 | Percent | 0 | Yes | 78.96 | Yes | No | APP | WL | DAVID.SO |  | 2023-07-17
FALSE | 115 | KITCHEN | Kitchen | Cabinet knob or pull | 0 | Average | 28 | 267.96 | EA | 0 | 9.57 |  | 0 | 321.56 | 20 | Percent | 0 | Yes | 321.56 | Yes | No | CAB | KNPL | DAVID.SO |  | 2023-07-17
FALSE | 116 | KITCHEN | Kitchen | Cabinetry - laminate upper (wall) units - Standard grade | 0 | Average | 14 | 1412.6 | LF | 0 | 100.9 |  | 0 | 1695.12 | 50 | Percent | 0 | Yes | 1695.12 | Yes | No | CAB | FUP- | DAVID.SO |  | 2023-07-17
FALSE | 117 | KITCHEN | Kitchen | Cabinetry - laminate lower (base) units - Standard grade | 0 | Average | 16 | 2005.92 | LF | 0 | 125.37 |  | 0 | 2407.1 | 50 | Percent | 0 | Yes | 2407.1 | Yes | No | CAB | FLOW- | DAVID.SO |  | 2023-07-17
FALSE | 118 | KITCHEN | Kitchen | Countertop - post formed plastic laminate | 0 | Average | 18 | 1075.86 | LF | 0 | 59.77 |  | 0 | 1291.04 | 15 | Percent | 0 | Yes | 1291.04 | Yes | No | CAB | CTPF | DAVID.SO |  | 2023-07-17
FALSE | 119 | KITCHEN | Kitchen | 110 volt copper wiring run, box and outlet | 0 | Average | 1 | 75.59 | EA | 0 | 75.59 |  | 0 | 90.71 | 100 | Percent | 0 | Yes | 90.71 | Yes | No | ELE | 110 | DAVID.SO |  | 2023-07-17
FALSE | 120 | KITCHEN | Kitchen | Range hood - Standard grade | 0 | Average | 1 | 159.74 | EA | 0 | 159.74 |  | 0 | 191.68 | 14 | Percent | 0 | Yes | 191.68 | Yes | No | APP | HD- | DAVID.SO |  | 2023-07-17
FALSE | 121 | KITCHEN | Kitchen | Dishwasher - Standard grade | 0 | Average | 1 | 525.38 | EA | 0 | 525.38 |  | 0 | 630.46 | 9 | Percent | 0 | Yes | 630.46 | Yes | No | APP | DW- | DAVID.SO |  | 2023-07-17
FALSE | 122 | KITCHEN | Kitchen | Range - freestanding - electric - Standard grade | 0 | Average | 1 | 723.78 | EA | 0 | 723.78 |  | 0 | 868.54 | 13 | Percent | 0 | Yes | 868.54 | Yes | No | APP | RG- | DAVID.SO |  | 2023-07-17
FALSE | 123 | KITCHEN | Kitchen | Refrigerator - top freezer - 14 to 18 cf | 0 | Average | 1 | 941.11 | EA | 0 | 941.11 |  | 0 | 1129.33 | 14 | Percent | 0 | Yes | 1129.33 | Yes | No | APP | RF14 | DAVID.SO |  | 2023-07-17
FALSE | 124 | KITCHEN | Kitchen | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 338.67 | 331.9 | SF | 0 | 0.98 |  | 0 | 398.28 | 15 | Percent | 0 | Yes | 398.28 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 125 | KITCHEN | Kitchen | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 338.67 | 904.25 | SF | 0 | 2.67 |  | 0 | 1085.11 | 150 | Percent | 0 | Yes | 1085.11 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 126 | KITCHEN | Kitchen | Paint baseboard - one coat | 0 | Average | 21.17 | 19.26 | LF | 0 | 0.91 |  | 0 | 23.12 | 15 | Percent | 0 | Yes | 23.12 | Yes | No | PNT | B | DAVID.SO |  | 2023-07-17
FALSE | 127 | KITCHEN | Kitchen | Baseboard - 2 1/4" | 0 | Average | 21.17 | 74.52 | LF | 0 | 3.52 |  | 0 | 89.42 | 150 | Percent | 0 | Yes | 89.42 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 128 | KITCHEN | Kitchen | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 111.76 | 298.4 | SF | 0 | 2.67 |  | 0 | 358.08 | 150 | Percent | 0 | Yes | 358.08 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 129 | KITCHEN | Kitchen | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 111.76 | 70.41 | SF | 0 | 0.63 |  | 0 | 84.49 | 15 | Percent | 0 | Yes | 84.49 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 130 | KITCHEN | Kitchen | Paint the surface area - one coat | 0 | Average | 111.76 | 77.11 | SF | 0 | 0.69 |  | 0 | 92.53 | 15 | Percent | 0 | Yes | 92.53 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 131 | KITCHEN | Kitchen | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 25.7 | 103.57 | SF | 0 | 4.03 |  | 0 | 124.29 | 50 | Percent | 0 | Yes | 124.29 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 132 | KITCHEN | Kitchen | Carpet pad - Standard grade | 0 | Average | 102.82 | 68.89 | SF | 0 | 0.67 |  | 0 | 82.67 | 10 | Percent | 0 | Yes | 82.67 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 133 | KITCHEN | Kitchen | Carpet - Economy grade | 0 | Average | 102.82 | 331.08 | SF | 0 | 3.22 |  | 0 | 397.3 | 10 | Percent | 0 | Yes | 397.3 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 134 | BEDROOM | Bedroom | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 135 | BEDROOM | Bedroom | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 4 | 17.76 | LF | 0 | 4.44 |  | 0 | 21.32 | 15 | Percent | 0 | Yes | 21.32 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 136 | BEDROOM | Bedroom | Shelving - 16" - in place | 0 | Average | 4 | 46.2 | LF | 0 | 11.55 |  | 0 | 55.44 | 150 | Percent | 0 | Yes | 55.44 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 137 | BEDROOM | Bedroom | Closet rod | 0 | Average | 4 | 19 | LF | 0 | 4.75 |  | 0 | 22.8 | 150 | Percent | 0 | Yes | 22.8 | Yes | No | FNC | CLROD | DAVID.SO |  | 2023-07-17
FALSE | 138 | BEDROOM | Bedroom | Outlet | 0 | Average | 5 | 66.35 | EA | 0 | 13.27 |  | 0 | 79.63 | 25 | Percent | 0 | Yes | 79.63 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 139 | BEDROOM | Bedroom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 140 | BEDROOM | Bedroom | Door knob - interior | 0 | Average | 1 | 47.96 | EA | 0 | 47.96 |  | 0 | 57.56 | 20 | Percent | 0 | Yes | 57.56 | Yes | No | FNH | DORH | DAVID.SO |  | 2023-07-17
FALSE | 141 | BEDROOM | Bedroom | Paint bifold door set - slab only - 2 coats (per side) | 0 | Average | 2 | 110.04 | EA | 0 | 55.02 |  | 0 | 132.04 | 15 | Percent | 0 | Yes | 132.04 | Yes | No | PNT | BF | DAVID.SO |  | 2023-07-17
FALSE | 142 | BEDROOM | Bedroom | Bifold door set - lauan/mahogany - Double | 0 | Average | 1 | 376.12 | EA | 0 | 376.12 |  | 0 | 451.34 | 100 | Percent | 0 | Yes | 451.34 | Yes | No | DOR | BF- | DAVID.SO |  | 2023-07-17
FALSE | 143 | BEDROOM | Bedroom | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 144 | BEDROOM | Bedroom | Interior door unit | 0 | Average | 1 | 365.09 | EA | 0 | 365.09 |  | 0 | 438.11 | 100 | Percent | 0 | Yes | 438.11 | Yes | No | DOR | AV | DAVID.SO |  | 2023-07-17
FALSE | 145 | BEDROOM | Bedroom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 322.67 | 316.22 | SF | 0 | 0.98 |  | 0 | 379.46 | 15 | Percent | 0 | Yes | 379.46 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 146 | BEDROOM | Bedroom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 322.67 | 861.53 | SF | 0 | 2.67 |  | 0 | 1033.83 | 150 | Percent | 0 | Yes | 1033.83 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 147 | BEDROOM | Bedroom | Baseboard - 2 1/4" | 0 | Average | 40.33 | 141.96 | LF | 0 | 3.52 |  | 0 | 170.36 | 150 | Percent | 0 | Yes | 170.36 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 148 | BEDROOM | Bedroom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 101.67 | 271.46 | SF | 0 | 2.67 |  | 0 | 325.76 | 150 | Percent | 0 | Yes | 325.76 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 149 | BEDROOM | Bedroom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 101.67 | 64.05 | SF | 0 | 0.63 |  | 0 | 76.87 | 15 | Percent | 0 | Yes | 76.87 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 150 | BEDROOM | Bedroom | Paint the surface area - one coat | 0 | Average | 101.67 | 70.15 | SF | 0 | 0.69 |  | 0 | 84.19 | 15 | Percent | 0 | Yes | 84.19 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 151 | BEDROOM | Bedroom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 23.38 | 94.22 | SF | 0 | 4.03 |  | 0 | 113.06 | 50 | Percent | 0 | Yes | 113.06 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 152 | BEDROOM | Bedroom | Carpet pad - Standard grade | 0 | Average | 93.54 | 62.67 | SF | 0 | 0.67 |  | 0 | 75.21 | 10 | Percent | 0 | Yes | 75.21 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 153 | BEDROOM | Bedroom | Carpet - Economy grade | 0 | Average | 93.54 | 301.2 | SF | 0 | 3.22 |  | 0 | 361.44 | 10 | Percent | 0 | Yes | 361.44 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 154 | NOOK | Nook | Outlet | 0 | Average | 4 | 53.08 | EA | 0 | 13.27 |  | 0 | 63.7 | 25 | Percent | 0 | Yes | 63.7 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 155 | NOOK | Nook | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 156 | NOOK | Nook | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 224 | 219.52 | SF | 0 | 0.98 |  | 0 | 263.42 | 15 | Percent | 0 | Yes | 263.42 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 157 | NOOK | Nook | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 224 | 598.08 | SF | 0 | 2.67 |  | 0 | 717.7 | 150 | Percent | 0 | Yes | 717.7 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 158 | NOOK | Nook | Baseboard - 2 1/4" | 0 | Average | 28 | 98.56 | LF | 0 | 3.52 |  | 0 | 118.28 | 150 | Percent | 0 | Yes | 118.28 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 159 | NOOK | Nook | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 48 | 128.16 | SF | 0 | 2.67 |  | 0 | 153.8 | 150 | Percent | 0 | Yes | 153.8 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 160 | NOOK | Nook | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 48 | 30.24 | SF | 0 | 0.63 |  | 0 | 36.28 | 15 | Percent | 0 | Yes | 36.28 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 161 | NOOK | Nook | Paint the surface area - one coat | 0 | Average | 48 | 33.12 | SF | 0 | 0.69 |  | 0 | 39.74 | 15 | Percent | 0 | Yes | 39.74 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 162 | NOOK | Nook | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 11.04 | 44.49 | SF | 0 | 4.03 |  | 0 | 53.39 | 50 | Percent | 0 | Yes | 53.39 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 163 | NOOK | Nook | Carpet pad - Standard grade | 0 | Average | 44.16 | 29.59 | SF | 0 | 0.67 |  | 0 | 35.51 | 10 | Percent | 0 | Yes | 35.51 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 164 | NOOK | Nook | Carpet - Economy grade | 0 | Average | 44.16 | 142.2 | SF | 0 | 3.22 |  | 0 | 170.64 | 10 | Percent | 0 | Yes | 170.64 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 165 | LIVINGROOM | LivingRoom | Outlet | 0 | Average | 6 | 79.62 | EA | 0 | 13.27 |  | 0 | 95.54 | 25 | Percent | 0 | Yes | 95.54 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 166 | LIVINGROOM | LivingRoom | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 167 | LIVINGROOM | LivingRoom | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 482.67 | 473.02 | SF | 0 | 0.98 |  | 0 | 567.62 | 15 | Percent | 0 | Yes | 567.62 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 168 | LIVINGROOM | LivingRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 482.67 | 1288.73 | SF | 0 | 2.67 |  | 0 | 1546.47 | 150 | Percent | 0 | Yes | 1546.47 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 169 | LIVINGROOM | LivingRoom | Baseboard - 2 1/4" | 0 | Average | 60.33 | 212.36 | LF | 0 | 3.52 |  | 0 | 254.84 | 150 | Percent | 0 | Yes | 254.84 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 170 | LIVINGROOM | LivingRoom | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 218.51 | 583.42 | SF | 0 | 2.67 |  | 0 | 700.1 | 150 | Percent | 0 | Yes | 700.1 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 171 | LIVINGROOM | LivingRoom | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 218.51 | 137.66 | SF | 0 | 0.63 |  | 0 | 165.2 | 15 | Percent | 0 | Yes | 165.2 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 172 | LIVINGROOM | LivingRoom | Paint the surface area - one coat | 0 | Average | 218.51 | 150.77 | SF | 0 | 0.69 |  | 0 | 180.93 | 15 | Percent | 0 | Yes | 180.93 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 173 | LIVINGROOM | LivingRoom | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 50.26 | 202.55 | SF | 0 | 4.03 |  | 0 | 243.07 | 50 | Percent | 0 | Yes | 243.07 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 174 | LIVINGROOM | LivingRoom | Carpet pad - Standard grade | 0 | Average | 201.03 | 134.69 | SF | 0 | 0.67 |  | 0 | 161.63 | 10 | Percent | 0 | Yes | 161.63 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 175 | LIVINGROOM | LivingRoom | Carpet - Economy grade | 0 | Average | 201.03 | 647.32 | SF | 0 | 3.22 |  | 0 | 776.78 | 10 | Percent | 0 | Yes | 776.78 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 176 | BATH | Bath | Towel ring - Standard grade | 0 | Average | 1 | 27.56 | EA | 0 | 27.56 |  | 0 | 33.08 | 50 | Percent | 0 | Yes | 33.08 | Yes | No | FNH | TR- | DAVID.SO |  | 2023-07-17
FALSE | 177 | BATH | Bath | Toilet paper holder - Standard grade | 0 | Average | 1 | 24.93 | EA | 0 | 24.93 |  | 0 | 29.91 | 50 | Percent | 0 | Yes | 29.91 | Yes | No | FNH | TP- | DAVID.SO |  | 2023-07-17
FALSE | 178 | BATH | Bath | Towel bar - Standard grade | 0 | Average | 1 | 25.92 | EA | 0 | 25.92 |  | 0 | 31.1 | 50 | Percent | 0 | Yes | 31.1 | Yes | No | FNH | TBAR- | DAVID.SO |  | 2023-07-17
FALSE | 179 | BATH | Bath | Seal & paint wood shelving, 12"- 24" width | 0 | Average | 10 | 44.4 | LF | 0 | 4.44 |  | 0 | 53.28 | 15 | Percent | 0 | Yes | 53.28 | Yes | No | PNT | SHW | DAVID.SO |  | 2023-07-17
FALSE | 180 | BATH | Bath | Shelving - 16" - in place | 0 | Average | 10 | 115.5 | LF | 0 | 11.55 |  | 0 | 138.6 | 150 | Percent | 0 | Yes | 138.6 | Yes | No | FNC | SH16 | DAVID.SO |  | 2023-07-17
FALSE | 181 | BATH | Bath | Outlet | 0 | Average | 2 | 26.54 | EA | 0 | 13.27 |  | 0 | 31.84 | 25 | Percent | 0 | Yes | 31.84 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 182 | BATH | Bath | Mirror - 1/4" plate glass | 0 | Average | 6 | 112.38 | SF | 0 | 18.73 |  | 0 | 134.86 | 40 | Percent | 0 | Yes | 134.86 | Yes | No | MSD | AV | DAVID.SO |  | 2023-07-17
FALSE | 183 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 184 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 185 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 186 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 187 | BATH | Bath | Toilet seat - Standard grade | 0 | Average | 1 | 39.43 | EA | 0 | 39.43 |  | 0 | 47.31 | 9 | Percent | 0 | Yes | 47.31 | Yes | No | PLM | TLTS- | DAVID.SO |  | 2023-07-17
FALSE | 188 | BATH | Bath | Toilet - Standard grade | 0 | Average | 1 | 419.17 | EA | 0 | 419.17 |  | 0 | 503.01 | 150 | Percent | 0 | Yes | 503.01 | Yes | No | PLM | TLT- | DAVID.SO |  | 2023-07-17
FALSE | 189 | BATH | Bath | Bathtub - Standard grade | 0 | Average | 1 | 773 | EA | 0 | 773 |  | 0 | 927.6 | 50 | Percent | 0 | Yes | 927.6 | Yes | No | PLM | TUB- | DAVID.SO |  | 2023-07-17
FALSE | 190 | BATH | Bath | Shower curtain rod | 0 | Average | 1 | 34.52 | EA | 0 | 34.52 |  | 0 | 41.42 | 50 | Percent | 0 | Yes | 41.42 | Yes | No | FNH | SROD | DAVID.SO |  | 2023-07-17
FALSE | 191 | BATH | Bath | Fibreglass tub surround only - Standard grade | 0 | Average | 1 | 357.65 | EA | 0 | 357.65 |  | 0 | 429.19 | 50 | Percent | 0 | Yes | 429.19 | Yes | No | PLM | TUBS- | DAVID.SO |  | 2023-07-17
FALSE | 192 | BATH | Bath | Tub/shower faucet - Standard grade | 0 | Average | 1 | 259.22 | EA | 0 | 259.22 |  | 0 | 311.06 | 20 | Percent | 0 | Yes | 311.06 | Yes | No | PLM | TSFAU- | DAVID.SO |  | 2023-07-17
FALSE | 193 | BATH | Bath | Ductwork - flexible - non-insulated - 3" round | 0 | Average | 10 | 65.7 | LF | 0 | 6.57 |  | 0 | 78.84 | 30 | Percent | 0 | Yes | 78.84 | Yes | No | HVC | DCTFN3 | DAVID.SO |  | 2023-07-17
FALSE | 194 | BATH | Bath | Bathroom ventilation fan - Standard grade | 0 | Average | 1 | 89.58 | EA | 0 | 89.58 |  | 0 | 107.5 | 10 | Percent | 0 | Yes | 107.5 | Yes | No | HVC | BVENT- | DAVID.SO |  | 2023-07-17
FALSE | 195 | BATH | Bath | Light bar - 4 lights | 0 | Average | 1 | 89.45 | EA | 0 | 89.45 |  | 0 | 107.35 | 20 | Percent | 0 | Yes | 107.35 | Yes | No | LIT | BAR4 | DAVID.SO |  | 2023-07-17
FALSE | 196 | BATH | Bath | Door knob - interior - Standard grade | 0 | Average | 1 | 40.14 | EA | 0 | 40.14 |  | 0 | 48.16 | 20 | Percent | 0 | Yes | 48.16 | Yes | No | FNH | DORH- | DAVID.SO |  | 2023-07-17
FALSE | 197 | BATH | Bath | Paint door slab only - 2 coats (per side) | 0 | Average | 2 | 77.86 | EA | 0 | 38.93 |  | 0 | 93.44 | 15 | Percent | 0 | Yes | 93.44 | Yes | No | PNT | DOR | DAVID.SO |  | 2023-07-17
FALSE | 198 | BATH | Bath | Interior door unit - Standard grade | 0 | Average | 1 | 292.48 | EA | 0 | 292.48 |  | 0 | 350.98 | 100 | Percent | 0 | Yes | 350.98 | Yes | No | DOR | AV- | DAVID.SO |  | 2023-07-17
FALSE | 199 | BATH | Bath | Ground fault interrupter (GFI) outlet | 0 | Average | 1 | 37 | EA | 0 | 37 |  | 0 | 44.4 | 10 | Percent | 0 | Yes | 44.4 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 200 | BATH | Bath | Vanity - Standard grade | 0 | Average | 3 | 448.2 | LF | 0 | 149.4 |  | 0 | 537.84 | 50 | Percent | 0 | Yes | 537.84 | Yes | No | CAB | VAN- | DAVID.SO |  | 2023-07-17
FALSE | 201 | BATH | Bath | 4" backsplash for flat laid countertop | 0 | Average | 3 | 28.92 | LF | 0 | 9.64 |  | 0 | 34.7 | 15 | Percent | 0 | Yes | 34.7 | Yes | No | CAB | CTFSPL4 | DAVID.SO |  | 2023-07-17
FALSE | 202 | BATH | Bath | Countertop - flat laid plastic laminate - Standard grade | 0 | Average | 3 | 112.11 | LF | 0 | 37.37 |  | 0 | 134.53 | 15 | Percent | 0 | Yes | 134.53 | Yes | No | CAB | CTFL- | DAVID.SO |  | 2023-07-17
FALSE | 203 | BATH | Bath | Sink faucet - Bathroom - Standard grade | 0 | Average | 1 | 176.94 | EA | 0 | 176.94 |  | 0 | 212.32 | 20 | Percent | 0 | Yes | 212.32 | Yes | No | PLM | FAUBA- | DAVID.SO |  | 2023-07-17
FALSE | 204 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.75 | 412.99 | EA | 0 | 550.65 |  | 0 | 495.59 | 80 | Percent | 0 | Yes | 495.59 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 205 | BATH | Bath | Rough in plumbing - per fixture - w/PEX - Branch system | 0 | Average | 0.25 | 137.66 | EA | 0 | 550.65 |  | 0 | 165.2 | 80 | Percent | 0 | Yes | 165.2 | Yes | No | PLM | RFIXP- | DAVID.SO |  | 2023-07-17
FALSE | 206 | BATH | Bath | Sink - single - Standard grade | 0 | Average | 1 | 198.39 | EA | 0 | 198.39 |  | 0 | 238.07 | 50 | Percent | 0 | Yes | 238.07 | Yes | No | PLM | SNK- | DAVID.SO |  | 2023-07-17
FALSE | 207 | BATH | Bath | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 208 | 203.84 | SF | 0 | 0.98 |  | 0 | 244.6 | 15 | Percent | 0 | Yes | 244.6 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 208 | BATH | Bath | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 208 | 555.36 | SF | 0 | 2.67 |  | 0 | 666.44 | 150 | Percent | 0 | Yes | 666.44 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 209 | BATH | Bath | Paint baseboard - one coat | 0 | Average | 13 | 11.83 | LF | 0 | 0.91 |  | 0 | 14.19 | 15 | Percent | 0 | Yes | 14.19 | Yes | No | PNT | B | DAVID.SO |  | 2023-07-17
FALSE | 210 | BATH | Bath | Baseboard - 2 1/4" | 0 | Average | 13 | 45.76 | LF | 0 | 3.52 |  | 0 | 54.92 | 150 | Percent | 0 | Yes | 54.92 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 211 | BATH | Bath | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 40 | 106.8 | SF | 0 | 2.67 |  | 0 | 128.16 | 150 | Percent | 0 | Yes | 128.16 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 212 | BATH | Bath | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 40 | 25.2 | SF | 0 | 0.63 |  | 0 | 30.24 | 15 | Percent | 0 | Yes | 30.24 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 213 | BATH | Bath | Paint the surface area - one coat | 0 | Average | 40 | 27.6 | SF | 0 | 0.69 |  | 0 | 33.12 | 15 | Percent | 0 | Yes | 33.12 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 214 | BATH | Bath | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 9.2 | 37.08 | SF | 0 | 4.03 |  | 0 | 44.5 | 50 | Percent | 0 | Yes | 44.5 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 215 | BATH | Bath | Carpet pad - Standard grade | 0 | Average | 36.8 | 24.66 | SF | 0 | 0.67 |  | 0 | 29.6 | 10 | Percent | 0 | Yes | 29.6 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 216 | BATH | Bath | Carpet - Economy grade | 0 | Average | 36.8 | 118.5 | SF | 0 | 3.22 |  | 0 | 142.2 | 10 | Percent | 0 | Yes | 142.2 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 217 | PATIO | Patio | Stain/finish deck handrail | 0 | Average | 17 | 121.72 | LF | 0 | 7.16 |  | 0 | 146.06 | 15 | Percent | 0 | Yes | 146.06 | Yes | No | PNT | DKRL | DAVID.SO |  | 2023-07-17
FALSE | 218 | PATIO | Patio | Deck guard rail - redwood | 0 | Average | 17 | 919.53 | LF | 0 | 54.09 |  | 0 | 1103.43 | 20 | Percent | 0 | Yes | 1103.43 | Yes | No | FRM | DKRLR | DAVID.SO |  | 2023-07-17
FALSE | 219 | PATIO | Patio | Outlet | 0 | Average | 1 | 13.27 | EA | 0 | 13.27 |  | 0 | 15.93 | 25 | Percent | 0 | Yes | 15.93 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 220 | PATIO | Patio | Ground fault interrupter (GFI) outlet | 0 | Average | 1 | 37 | EA | 0 | 37 |  | 0 | 44.4 | 10 | Percent | 0 | Yes | 44.4 | Yes | No | ELE | GFI | DAVID.SO |  | 2023-07-17
FALSE | 221 | PATIO | Patio | Exterior light fixture - Standard grade | 0 | Average | 1 | 65.65 | EA | 0 | 65.65 |  | 0 | 78.79 | 20 | Percent | 0 | Yes | 78.79 | Yes | No | LIT | X- | DAVID.SO |  | 2023-07-17
FALSE | 222 | PATIO | Patio | Soffit - metal | 0 | Average | 32.11 | 227.34 | SF | 0 | 7.08 |  | 0 | 272.8 | 50 | Percent | 0 | Yes | 272.8 | Yes | No | SFG | SFTM | DAVID.SO |  | 2023-07-17
FALSE | 223 | PATIO | Patio | Sheathing - plywood - 1/2" CDX | 0 | Average | 83 | 200.03 | SF | 0 | 2.41 |  | 0 | 240.03 | 150 | Percent | 0 | Yes | 240.03 | Yes | No | FRM | SH1/2 | DAVID.SO |  | 2023-07-17
FALSE | 224 | PATIO | Patio | 2" x 4" lumber (.667 BF per LF) | 0 | Average | 23.28 | 60.06 | LF | 0 | 2.58 |  | 0 | 72.08 | 150 | Percent | 0 | Yes | 72.08 | Yes | No | FRM | 2X4 | DAVID.SO |  | 2023-07-17
FALSE | 225 | PATIO | Patio | 2" x 6" lumber (1 BF per LF) | 0 | Average | 11.33 | 34.44 | LF | 0 | 3.04 |  | 0 | 41.32 | 150 | Percent | 0 | Yes | 41.32 | Yes | No | FRM | 2X6 | DAVID.SO |  | 2023-07-17
FALSE | 226 | PATIO | Patio | Truss - 4/12 slope | 0 | Average | 22.67 | 204.71 | LF | 0 | 9.03 |  | 0 | 245.65 | 150 | Percent | 0 | Yes | 245.65 | Yes | No | FRM | TR4 | DAVID.SO |  | 2023-07-17
FALSE | 227 | PATIO | Patio | 3 tab - 25 yr. - composition shingle roofing - incl. felt | 0 | Average | 1 | 265.87 | SQ | 0 | 265.87 |  | 0 | 319.05 | 25 | Percent | 0 | Yes | 319.05 | Yes | No | RFG | 240 | DAVID.SO |  | 2023-07-17
FALSE | 228 | PATIO | Patio | 6" x 6" square wood post (3 BF per LF) | 0 | Average | 17 | 164.39 | LF | 0 | 9.67 |  | 0 | 197.27 | 150 | Percent | 0 | Yes | 197.27 | Yes | No | FRM | 6X6 | DAVID.SO |  | 2023-07-17
FALSE | 229 | PATIO | Patio | Framing hurricane tie | 0 | Average | 4 | 32.32 | EA | 0 | 8.08 |  | 0 | 38.78 | 150 | Percent | 0 | Yes | 38.78 | Yes | No | FRM | FRHT | DAVID.SO |  | 2023-07-17
FALSE | 230 | HALLWAY | Hallway | Smoke detector - Standard grade | 0 | Average | 1 | 39.7 | EA | 0 | 39.7 |  | 0 | 47.64 | 10 | Percent | 0 | Yes | 47.64 | Yes | No | ELE | SMOKE- | DAVID.SO |  | 2023-07-17
FALSE | 231 | HALLWAY | Hallway | Outlet | 0 | Average | 1 | 13.27 | EA | 0 | 13.27 |  | 0 | 15.93 | 25 | Percent | 0 | Yes | 15.93 | Yes | No | ELE | OS | DAVID.SO |  | 2023-07-17
FALSE | 232 | HALLWAY | Hallway | Light fixture - Standard grade | 0 | Average | 1 | 48.06 | EA | 0 | 48.06 |  | 0 | 57.68 | 20 | Percent | 0 | Yes | 57.68 | Yes | No | LIT | AV- | DAVID.SO |  | 2023-07-17
FALSE | 233 | HALLWAY | Hallway | Seal/prime (1 coat) then paint (1 coat) the surface area | 0 | Average | 305.33 | 299.22 | SF | 0 | 0.98 |  | 0 | 359.06 | 15 | Percent | 0 | Yes | 359.06 | Yes | No | PNT | SP | DAVID.SO |  | 2023-07-17
FALSE | 234 | HALLWAY | Hallway | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 305.33 | 815.23 | SF | 0 | 2.67 |  | 0 | 978.27 | 150 | Percent | 0 | Yes | 978.27 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 235 | HALLWAY | Hallway | Baseboard - 2 1/4" | 0 | Average | 38.17 | 134.36 | LF | 0 | 3.52 |  | 0 | 161.24 | 150 | Percent | 0 | Yes | 161.24 | Yes | No | FNC | B | DAVID.SO |  | 2023-07-17
FALSE | 236 | HALLWAY | Hallway | 1/2" drywall - hung, taped, floated, ready for paint | 0 | Average | 60.33 | 161.08 | SF | 0 | 2.67 |  | 0 | 193.3 | 150 | Percent | 0 | Yes | 193.3 | Yes | No | DRY | 1/2 | DAVID.SO |  | 2023-07-17
FALSE | 237 | HALLWAY | Hallway | Seal the surface area w/latex based stain blocker - one coat | 0 | Average | 60.33 | 38.01 | SF | 0 | 0.63 |  | 0 | 45.61 | 15 | Percent | 0 | Yes | 45.61 | Yes | No | PNT | S | DAVID.SO |  | 2023-07-17
FALSE | 238 | HALLWAY | Hallway | Paint the surface area - one coat | 0 | Average | 60.33 | 41.63 | SF | 0 | 0.69 |  | 0 | 49.95 | 15 | Percent | 0 | Yes | 49.95 | Yes | No | PNT | P | DAVID.SO |  | 2023-07-17
FALSE | 239 | HALLWAY | Hallway | Vinyl floor covering (sheet goods) - Economy grade | 0 | Average | 13.88 | 55.94 | SF | 0 | 4.03 |  | 0 | 67.12 | 50 | Percent | 0 | Yes | 67.12 | Yes | No | FCV | AV-- | DAVID.SO |  | 2023-07-17
FALSE | 240 | HALLWAY | Hallway | Carpet pad - Standard grade | 0 | Average | 55.51 | 37.19 | SF | 0 | 0.67 |  | 0 | 44.63 | 10 | Percent | 0 | Yes | 44.63 | Yes | No | FCC | PAD- | DAVID.SO |  | 2023-07-17
FALSE | 241 | HALLWAY | Hallway | Carpet - Economy grade | 0 | Average | 55.51 | 178.74 | SF | 0 | 3.22 |  | 0 | 214.48 | 10 | Percent | 0 | Yes | 214.48 | Yes | No | FCC | AV-- | DAVID.SO |  | 2023-07-17